## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
2 | K21-65-FI#1-12mW | 0.13669 | 0.0040041 | 0.0010557 | 0.0038624 | 103.0952 | 0.0026644 | 0.00074413 | 0.0025636 | 12.063 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13669 | 0.0040041 | 0.13997 | 0.0026114 | -0.033988 | 0.0026937 | SupCrit | 103.3077 | 0.0025636 | 1285.6494 | 0.0022886 | 1285.078 | 1285.6495 | 1972.3056 | 0.57417 | 4.3497 | 0.63173 | 1.1483 | Flagged Warnings: | 1388.9572 | 0.0011552 | 2459.6306 | 1388.9572 | 3105.0576 | 0.47957 | 0 | 3.8024 | 0.59345 | 0.95914 | Flagged Warnings: | 1265.438 | 210.9784 | 0.81761 | 1410.3215 | 332.0686 | 0.67494 | [9 empty] | 1.0483 | 1.019 | 0.055509 | 0.00089359 | 1.2186 | 1.2473 | 0.20971 | 0.00038995 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:48:47 AM | 42527 | [11 empty] | 42527 | 0.99794 | 0.99794 | 0.99795
0 | K21-65-FI#1-10mW | 0.13615 | 0.0039891 | 0.0010025 | 0.0038611 | 103.0938 | 0.0025299 | 0.00073862 | 0.0024247 | 10.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13615 | 0.0039891 | 0.13941 | 0.0025898 | -0.034982 | 0.0026266 | SupCrit | 103.3067 | 0.0024247 | 1285.6371 | 0.0021414 | 1126.6547 | 1285.6371 | 1727.9206 | 0.57975 | 3.7562 | 0.60595 | 1.1595 | Flagged Warnings: | 1388.9439 | 0.0011373 | 2138.7289 | 1388.9438 | 2678.8464 | 0.47746 | 0 | 3.654 | 0.5848 | 0.95493 | Flagged Warnings: | 1265.3629 | 195.574 | 0.79719 | 1410.299 | 299.515 | 0.68328 | [9 empty] | 1.0267 | 1.0125 | 0.030966 | 0.0010291 | 1.2401 | 1.2616 | 0.22932 | 0.00044649 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:06:29 PM | 43589 | [11 empty] | 43589 | 0.99794 | 0.99793 | 0.99795
10 | K21-65-FI#1-8mW | 0.13832 | 0.0039859 | 0.00096811 | 0.0038666 | 103.0993 | 0.0024432 | 0.00073648 | 0.0023344 | 8.065 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13832 | 0.0039859 | 0.14163 | 0.0025759 | -0.03103 | 0.0025805 | SupCrit | 103.3123 | 0.0023344 | 1285.6149 | 0.002129 | 927.1982 | 1285.615 | 1409.936 | 0.57826 | 3.1494 | 0.59102 | 1.1565 | Flagged Warnings: | 1388.9274 | 0.00095744 | 1756.7184 | 1388.9273 | 2180.6943 | 0.47354 | 0 | 2.4901 | 0.58296 | 0.94707 | Flagged Warnings: | 1265.413 | 155.9152 | 0.75471 | 1410.3086 | 218.0449 | 0.66345 | [9 empty] | 1.0178 | 1.0448 | 0.02053 | 0.0012473 | 1.2367 | 1.252 | 0.22422 | 0.00053911 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:14:10 PM | 44050 | [11 empty] | 44050 | 0.99794 | 0.99793 | 0.99795
8 | K21-65-FI#1-6mW | 0.13734 | 0.0040377 | 0.0011715 | 0.003864 | 103.0969 | 0.0029565 | 0.00073513 | 0.0028696 | 6.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13734 | 0.0040377 | 0.14063 | 0.0026616 | -0.032816 | 0.0028459 | SupCrit | 103.3099 | 0.0028696 | 1285.6118 | 0.0025344 | 713.7821 | 1285.6118 | 1093.203 | 0.56911 | 2.2552 | 0.6484 | 1.1382 | Flagged Warnings: | 1388.9218 | 0.0013459 | 1340.7869 | 1388.9218 | 1692.4272 | 0.47303 | 0 | 2.2344 | 0.6274 | 0.94605 | Flagged Warnings: | 1265.3369 | 119.2366 | 0.82759 | 1410.2879 | 182.2982 | 0.67932 | [9 empty] | 1.0241 | 1.0474 | 0.027427 | 0.0015946 | 1.258 | 1.2838 | 0.24403 | 0.0007056 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:19:05 PM | 44345 | [11 empty] | 44345 | 0.99794 | 0.99793 | 0.99794
6 | K21-65-FI#1-4mW | 0.13669 | 0.0041499 | 0.0015176 | 0.0038624 | 103.0952 | 0.0038301 | 0.00073393 | 0.0037669 | 4.012 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13669 | 0.0041499 | 0.13997 | 0.002836 | -0.033985 | 0.0033426 | SupCrit | 103.3084 | 0.0037669 | 1285.6087 | 0.0031259 | 472.9441 | 1285.6087 | 738.1208 | 0.59393 | 1.7547 | 0.58925 | 1.1879 | Flagged Warnings: | 1388.9171 | 0.002102 | 892.8568 | 1388.9171 | 1115.5011 | 0.48271 | 0 | 1.8048 | 0.55061 | 0.96542 | Flagged Warnings: | 1265.4372 | 92.7663 | 0.89348 | 1410.2985 | 114.7246 | 0.69836 | [9 empty] | 1.0231 | 1.0311 | 0.027386 | 0.0025116 | 1.2361 | 1.242 | 0.22795 | 0.0010813 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:23:38 PM | 44618 | [11 empty] | 44618 | 0.99794 | 0.99793 | 0.99794
4 | K21-65-FI#1-2mW | 0.13068 | 0.0065113 | 0.0052524 | 0.0038484 | 103.08 | 0.013256 | 0.00073204 | 0.013263 | 2.003 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13068 | 0.0065113 | 0.13387 | 0.0058296 | -0.044934 | 0.0097634 | SupCrit | 103.2932 | 0.013263 | 1285.6174 | 0.013116 | 243.128 | 1285.6174 | 373.9765 | 0.5798 | 2.3342 | 0.61279 | 1.1596 | Flagged Warnings: | 1388.9107 | 0.0019699 | 468.2733 | 1388.9107 | 573.5296 | 0.48209 | 0 | 1.2861 | 0.50277 | 0.96417 | Flagged Warnings: |  |  |  | 1410.3555 | 56.1481 | 0.6291 | [9 empty] | 1.0088 | 1.0552 | 0.010262 | 0.0047695 | 1.2207 | 1.2261 | 0.21278 | 0.002059 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:30:52 PM | 45052 | [11 empty] | 45052 | 0.99794 | 0.99793 | 0.99794
5 | K21-65-FI#1-2mWup | 0.14227 | 0.0046549 | 0.0025761 | 0.0038771 | 103.1093 | 0.0065012 | 0.00073115 | 0.0064734 | 2.01 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14227 | 0.0046549 | 0.14563 | 0.0035379 | -0.023884 | 0.0050248 | SupCrit | 103.3226 | 0.0064734 | 1285.5989 | 0.0061149 | 254.9835 | 1285.5989 | 389.9149 | 0.56661 | 2.1342 | 0.65507 | 1.1332 | Flagged Warnings: | 1388.9216 | 0.0021244 | 471.6669 | 1388.9215 | 600.9557 | 0.48928 | 0 | 1.4412 | 0.56613 | 0.97857 | Flagged Warnings: |  |  |  | 1410.335 | 58.033 | 0.55475 | [9 empty] | 1.0427 | 1.0521 | 0.04837 | 0.0044443 | 1.2345 | 1.2395 | 0.22946 | 0.0020747 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:35:32 PM | 45332 | [11 empty] | 45332 | 0.99794 | 0.99793 | 0.99794
7 | K21-65-FI#1-4mWup | 0.13697 | 0.0040829 | 0.0013214 | 0.0038631 | 103.0959 | 0.0033348 | 0.00073011 | 0.0032607 | 3.975 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13697 | 0.0040829 | 0.14025 | 0.002733 | -0.033493 | 0.0030551 | SupCrit | 103.3093 | 0.0032607 | 1285.6093 | 0.0029113 | 495.7289 | 1285.6094 | 758.3343 | 0.57554 | 1.7552 | 0.61775 | 1.1511 | Flagged Warnings: | 1388.9187 | 0.0014684 | 929.932 | 1388.9187 | 1176.5786 | 0.47593 | 0 | 1.855 | 0.61804 | 0.95186 | Flagged Warnings: | 1265.3501 | 90.6887 | 0.90545 | 1410.3004 | 124.242 | 0.71163 | [9 empty] | 1.0269 | 1.0491 | 0.031017 | 0.002322 | 1.2448 | 1.2601 | 0.23297 | 0.0010236 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:39:45 PM | 45585 | [11 empty] | 45585 | 0.99793 | 0.99793 | 0.99794
9 | K21-65-FI#1-6mWup | 0.13395 | 0.0040103 | 0.0011024 | 0.0038558 | 103.0883 | 0.0027821 | 0.00072909 | 0.0026904 | 5.971 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13395 | 0.0040103 | 0.13719 | 0.0026315 | -0.038978 | 0.0027592 | SupCrit | 103.3017 | 0.0026904 | 1285.61 | 0.0024084 | 750.0358 | 1285.61 | 1134.5675 | 0.56732 | 2.3249 | 0.62559 | 1.1346 | Flagged Warnings: | 1388.9117 | 0.0011993 | 1406.801 | 1388.9117 | 1754.069 | 0.47023 | 0 | 2.3695 | 0.61163 | 0.94047 | Flagged Warnings: | 1265.3123 | 129.4415 | 0.82888 | 1410.2838 | 199.9221 | 0.66288 | [9 empty] | 1.0212 | 1.0699 | 0.024068 | 0.0015128 | 1.2456 | 1.2615 | 0.23099 | 0.00066851 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:44:17 PM | 45857 | [11 empty] | 45857 | 0.99793 | 0.99793 | 0.99794
11 | K21-65-FI#1-8mWup | 0.13672 | 0.0039638 | 0.00089021 | 0.0038625 | 103.0953 | 0.0022466 | 0.00072817 | 0.0021298 | 7.962 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13672 | 0.0039638 | 0.14 | 0.0025471 | -0.033935 | 0.0024889 | SupCrit | 103.3087 | 0.0021298 | 1285.6053 | 0.0019594 | 990.8424 | 1285.6053 | 1521.2156 | 0.58752 | 2.3031 | 0.57512 | 1.175 | Flagged Warnings: | 1388.9141 | 0.00083454 | 1867.8503 | 1388.9141 | 2351.8893 | 0.47976 | 0 | 2.3033 | 0.58601 | 0.95951 | Flagged Warnings: | 1265.3381 | 165.868 | 0.82463 | 1410.2781 | 265.3692 | 0.7105 | 1370.3699 | 30.5202 | 0.23957 | [6 empty] | 1.0381 | 1.0702 | 0.044796 | 0.0011859 | 1.2318 | 1.2387 | 0.22245 | 0.0005137 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:49:02 PM | 46142 | [11 empty] | 46142 | 0.99793 | 0.99793 | 0.99794
1 | K21-65-FI#1-10mWup | 0.13817 | 0.0039554 | 0.00083561 | 0.0038662 | 103.099 | 0.0021088 | 0.00072683 | 0.0019837 | 9.995 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13817 | 0.0039554 | 0.14147 | 0.0025277 | -0.031304 | 0.0024238 | SupCrit | 103.3125 | 0.0019837 | 1285.6005 | 0.0017568 | 1270.6532 | 1285.6006 | 1945.6839 | 0.56966 | 3.1059 | 0.64548 | 1.1393 | Flagged Warnings: | 1388.9131 | 0.0009214 | 2380.8692 | 1388.9131 | 2983.7707 | 0.47494 | 0 | 2.9525 | 0.59948 | 0.94988 | Flagged Warnings: | 1265.3693 | 204.8964 | 0.77602 | 1410.2628 | 324.8893 | 0.65049 | 1370.7037 | 49.2044 | 0.23703 | [6 empty] | 1.0394 | 1.0607 | 0.044882 | 0.00089664 | 1.2657 | 1.2761 | 0.25242 | 0.00039896 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:56:09 PM | 46569 | [11 empty] | 46569 | 0.99793 | 0.99793 | 0.99794
3 | K21-65-FI#1-12mWup | 0.13842 | 0.0039401 | 0.00075674 | 0.0038668 | 103.0996 | 0.0019098 | 0.00072556 | 0.0017703 | 11.911 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13842 | 0.0039401 | 0.14172 | 0.0025019 | -0.030856 | 0.0023367 | SupCrit | 103.3132 | 0.0017703 | 1285.599 | 0.0016035 | 1509.303 | 1285.599 | 2327.0816 | 0.58033 | 3.1528 | 0.61669 | 1.1607 | Flagged Warnings: | 1388.9123 | 0.00075004 | 2912.8994 | 1388.9122 | 3637.7777 | 0.47587 | 0 | 3.4705 | 0.58583 | 0.95174 | Flagged Warnings: | 1265.3761 | 265.3916 | 0.87993 | 1410.2714 | 423.8423 | 0.71762 | 1370.7174 | 59.3037 | 0.2376 | [6 empty] | 1.0478 | 1.073 | 0.055435 | 0.000769 | 1.2404 | 1.2487 | 0.22882 | 0.00032673 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:03:30 PM | 47010 | [11 empty] | 47010 | 0.99793 | 0.99793 | 0.99794
12 | K21-66-FI#3-bump | 0.056227 | 0.010183 | 0.0094365 | 0.0038263 | 102.8922 | 0.023815 | 0.00072143 | 0.023853 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.056227 | 0.010183 | 0.059139 | 0.0097004 | -0.18445 | 0.018268 | SupCrit | 103.1055 | 0.023853 | 1286.1384 | 0.023157 | 553.21 | 1286.1384 | 799.318 | 0.46013 | 18.9514 | 0.99999 | 0.92025 | Flagged Warnings: | 1389.244 | 0.0057233 | 859.4675 | 1389.2439 | 822.7239 | 0.40724 | 0 | 5.3706 | 0.29263 | 0.81448 | Flagged Warnings: | 1266.0963 | 227.5062 | 1.3843 | 1410.5359 | 111.3009 | 0.40774 | [9 empty] | 1.0403 | 1.0618 | 0.03708 | 0.0016635 | 1.2551 | 1.3194 | 0.20781 | 0.00094765 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:21:49 PM | 48109 | [11 empty] | 48109 | 0.99793 | 0.99792 | 0.99794
13 | K21-66-FI#4 | 0.07836 | 0.0081853 | 0.0072481 | 0.0038032 | 102.948 | 0.018292 | 0.00072119 | 0.018316 | 12.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.07836 | 0.0081853 | 0.081225 | 0.0076367 | -0.14219 | 0.013869 | SupCrit | 103.1615 | 0.018316 | 1285.9748 | 0.017852 | 794.8004 | 1285.9749 | 1087.6844 | 0.43576 | 17.2789 | 0.99997 | 0.87152 | Flagged Warnings: | 1389.1364 | 0.0040949 | 1155.1563 | 1389.1364 | 1227.8248 | 0.43527 | 0 | 5.3591 | 0.39776 | 0.87053 | Flagged Warnings: | 1265.8377 | 263.2254 | 1.3131 | 1410.397 | 263.3049 | 0.21189 | [9 empty] | 1.2604 | 1.2857 | 0.22696 | 0.0010965 | 1.0754 | 1.1051 | 0.065635 | 0.00075361 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:27:10 PM | 48430 | 1151.2403 | 298.3732 | 165.9713 | Spline | [5 empty] | 0.12886 | 0.05274 | 48430 | 0.99793 | 0.99792 | 0.99794
14 | K21-68-FI#1 | 0.05327 | 0.007676 | 0.0066514 | 0.0038313 | 102.8847 | 0.016786 | 0.00071853 | 0.016806 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.05327 | 0.007676 | 0.056194 | 0.0070446 | -0.19015 | 0.012978 | SupCrit | 103.0983 | 0.016806 | 1286.1151 | 0.014727 | 241.0902 | 1286.1151 | 271.4637 | 0.44314 | 4.7218 | 0.50299 | 0.88629 | Flagged Warnings: | 1389.2134 | 0.0080961 | 412.126 | 1389.2133 | 407.8215 | 0.42245 | 0 | 4.5089 | 0.2829 | 0.84489 | Flagged Warnings: |  |  |  | 1410.4037 | 52.8981 | 0.49964 | [9 empty] | 1.0902 | 1.1324 | 0.07994 | 0.0036762 | 1.2041 | 1.2595 | 0.17243 | 0.0020501 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:54:38 PM | 50078 | [11 empty] | 50078 | 0.99793 | 0.99792 | 0.99794
15 | K21-68-FI#2 | 0.065263 | 0.011105 | 0.010429 | 0.0038139 | 102.915 | 0.026321 | 0.00071844 | 0.026366 | 12.049 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.065263 | 0.011105 | 0.068144 | 0.010678 | -0.16712 | 0.020041 | SupCrit | 103.1287 | 0.026366 | 1286.1297 | 0.022363 | 151.7673 | 1286.1297 | 169.0731 | 0.46955 | 4.4188 | 0.31855 | 0.9391 | Flagged Warnings: | 1389.2584 | 0.013965 | 276.6441 | 1389.2584 | 266.0788 | 0.38859 | 0 | 4.513 | 0.43393 | 0.77718 | Flagged Warnings: |  |  |  | 1410.5495 | 266.2858 | 0.092337 | [9 empty] | 1.0677 | 1.0978 | 0.063548 | 0.0061878 | 1.2531 | 1.3077 | 0.19667 | 0.0028093 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:02:04 PM | 50524 | [11 empty] | 50524 | 0.99793 | 0.99792 | 0.99793
16 | K21-69-FI#1 | 0.11842 | 0.0056038 | 0.0040951 | 0.0038253 | 103.0491 | 0.010335 | 0.0007194 | 0.010331 | 11.989 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11842 | 0.0056038 | 0.12148 | 0.0047742 | -0.067379 | 0.0077731 | SupCrit | 103.2634 | 0.010331 | 1285.7192 | 0.0095745 | 1677.1779 | 1285.7193 | 2718.218 | 0.56506 | 24.0567 | 0.80079 | 1.1301 | Flagged Warnings: | 1388.9827 | 0.0038811 | 2975.9049 | 1388.9827 | 3512.3777 | 0.4575 | 0 | 16.3692 | 0.54234 | 0.915 | Flagged Warnings: | 1265.8491 | 633.9058 | 1.6948 | 1410.324 | 388.9154 | 0.50319 | [9 empty] | 1.1346 | 1.0848 | 0.15207 | 0.00067382 | 1.1917 | 1.245 | 0.17543 | 0.00030747 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:30:14 PM | 52214 | [11 empty] | 52214 | 0.99793 | 0.99792 | 0.99793
17 | K21-69-FI#2 | 0.13999 | 0.013242 | 0.012664 | 0.0038709 | 103.1036 | 0.03196 | 0.00072113 | 0.032019 | 12 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13999 | 0.013242 | 0.14332 | 0.013079 | -0.028004 | 0.023008 | SupCrit | 103.3182 | 0.032019 | 1285.7021 | 0 | 213.4555 | 1285.7021 | 438.5487 | 0.65531 | 18.8613 | 1 | 1.3106 | Flagged Warnings: | 1389.0203 | 0.032019 | 357.0189 | 1389.0203 | 366.1114 | 0.45529 | 0 | 18.9819 | 0.16998 | 0.91058 | Flagged Warnings: | 1266.4915 | 255.3528 | 2.0011 | [12 empty] | 1.1098 | 1.0876 | 0.14394 | 0.00614 | 1.1599 | 1.2552 | 0.14556 | 0.0025505 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:57 PM | 53577 | [11 empty] | 53577 | 0.99792 | 0.99792 | 0.99793
18 | K21-69-FI#3 | 0.099927 | 0.004825 | 0.0029671 | 0.0038049 | 103.0024 | 0.0074881 | 0.00072109 | 0.0074689 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099927 | 0.004825 | 0.10285 | 0.0038235 | -0.10165 | 0.0058593 | SupCrit | 103.2169 | 0.0074689 | 1285.8951 | 0.0058405 | 933.6874 | 1285.8951 | 1252.4886 | 0.45617 | 9.9467 | 0.85679 | 0.91235 | Flagged Warnings: | 1389.1121 | 0.0046554 | 1479.4582 | 1389.1121 | 1700.1681 | 0.46208 | 0 | 10.185 | 0.44687 | 0.92416 | Flagged Warnings: | 1265.8081 | 179.4958 | 1.3576 | 1410.4811 | 248.4394 | 0.72818 | [9 empty] | 1.1118 | 1.1324 | 0.10198 | 0.00097715 | 1.0368 | 1.0489 | 0.033976 | 0.00062466 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:00:02 PM | 54002 | [11 empty] | 54002 | 0.99792 | 0.99791 | 0.99793
19 | K21-69-FI#5 | 0.11917 | 0.0054657 | 0.0039029 | 0.0038265 | 103.051 | 0.0098497 | 0.0007234 | 0.0098436 | 12.05 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11917 | 0.0054657 | 0.12224 | 0.0046077 | -0.065998 | 0.0074267 | SupCrit | 103.2659 | 0.0098436 | 1285.7538 | 0.0086305 | 465.9205 | 1285.7539 | 686.6246 | 0.54746 | 4.6788 | 0.64929 | 1.0949 | Flagged Warnings: | 1389.0198 | 0.0047341 | 864.9285 | 1389.0197 | 1021.8786 | 0.4505 | 0 | 5.8128 | 0.58402 | 0.90099 | Flagged Warnings: | 1265.5417 | 92.6315 | 1.3267 | 1410.4559 | 110.2207 | 0.78157 | [9 empty] | 1.1577 | 1.103 | 0.1727 | 0.00235 | 1.126 | 1.1748 | 0.11348 | 0.0010417 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:16:23 PM | 54983 | [11 empty] | 54983 | 0.99792 | 0.99791 | 0.99793
20 | K21-69-FI#6 | 0.10885 | 0.009599 | 0.0088094 | 0.0038125 | 103.025 | 0.022232 | 0.00072774 | 0.022267 | 12.093 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10885 | 0.009599 | 0.11182 | 0.0091894 | -0.085063 | 0.016437 | SupCrit | 103.2403 | 0.022267 | 1285.8267 | 0.019 | 367.8959 | 1285.8267 | 603.531 | 0.54693 | 9.0246 | 0.90126 | 1.0939 | Flagged Warnings: | 1389.067 | 0.011611 | 619.4763 | 1389.067 | 679.5558 | 0.44214 | 0 | 10.8101 | 0.44043 | 0.88428 | Flagged Warnings: | 1265.9699 | 109.7406 | 1.6375 | 1410.4284 | 86.3993 | 0.43539 | [9 empty] | 1.2006 | 1.1824 | 0.21942 | 0.0029733 | 1.0463 | 1.0686 | 0.040971 | 0.0014275 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:43:02 PM | 56582 |  |  |  |  | 1083.1917 | 1712.3743 | 100.217 | Spline | 1.3346 |  |  | 56582 | 0.99791 | 0.99791 | 0.99792
21 | K21-70-FI#1 | 0.098727 | 0.0043504 | 0.0021107 | 0.0038041 | 102.9994 | 0.0053267 | 0.00074231 | 0.0052858 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.098727 | 0.0043504 | 0.10164 | 0.0031978 | -0.10388 | 0.0043854 | SupCrit | 103.2164 | 0.0052858 | 1285.9055 | 0.0046218 | 801.3094 | 1285.9055 | 1118.4071 | 0.49428 | 7.4667 | 0.76418 | 0.98856 | Flagged Warnings: | 1389.122 | 0.0025649 | 1300.5572 | 1389.1219 | 1495.6154 | 0.45483 | 0 | 4.5717 | 0.49026 | 0.90965 | Flagged Warnings: | 1265.6681 | 243.8466 | 1.473 | 1410.4394 | 182.3771 | 0.48553 | [9 empty] | 1.1065 | 1.1178 | 0.10529 | 0.0012337 | 1.0526 | 1.0672 | 0.047876 | 0.00069943 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:39:25 PM | 59965 | [11 empty] | 59965 | 0.9979 | 0.99789 | 0.9979