## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
0 | FG04-FI1-6mW-R1 | 0.6314 | 0.0028161 | 0.0015101 | 0.002377 | 104.2096 | 0.0030534 | 0.00063393 | 0.0029928 | 5.998 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57824 | 0.0079392 | 0.6314 | 0.0028161 | 0.63483 | 0.002193 | SupCrit | 104.4184 | 0.0029928 | 1283.3423 | 0.0028067 | 1249.7137 | 1283.3423 | 3570.8206 | 1.0157 | 4.6851 | 0.75709 | 2.0314 | Flagged Warnings: | 1387.7608 | 0.0010388 | 2665.6832 | 1387.7608 | 5916.4178 | 0.7856 | 0 | 3.1849 | 0.77778 | 1.5712 | Flagged Warnings: | 1263.309 | 561.957 | 3.0411 | 1409.272 | 628.7611 | 1.7995 | 1370.1437 | 70.4404 | 0.39138 | 1387.3683 | 651.4788 | 18.1842 |  |  |  | 1.0167 | 1.0047 | 0.033856 | 0.0016255 | 1.0451 | 1.0576 | 0.070806 | 0.00058942 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:20 PM | 44360 | [6 empty] | 44360 | 0.998 | 0.99799 | 0.99801
1 | FG04-FI1-6mW-R2 | 0.62478 | 0.0027571 | 0.0013994 | 0.0023756 | 104.1962 | 0.0028388 | 0.00063207 | 0.0027731 | 5.984 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57293 | 0.0078625 | 0.62478 | 0.0027571 | 0.62837 | 0.0021318 | SupCrit | 104.4059 | 0.0027731 | 1283.3361 | 0.0026326 | 1247.0125 | 1283.3361 | 3554.1124 | 1.0049 | 4.465 | 0.77613 | 2.0097 | Flagged Warnings: | 1387.7421 | 0.00087161 | 2621.1195 | 1387.742 | 5881.9351 | 0.79221 | 0 | 2.6938 | 0.78287 | 1.5844 | Flagged Warnings: | 1263.2448 | 563.6281 | 3.003 | 1409.1978 | 646.6503 | 1.8285 | 1370.0948 | 77.8102 | 0.39483 | 1387.8019 | 538.4479 | 16.739 |  |  |  | 1.005 | 1.0299 | 0.010133 | 0.0016116 | 1.0339 | 1.0222 | 0.053709 | 0.00060448 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:26:49 PM | 44809 | [6 empty] | 44809 | 0.99799 | 0.99799 | 0.998
2 | FG04-FI1-6mW-R3 | 0.63023 | 0.0027315 | 0.0013462 | 0.0023767 | 104.2072 | 0.0027236 | 0.00062878 | 0.0026554 | 5.976 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5773 | 0.0079091 | 0.63023 | 0.0027315 | 0.6337 | 0.0020911 | SupCrit | 104.4188 | 0.0026554 | 1283.3193 | 0.0023213 | 1437.3079 | 1283.3194 | 4078.8767 | 1.0042 | 4.4209 | 0.76761 | 2.0084 | Flagged Warnings: | 1387.7381 | 0.0012894 | 3044.6591 | 1387.7382 | 6717.1821 | 0.77794 | 0 | 4.0668 | 0.78537 | 1.5559 | Flagged Warnings: | 1263.2584 | 640.1045 | 3.0063 | 1409.1795 | 732.7199 | 1.8641 | 1370.0648 | 73.0336 | 0.38769 | 1386.0221 | 614.5623 | 16.7048 |  |  |  | 1.0254 | 1.0095 | 0.050975 | 0.0013973 | 1.0725 | 1.0885 | 0.11284 | 0.00051102 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:42:40 PM | 45760 | [6 empty] | 45760 | 0.99797 | 0.99797 | 0.99798
3 | FG04-FI1-6mW-R4 | 0.63068 | 0.0027522 | 0.0013875 | 0.0023768 | 104.2081 | 0.0028065 | 0.0006275 | 0.002741 | 5.968 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57767 | 0.007918 | 0.63068 | 0.0027522 | 0.63414 | 0.0021159 | SupCrit | 104.4204 | 0.002741 | 1283.3036 | 0.0024537 | 1401.5637 | 1283.3037 | 3971.0432 | 1.0085 | 4.5694 | 0.75378 | 2.017 | Flagged Warnings: | 1387.7242 | 0.0012216 | 3013.6289 | 1387.7241 | 6647.6262 | 0.77772 | 0 | 3.6241 | 0.78647 | 1.5554 | Flagged Warnings: | 1263.2774 | 607.8897 | 3.0056 | 1409.1707 | 713.3148 | 1.8618 | 1370.0609 | 81.7023 | 0.38761 | 1386.4586 | 729.2191 | 18.6701 |  |  |  | 1.01 | 1.0203 | 0.02017 | 0.0014391 | 1.0568 | 1.0678 | 0.0883 | 0.00051613 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:49:32 PM | 46172 | [6 empty] | 46172 | 0.99797 | 0.99796 | 0.99797
13 | UW7-OX5-FI#2 | 0.14114 | 0.0041522 | 0.0014944 | 0.003874 | 103.1064 | 0.0037715 | 0.00061804 | 0.0037282 | 12.031 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14114 | 0.0041522 | 0.14448 | 0.0028232 | -0.025938 | 0.0032984 | SupCrit | 103.3184 | 0.0037282 | 1285.845 | 0.0032787 | 734.6653 | 1285.845 | 1162.0225 | 0.57763 | 3.9979 | 0.69068 | 1.1553 | Flagged Warnings: | 1389.1635 | 0.0017747 | 1335.4512 | 1389.1635 | 1726.5808 | 0.49966 | 0 | 3.2962 | 0.55 | 0.99932 | Flagged Warnings: | 1265.5634 | 139.6001 | 0.98627 | 1410.4683 | 199.424 | 0.69569 | [9 empty] | 1.027 | 1.0245 | 0.031223 | 0.0015725 | 1.1298 | 1.1421 | 0.12974 | 0.0007483 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:07:31 PM | 47251 | 1151.2497 | 49.696 | 40.6888 | Spline | 0.017204 | 0.0073786 | 47251 | 0.99795 | 0.99794 | 0.99795
14 | UW7-OX5-FI#3 | 0.14805 | 0.0042537 | 0.0017125 | 0.0038938 | 103.1239 | 0.0043218 | 0.00061757 | 0.0042863 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14805 | 0.0042537 | 0.15151 | 0.0029487 | -0.013461 | 0.0036121 | SupCrit | 103.3363 | 0.0042863 | 1285.8202 | 0.0037142 | 585.9216 | 1285.8202 | 954.9205 | 0.59503 | 3.1902 | 0.69122 | 1.1901 | Flagged Warnings: | 1389.1566 | 0.0021394 | 1042.5708 | 1389.1566 | 1399.6898 | 0.50601 | 0 | 3.3749 | 0.61321 | 1.012 | Flagged Warnings: | 1265.5628 | 104.9303 | 0.7594 | 1410.5169 | 162.6079 | 0.72421 | [9 empty] | 1.0942 | 1.0405 | 0.11208 | 0.0020311 | 1.11 | 1.1156 | 0.11129 | 0.00097069 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:11:52 PM | 47512 | 1151.2497 | 35.0485 | 28.0922 | Spline | 0.014885 | 0.0063904 | 47512 | 0.99794 | 0.99794 | 0.99795
15 | UW7-OX6-FI#1 | 0.13766 | 0.0039423 | 0.00077746 | 0.0038649 | 103.0977 | 0.0019621 | 0.00061531 | 0.001867 | 12.113 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13766 | 0.0039423 | 0.14095 | 0.0025086 | -0.032233 | 0.0023599 | SupCrit | 103.312 | 0.001867 | 1285.8724 | 0.0015642 | 1610.5861 | 1285.8725 | 2497.2521 | 0.58181 | 4.5826 | 0.62434 | 1.1636 | Flagged Warnings: | 1389.1846 | 0.0010193 | 2927.604 | 1389.1845 | 3761.1853 | 0.4966 | 0 | 4.4026 | 0.54951 | 0.99321 | Flagged Warnings: | 1265.6402 | 276.8786 | 0.89142 | 1410.5264 | 421.4535 | 0.67715 | [9 empty] | 1.0027 | 1.0267 | 0.0030947 | 0.00072248 | 1.1625 | 1.1728 | 0.16144 | 0.00033926 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:31:55 PM | 48715 | 1151.2741 | 70.2747 | 54.5729 | Spline | 0.011229 | 0.0048283 | 48715 | 0.99792 | 0.99792 | 0.99793
16 | UW7-OX6-FI#2-12mW-R1 | 0.13591 | 0.0039167 | 0.00066136 | 0.0038605 | 103.0932 | 0.0016691 | 0.00061396 | 0.0015553 | 12.204 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13591 | 0.0039167 | 0.13917 | 0.0024745 | -0.035416 | 0.0022425 | SupCrit | 103.3099 | 0.0015553 | 1285.8589 | 0.0013476 | 1778.2706 | 1285.859 | 2720.604 | 0.57629 | 3.3102 | 0.61472 | 1.1526 | Flagged Warnings: | 1389.1689 | 0.00077652 | 3263.0489 | 1389.1688 | 4188.1096 | 0.4917 | 0 | 3.8011 | 0.5723 | 0.9834 | Flagged Warnings: | 1265.6303 | 282.4375 | 0.78667 | 1410.5222 | 475.9325 | 0.6693 | 1370.8102 | 66.929 | 0.24574 | [6 empty] | 1.0217 | 1.0062 | 0.024988 | 0.00064814 | 1.1352 | 1.1522 | 0.13299 | 0.00030138 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:56:20 PM | 50180 | 1151.2497 | 80.4405 | 61.1783 | Spline | 0.011643 | 0.0050056 | 50180 | 0.9979 | 0.9979 | 0.99791
18 | UW7-OX6-FI#2-6mW-R1 | 0.13673 | 0.0039464 | 0.00080925 | 0.0038625 | 103.0953 | 0.0020423 | 0.00061387 | 0.001952 | 6.032 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13673 | 0.0039464 | 0.14001 | 0.0025192 | -0.033917 | 0.0023961 | SupCrit | 103.3124 | 0.001952 | 1285.8552 | 0.0017021 | 901.9375 | 1285.8552 | 1375.6105 | 0.57981 | 1.9591 | 0.59176 | 1.1596 | Flagged Warnings: | 1389.1677 | 0.00095546 | 1643.5919 | 1389.1676 | 2113.9667 | 0.49722 | 0 | 2.335 | 0.54921 | 0.99445 | Flagged Warnings: | 1265.6693 | 144.1526 | 0.81002 | 1410.499 | 226.6522 | 0.65592 | 1371.0952 | 27.1026 | 0.24852 | [6 empty] | 1.041 | 1.0123 | 0.047525 | 0.0012857 | 1.1338 | 1.1455 | 0.13306 | 0.00060504 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:01:34 PM | 50494 | 1151.2741 | 41.6932 | 27.9895 | Spline | 0.011948 | 0.0051359 | 50494 | 0.9979 | 0.99789 | 0.9979
19 | UW7-OX6-FI#2-6mW-R2 | 0.13556 | 0.0039629 | 0.0008987 | 0.0038596 | 103.0924 | 0.0022681 | 0.00061381 | 0.002188 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13556 | 0.0039629 | 0.13882 | 0.0025504 | -0.036048 | 0.0025006 | SupCrit | 103.3098 | 0.002188 | 1285.8442 | 0.0018343 | 861.1722 | 1285.8443 | 1326.6041 | 0.5882 | 2.2581 | 0.5807 | 1.1764 | Flagged Warnings: | 1389.1542 | 0.0011929 | 1566.162 | 1389.1541 | 2034.0631 | 0.50302 | 0 | 2.4848 | 0.54448 | 1.006 | Flagged Warnings: | 1265.6063 | 141.8205 | 0.87097 | 1410.5326 | 230.6333 | 0.63498 | [9 empty] | 1.0659 | 1.0308 | 0.077565 | 0.0013661 | 1.1076 | 1.1145 | 0.10829 | 0.00064235 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:05:57 PM | 50757 | [6 empty] | 50757 | 0.9979 | 0.99789 | 0.9979
17 | UW7-OX6-FI#2-12mW-R2 | 0.13174 | 0.0039228 | 0.00074837 | 0.0038507 | 103.0827 | 0.0018887 | 0.00061375 | 0.00179 | 11.986 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13174 | 0.0039228 | 0.13495 | 0.0025008 | -0.042993 | 0.0023363 | SupCrit | 103.3005 | 0.00179 | 1285.847 | 0.0014536 | 1594.8894 | 1285.847 | 2451.8673 | 0.58631 | 3.3781 | 0.58368 | 1.1726 | Flagged Warnings: | 1389.1476 | 0.0010444 | 2922.0779 | 1389.1475 | 3812.9708 | 0.50272 | 0 | 3.7665 | 0.55798 | 1.0054 | Flagged Warnings: | 1265.6387 | 270.3837 | 0.77067 | 1410.5083 | 454.1527 | 0.61084 | [9 empty] | 1.0548 | 1.0226 | 0.064253 | 0.00073524 | 1.1045 | 1.1091 | 0.1051 | 0.00034408 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:09:55 PM | 50995 | 1151.2497 | 72.9628 | 55.7413 | Spline | 0.011646 | 0.0050069 | 50995 | 0.99789 | 0.99789 | 0.9979
20 | UW7-OX7-FI#1 | 0.17199 | 0.0035867 | 0.0026893 | 0.0023732 | 103.1745 | 0.0066286 | 0.00061456 | 0.0066141 | 12.005 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.16812 | 0.0047554 | 0.17199 | 0.0035867 | 0.022378 | 0.0050159 | SupCrit | 103.3936 | 0.0066141 | 1285.6149 | 0.00634 | 987.0784 | 1285.6149 | 1829.3582 | 0.63825 | 10.7351 | 0.82892 | 1.2765 | Flagged Warnings: | 1389.0085 | 0.0018844 | 1807.3889 | 1389.0085 | 2539.4873 | 0.52882 | 0 | 4.2375 | 0.61675 | 1.0576 | Flagged Warnings: | 1265.3849 | 333.8228 | 1.915 | 1410.3733 | 293.1589 | 0.82835 | [9 empty] | 1.0132 | 1.032 | 0.016885 | 0.0012932 | 1.1472 | 1.174 | 0.15564 | 0.00058518 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:22:57 PM | 51777 | [6 empty] | 51777 | 0.99788 | 0.99788 | 0.99789
21 | UW7-OX8-FI#1 | 0.12047 | 0.0039674 | 0.0010401 | 0.0038286 | 103.0543 | 0.002625 | 0.00061491 | 0.0025574 | 12.012 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12047 | 0.0039674 | 0.12355 | 0.0026075 | -0.063606 | 0.0026994 | SupCrit | 103.2745 | 0.0025574 | 1285.9151 | 0.0021659 | 1565.9782 | 1285.9152 | 2301.2717 | 0.54597 | 5.8441 | 0.64877 | 1.0919 | Flagged Warnings: | 1389.1898 | 0.0013598 | 2775.3492 | 1389.1897 | 3440.5175 | 0.48568 | 0 | 4.9898 | 0.51486 | 0.97136 | Flagged Warnings: | 1265.6595 | 272.7618 | 0.74175 | 1410.5806 | 366.0794 | 0.63625 | [9 empty] | 1.1441 | 1.1568 | 0.15737 | 0.00069729 | 1.1655 | 1.1887 | 0.16073 | 0.00035 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:56 PM | 52916 | 1151.103 | 29.0887 | 19.2794 | Spline | 0.0050661 | 0.0021842 | 52916 | 0.99787 | 0.99786 | 0.99787
22 | UW7-OX8-FI#2 | 0.12691 | 0.0041742 | 0.0016355 | 0.0038405 | 103.0706 | 0.0041275 | 0.00061552 | 0.0040901 | 12.025 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12691 | 0.0041742 | 0.13006 | 0.0029025 | -0.051804 | 0.0035436 | SupCrit | 103.2913 | 0.0040901 | 1285.8765 | 0.0035091 | 977.1298 | 1285.8765 | 1498.1054 | 0.53218 | 6.637 | 0.81013 | 1.0644 | Flagged Warnings: | 1389.1678 | 0.0021011 | 1673.5864 | 1389.1678 | 2160.9531 | 0.49657 | 0 | 5.2166 | 0.56251 | 0.99315 | Flagged Warnings: | 1265.7277 | 197.3051 | 0.99508 | 1410.5426 | 275.2763 | 0.70501 | [9 empty] | 1.0192 | 1.0042 | 0.020413 | 0.0010893 | 1.1343 | 1.1462 | 0.13336 | 0.00059343 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:47:59 PM | 53279 | 1151.2252 | 46.6501 | 36.7098 | Spline | 0.012749 | 0.0054784 | 53279 | 0.99786 | 0.99786 | 0.99787
23 | UW7-OX9-FI#1 | 0.14318 | 0.003972 | 0.00085182 | 0.0038796 | 103.1116 | 0.0021498 | 0.00061691 | 0.0020638 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14318 | 0.003972 | 0.14656 | 0.0025324 | -0.022233 | 0.0024354 | SupCrit | 103.3332 | 0.0020638 | 1285.7565 | 0.0017213 | 1764.8223 | 1285.7566 | 2796.5377 | 0.59918 | 4.2868 | 0.60521 | 1.1984 | Flagged Warnings: | 1389.0899 | 0.0011385 | 3230.9437 | 1389.0898 | 4261.4238 | 0.51003 | 0 | 4.8212 | 0.5485 | 1.0201 | Flagged Warnings: | 1265.5406 | 313.1069 | 0.84004 | 1410.4843 | 472.9377 | 0.65176 | 1372.3376 | 135.338 | 0.070365 | [6 empty] | 1.1424 | 1.0748 | 0.1707 | 0.00067903 | 1.0033 | 1.0144 | 0.0033889 | 0.00031572 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:59:02 PM | 53942 | [6 empty] | 53942 | 0.99786 | 0.99785 | 0.99786
12 | UW7-OX10-FI#1 | 0.14588 | 0.0039902 | 0.00090025 | 0.0038873 | 103.1184 | 0.002272 | 0.00061951 | 0.0021906 | 12.006 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14588 | 0.0039902 | 0.1493 | 0.0025492 | -0.017372 | 0.0024877 | SupCrit | 103.3413 | 0.0021906 | 1285.6742 | 0.0020328 | 1794.1049 | 1285.6743 | 3057.9478 | 0.63724 | 4.5039 | 0.6334 | 1.2745 | Flagged Warnings: | 1389.0156 | 0.00081643 | 3434.8549 | 1389.0156 | 4722.8043 | 0.51533 | 0 | 3.7451 | 0.62714 | 1.0307 | Flagged Warnings: | 1265.4704 | 352.8618 | 0.96467 | 1410.3932 | 519.2821 | 0.69208 | 1370.7558 | 79.1442 | 0.25755 | [6 empty] | 1.0598 | 1.0171 | 0.076192 | 0.00071037 | 1.1365 | 1.1675 | 0.1407 | 0.00030006 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:17:37 PM | 55057 | 1151.1274 | 559.6068 | 392.1264 | Spline | 0.071922 | 0.030139 | 55057 | 0.99784 | 0.99784 | 0.99785
4 | UW3-OX12-FI#1 | 0.086575 | 0.0041472 | 0.0016587 | 0.003801 | 102.9687 | 0.004186 | 0.00062484 | 0.0041482 | 11.968 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.086575 | 0.0041472 | 0.089449 | 0.0029173 | -0.12667 | 0.003675 | SupCrit | 103.1932 | 0.0041482 | 1286.1126 | 0.0037947 | 404.8494 | 1286.1126 | 516.93 | 0.49038 | 1.5943 | 0.56591 | 0.98076 | Flagged Warnings: | 1389.3059 | 0.0016755 | 691.2757 | 1389.3059 | 771.1471 | 0.44527 | 0 | 1.9415 | 0.46619 | 0.89054 | Flagged Warnings: | 1265.8022 | 54.5052 | 0.515 | 1410.6325 | 85.7681 | 0.55051 | [9 empty] | 1.0887 | 1.1175 | 0.086947 | 0.0024225 | 1.1684 | 1.1644 | 0.14995 | 0.0012883 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:49:45 PM | 56985 | [6 empty] | 56985 | 0.99782 | 0.99782 | 0.99783
5 | UW3-OX12-FI#2 | 0.12201 | 0.0041436 | 0.0015782 | 0.0038313 | 103.0582 | 0.0039829 | 0.00062742 | 0.0039418 | 11.955 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12201 | 0.0041436 | 0.1251 | 0.0028699 | -0.060784 | 0.0034668 | SupCrit | 103.2833 | 0.0039418 | 1285.8732 | 0.0022722 | 698.5535 | 1285.8732 | 1026.8593 | 0.56446 | 2.0321 | 0.5663 | 1.1289 | Flagged Warnings: | 1389.1566 | 0.003221 | 1267.628 | 1389.1566 | 1595.0048 | 0.48588 | 0 | 3.8587 | 0.55231 | 0.97175 | Flagged Warnings: | 1265.6243 | 95.6927 | 0.91701 | 1408.1124 | 582.4478 | 0.34646 | [9 empty] | 1.0417 | 1.0714 | 0.047039 | 0.0016161 | 1.1111 | 1.13 | 0.10797 | 0.00076659 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:58:18 PM | 57498 | [6 empty] | 57498 | 0.99782 | 0.99781 | 0.99783
6 | UW3-OX13-FI#1 | 0.12374 | 0.0043548 | 0.0020645 | 0.0038344 | 103.0625 | 0.0052102 | 0.00062925 | 0.0051834 | 12.001 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12374 | 0.0043548 | 0.12685 | 0.0031697 | -0.05761 | 0.0042358 | SupCrit | 103.2881 | 0.0051834 | 1285.84 | 0.0044916 | 680.4176 | 1285.8401 | 1007.2315 | 0.56156 | 4.3853 | 0.59716 | 1.1231 | Flagged Warnings: | 1389.1282 | 0.002587 | 1207.6702 | 1389.1282 | 1533.6525 | 0.49313 | 0 | 4.3978 | 0.53782 | 0.98626 | Flagged Warnings: | 1265.7018 | 120.9467 | 0.86724 | 1410.4372 | 185.7717 | 0.6387 | [9 empty] | 1.0593 | 1.0255 | 0.066625 | 0.0016506 | 1.0632 | 1.0716 | 0.06229 | 0.00081666 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:05:23 PM | 57923 | [6 empty] | 57923 | 0.99782 | 0.99781 | 0.99782
7 | UW3-OX14-FI#1 | 0.034612 | 0.0045296 | 0.0023494 | 0.0038727 | 102.8376 | 0.0059291 | 0.00063159 | 0.0059083 | 12 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034612 | 0.0045296 | 0.037657 | 0.0033577 | -0.22638 | 0.0050005 | SupCrit | 103.0633 | 0.0059083 | 1286.4236 | 0.0050413 | 285.6427 | 1286.4236 | 303.4275 | 0.46441 | 2.5529 | 0.21486 | 0.92882 | Flagged Warnings: | 1389.487 | 0.0030812 | 462.4378 | 1389.4869 | 451.5173 | 0.41745 | 0 | 2.1103 | 0.2786 | 0.83489 | Flagged Warnings: |  |  |  | 1410.7281 | 44.354 | 0.38739 | [9 empty] | 1.0348 | 1.0327 | 0.032332 | 0.0032517 | 1.2227 | 1.2673 | 0.18591 | 0.0018054 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:18:51 PM | 58731 | [6 empty] | 58731 | 0.99781 | 0.9978 | 0.99782
8 | UW3-OX17-FI#1 | 0.15671 | 0.004059 | 0.0010462 | 0.0039219 | 103.1457 | 0.0026404 | 0.00063727 | 0.002568 | 11.99 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15671 | 0.004059 | 0.16034 | 0.0026049 | 0.0020719 | 0.0026497 | SupCrit | 103.3727 | 0.002568 | 1285.6278 | 0.0022692 | 1192.5811 | 1285.6279 | 2000.8955 | 0.61826 | 3.6169 | 0.66883 | 1.2365 | Flagged Warnings: | 1389.0006 | 0.0012021 | 2229.3427 | 1389.0006 | 3059.8767 | 0.5224 | 0 | 3.9871 | 0.58878 | 1.0448 | Flagged Warnings: | 1265.3633 | 221.6421 | 0.89499 | 1410.3833 | 360.4203 | 0.78472 | 1370.7502 | 54.0886 | 0.26107 | [6 empty] | 1.0055 | 1.0314 | 0.0068128 | 0.0010368 | 1.1549 | 1.1658 | 0.16182 | 0.00046866 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:31:18 PM | 59478 | [6 empty] | 59478 | 0.9978 | 0.9978 | 0.99781
9 | UW3-OX17-FI#2 | 0.138 | 0.0052731 | 0.0035863 | 0.0038657 | 103.0985 | 0.0090509 | 0.00063847 | 0.0090483 | 11.992 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.138 | 0.0052731 | 0.1413 | 0.0043496 | -0.031617 | 0.0067731 | SupCrit | 103.3256 | 0.0090483 | 1285.6992 | 0.0087479 | 679.1409 | 1285.6992 | 1229.1009 | 0.60495 | 10.0702 | 0.89589 | 1.2099 | Flagged Warnings: | 1389.0249 | 0.0023121 | 1189.7889 | 1389.0249 | 1610.2066 | 0.51269 | 0 | 3.6872 | 0.60054 | 1.0254 | Flagged Warnings: | 1265.469 | 281.815 | 1.8159 | 1410.416 | 207.2386 | 0.77194 | [9 empty] | 1.1063 | 1.0585 | 0.12864 | 0.0017815 | 1.1168 | 1.1328 | 0.1198 | 0.00086181 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:35:55 PM | 59755 | [6 empty] | 59755 | 0.9978 | 0.9978 | 0.99781
10 | UW3-OX18-FI#1 | 0.14157 | 0.0041141 | 0.0013818 | 0.0038751 | 103.1075 | 0.0034874 | 0.00064184 | 0.0034354 | 11.976 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14157 | 0.0041141 | 0.14492 | 0.0027634 | -0.025148 | 0.0031327 | SupCrit | 103.3351 | 0.0034354 | 1285.6891 | 0.0031139 | 859.166 | 1285.6891 | 1412.948 | 0.61055 | 4.1062 | 0.6507 | 1.2211 | Flagged Warnings: | 1389.0242 | 0.0014511 | 1587.3178 | 1389.0242 | 2113.5724 | 0.51132 | 0 | 3.1362 | 0.56633 | 1.0226 | Flagged Warnings: | 1265.4321 | 173.0886 | 1.0228 | 1410.4036 | 263.0489 | 0.76605 | [9 empty] | 1.0914 | 1.0362 | 0.11164 | 0.0014213 | 1.1203 | 1.1385 | 0.123 | 0.00064425 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:45:47 PM | 60347 | [6 empty] | 60347 | 0.9978 | 0.99779 | 0.9978
11 | UW3-OX19-FI#1 | 0.13608 | 0.00392 | 0.00067809 | 0.0038609 | 103.0937 | 0.0017113 | 0.00064533 | 0.0015885 | 11.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13608 | 0.00392 | 0.13934 | 0.0024791 | -0.03511 | 0.0022588 | SupCrit | 103.3216 | 0.0015885 | 1285.7627 | 0.0014106 | 1642.013 | 1285.7627 | 2567.5881 | 0.58962 | 3.0155 | 0.61216 | 1.1792 | Flagged Warnings: | 1389.0843 | 0.0007304 | 3076.6004 | 1389.0843 | 4011.8143 | 0.50363 | 0 | 3.1022 | 0.55158 | 1.0073 | Flagged Warnings: | 1265.5558 | 271.8328 | 0.7768 | 1410.4446 | 428.3522 | 0.66396 | 1370.7865 | 65.7081 | 0.25175 | [6 empty] | 1.1632 | 1.1071 | 0.19246 | 0.00071817 | 1.0101 | 1.022 | 0.010174 | 0.0003274 | PseudoVoigtModel | PseudoVoigtModel | No | November 8, 2022 | November | 8 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:55:50 PM | 60950 | [6 empty] | 60950 | 0.99779 | 0.99779 | 0.9978