## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
26 | UW5-OX20-FI#1 | 0.12847 | 0.0040069 | 0.0011322 | 0.0038437 | 103.0745 | 0.0028574 | 0.00067424 | 0.0027825 | 11.938 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12847 | 0.0040069 | 0.13164 | 0.0026452 | -0.048961 | 0.0028081 | SupCrit | 103.2897 | 0.0027825 | 1285.8489 | 0.0023569 | 938.9644 | 1285.8489 | 1425.0955 | 0.57093 | 3.5072 | 0.61812 | 1.1419 | Flagged Warnings: | 1389.1387 | 0.001479 | 1669.4452 | 1389.1386 | 2101.7326 | 0.48726 | 0 | 3.798 | 0.54626 | 0.97452 | Flagged Warnings: | 1265.5407 | 171.5061 | 0.78771 | 1410.4504 | 272.2165 | 0.6348 | 1370.8138 | 37.5109 | 0.24355 | [6 empty] | 1.0219 | 1.0146 | 0.024959 | 0.0012161 | 1.0819 | 1.0969 | 0.079765 | 0.00058374 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:42:00 AM | 42120 | [6 empty] | 42120 | 0.99792 | 0.99791 | 0.99792
27 | UW5-OX20-FI#2 | 0.13609 | 0.0041331 | 0.0014751 | 0.0038609 | 103.0937 | 0.0037227 | 0.0006733 | 0.003669 | 11.906 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13609 | 0.0041331 | 0.13936 | 0.0028128 | -0.035082 | 0.0032805 | SupCrit | 103.3096 | 0.003669 | 1285.7686 | 0.0033403 | 1034.7646 | 1285.7687 | 1655.9976 | 0.57896 | 5.8348 | 0.71344 | 1.1579 | Flagged Warnings: | 1389.0784 | 0.0015179 | 1820.7552 | 1389.0783 | 2354.4502 | 0.4893 | 0 | 3.7278 | 0.60336 | 0.9786 | Flagged Warnings: | 1265.5998 | 231.4326 | 1.1575 | 1410.4481 | 255.5442 | 0.65826 | 1372.2991 | 67.006 | 0.063615 | [6 empty] | 1.1382 | 1.0698 | 0.16007 | 0.001119 | 1.0244 | 1.038 | 0.023868 | 0.00053747 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:46:19 AM | 42379 | [6 empty] | 42379 | 0.99791 | 0.9979 | 0.99792
28 | UW5-OX20-FI#3 | 0.10702 | 0.004059 | 0.001398 | 0.0038106 | 103.0204 | 0.0035281 | 0.00067168 | 0.0034709 | 11.945 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10702 | 0.004059 | 0.10999 | 0.0027742 | -0.088441 | 0.0032261 | SupCrit | 103.2368 | 0.0034709 | 1285.9238 | 0.0029163 | 500.0744 | 1285.9238 | 708.1321 | 0.53792 | 1.9614 | 0.59365 | 1.0758 | Flagged Warnings: | 1389.1607 | 0.0018821 | 868.3087 | 1389.1606 | 1066.8379 | 0.47606 | 0 | 2.2907 | 0.54336 | 0.95213 | Flagged Warnings: | 1265.6961 | 82.8382 | 0.6992 | 1410.5397 | 143.7585 | 0.5314 | [9 empty] | 1.1662 | 1.1776 | 0.17876 | 0.0021513 | 1.1209 | 1.1526 | 0.11509 | 0.0010965 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:51:04 AM | 42664 | [6 empty] | 42664 | 0.9979 | 0.9979 | 0.99791
29 | UW5-OX21-MX1-FI#1-R1 | 0.12602 | 0.0039062 | 0.00072313 | 0.0038387 | 103.0683 | 0.001825 | 0.00066988 | 0.0017012 | 12.063 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12602 | 0.0039062 | 0.12916 | 0.0024944 | -0.053441 | 0.0023169 | SupCrit | 103.2862 | 0.0017012 | 1285.8555 | 0.0014321 | 1432.7757 | 1285.8556 | 2130.2873 | 0.56457 | 2.9929 | 0.59473 | 1.1291 | Flagged Warnings: | 1389.1418 | 0.00091825 | 2557.2778 | 1389.1417 | 3198.443 | 0.4824 | 0 | 3.0906 | 0.55508 | 0.9648 | Flagged Warnings: | 1265.6294 | 250.7487 | 0.79287 | 1410.494 | 362.7807 | 0.63171 | 1370.7987 | 50.2274 | 0.24113 | [6 empty] | 1.036 | 1.0105 | 0.040661 | 0.00078807 | 1.0899 | 1.1032 | 0.086763 | 0.00037728 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:00:19 PM | 43219 | [6 empty] | 43219 | 0.99789 | 0.99788 | 0.9979
30 | UW5-OX21-MX1-FI#1-R2 | 0.12966 | 0.0039053 | 0.00067709 | 0.0038462 | 103.0775 | 0.0017088 | 0.00066904 | 0.0015757 | 12.09 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12966 | 0.0039053 | 0.13284 | 0.0024803 | -0.046783 | 0.0022655 | SupCrit | 103.296 | 0.0015757 | 1285.8325 | 0.0014082 | 1567.6085 | 1285.8326 | 2350.0884 | 0.56785 | 3.1133 | 0.60092 | 1.1357 | Flagged Warnings: | 1389.1286 | 0.00070685 | 2796.8587 | 1389.1285 | 3529.178 | 0.48567 | 0 | 3.0522 | 0.56039 | 0.97135 | Flagged Warnings: | 1265.5696 | 269.548 | 0.84307 | 1410.4876 | 392.6046 | 0.60019 | 1370.8033 | 56.4566 | 0.24277 | [6 empty] | 1.0824 | 1.0426 | 0.093565 | 0.00072447 | 1.0676 | 1.0807 | 0.065678 | 0.0003473 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:04:31 PM | 43471 | [6 empty] | 43471 | 0.99788 | 0.99788 | 0.99789
31 | UW5-OX21-MX1-FI#2 | 0.12533 | 0.0039205 | 0.00080318 | 0.0038374 | 103.0666 | 0.002027 | 0.00066771 | 0.0019179 | 12.015 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12533 | 0.0039205 | 0.12846 | 0.0025195 | -0.054696 | 0.0024045 | SupCrit | 103.2859 | 0.0019179 | 1285.836 | 0.0017494 | 1286.3149 | 1285.836 | 1924.1813 | 0.57201 | 2.6831 | 0.57697 | 1.144 | Flagged Warnings: | 1389.1219 | 0.00078609 | 2308.7228 | 1389.1219 | 2904.5634 | 0.48806 | 0 | 2.5854 | 0.54029 | 0.97612 | Flagged Warnings: | 1265.5881 | 199.7303 | 0.78489 | 1410.4753 | 333.2326 | 0.67853 | 1370.8011 | 48.7008 | 0.24396 | [6 empty] | 1.0618 | 1.0168 | 0.070698 | 0.00088938 | 1.053 | 1.0619 | 0.051738 | 0.0004228 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:10:36 PM | 43836 | [6 empty] | 43836 | 0.99788 | 0.99787 | 0.99788
32 | UW5-OX21-MX1-FI#3 | 0.12873 | 0.0039401 | 0.00086404 | 0.0038442 | 103.0751 | 0.0021806 | 0.0006668 | 0.0020806 | 11.988 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12873 | 0.0039401 | 0.1319 | 0.0025394 | -0.048487 | 0.0024694 | SupCrit | 103.2951 | 0.0020806 | 1285.8173 | 0.0018467 | 1110.5848 | 1285.8174 | 1665.606 | 0.57529 | 2.5776 | 0.5691 | 1.1506 | Flagged Warnings: | 1389.1125 | 0.00095828 | 2018.0471 | 1389.1125 | 2575.067 | 0.49366 | 0 | 2.9033 | 0.54734 | 0.98732 | Flagged Warnings: | 1265.596 | 187.0826 | 0.74515 | 1410.4811 | 290.4978 | 0.65145 | 1370.7912 | 40.7185 | 0.24675 | [6 empty] | 1.0943 | 1.0467 | 0.10848 | 0.001036 | 1.0347 | 1.0429 | 0.034282 | 0.00048924 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:15:31 PM | 44131 | [6 empty] | 44131 | 0.99787 | 0.99786 | 0.99788
33 | UW5-OX21-MX2-FI#1 | 0.13095 | 0.0048102 | 0.0028851 | 0.003849 | 103.0807 | 0.0072813 | 0.00066495 | 0.0072664 | 12.03 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13095 | 0.0048102 | 0.13414 | 0.0037711 | -0.044444 | 0.0055916 | SupCrit | 103.3021 | 0.0072664 | 1285.7782 | 0.0064186 | 295.4802 | 1285.7782 | 472.7374 | 0.62202 | 2.2705 | 0.53483 | 1.244 | Flagged Warnings: | 1389.0803 | 0.0034062 | 545.6551 | 1389.0803 | 724.885 | 0.50419 | 0 | 2.5033 | 0.59595 | 1.0084 | Flagged Warnings: | 1265.5944 | 61.3655 | 0.76833 | 1410.4042 | 110.2453 | 0.82635 | [9 empty] | 1.1011 | 1.0378 | 0.12576 | 0.0042102 | 1.0169 | 1.0293 | 0.017034 | 0.001848 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:25:48 PM | 44748 | [6 empty] | 44748 | 0.99786 | 0.99785 | 0.99786
34 | UW5-OX22-FI#1-R1 | 0.12176 | 0.0044748 | 0.0023128 | 0.0038308 | 103.0576 | 0.0058367 | 0.00066265 | 0.0058116 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12176 | 0.0044748 | 0.12485 | 0.0033399 | -0.061238 | 0.0046531 | SupCrit | 103.2805 | 0.0058116 | 1285.8927 | 0.005003 | 433.2988 | 1285.8928 | 654.2288 | 0.52805 | 3.7809 | 0.79324 | 1.0561 | Flagged Warnings: | 1389.1733 | 0.002957 | 731.661 | 1389.1733 | 915.0921 | 0.4825 | 0 | 2.9322 | 0.55454 | 0.96501 | Flagged Warnings: | 1265.5358 | 118.0101 | 1.5679 | 1410.4561 | 115.8897 | 0.68926 | [9 empty] | 1.0793 | 1.1011 | 0.08377 | 0.0024373 | 1.1408 | 1.1586 | 0.13587 | 0.0013189 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:39:12 PM | 45552 | [6 empty] | 45552 | 0.99784 | 0.99783 | 0.99785
35 | UW5-OX22-FI#1-R2 | 0.11292 | 0.004357 | 0.0021003 | 0.0038174 | 103.0352 | 0.0053006 | 0.0006619 | 0.0052705 | 12.08 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11292 | 0.004357 | 0.11593 | 0.0031923 | -0.077522 | 0.0043263 | SupCrit | 103.2587 | 0.0052705 | 1285.8792 | 0.0046089 | 469.4629 | 1285.8793 | 713.2857 | 0.52629 | 4.3058 | 0.81529 | 1.0526 | Flagged Warnings: | 1389.138 | 0.0025567 | 790.4497 | 1389.1379 | 1007.5255 | 0.48267 | 0 | 2.6488 | 0.60147 | 0.96535 | Flagged Warnings: | 1265.6106 | 134.9096 | 1.4331 | 1410.448 | 128.7697 | 0.64138 | [9 empty] | 1.1121 | 1.1528 | 0.11796 | 0.0022421 | 1.0789 | 1.0919 | 0.07612 | 0.0012213 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:43:20 PM | 45800 | [6 empty] | 45800 | 0.99784 | 0.99783 | 0.99784
36 | UW5-OX23-FI#1 | 0.13206 | 0.01364 | 0.013085 | 0.0038514 | 103.0835 | 0.033022 | 0.00066076 | 0.033087 | 12.155 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13206 | 0.01364 | 0.13528 | 0.013471 | -0.042408 | 0.023909 | SupCrit | 103.3084 | 0.033087 | 1285.762 | 0.030784 | 45.0049 | 1285.762 | 76.6441 | 0.66014 | 1.7369 | 0.54215 | 1.3203 | Flagged Warnings: | 1389.0704 | 0.01213 | 83.4312 | 1389.0704 | 112.2662 | 0.49764 | 0 | 1.5373 | 0.65976 | 0.99528 | Flagged Warnings: | [15 empty] | 1.115 | 1.0436 | 0.1518 | 0.029336 | 1.0346 | 1.0422 | 0.034439 | 0.011929 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:54:30 PM | 46470 | [6 empty] | 46470 | 0.99782 | 0.99782 | 0.99783
37 | UW5-OX23-FI#2-12mw | 0.1414 | 0.0039282 | 0.00064649 | 0.0038747 | 103.1071 | 0.0016316 | 0.00066023 | 0.0014953 | 12.021 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1414 | 0.0039282 | 0.14475 | 0.0024692 | -0.025455 | 0.0022218 | SupCrit | 103.3327 | 0.0014953 | 1285.7486 | 0.001347 | 2324.3357 | 1285.7487 | 3667.0325 | 0.5972 | 3.8512 | 0.60253 | 1.1944 | Flagged Warnings: | 1389.0815 | 0.00064921 | 4337.9063 | 1389.0814 | 5690.9751 | 0.50238 | 0 | 4.2594 | 0.57334 | 1.0048 | Flagged Warnings: | 1265.5186 | 403.2727 | 0.83157 | 1410.4513 | 640.6446 | 0.67581 | 1370.773 | 94.7019 | 0.25103 | [6 empty] | 1.1466 | 1.0774 | 0.17513 | 0.00051387 | 1.0169 | 1.027 | 0.01703 | 0.00023162 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:00:26 PM | 46826 | [6 empty] | 46826 | 0.99782 | 0.99781 | 0.99782
38 | UW5-OX23-FI#2-6mw | 0.1424 | 0.0039562 | 0.00078574 | 0.0038774 | 103.1096 | 0.001983 | 0.00065981 | 0.0018741 | 6.036 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1424 | 0.0039562 | 0.14576 | 0.0025104 | -0.023656 | 0.0023628 | SupCrit | 103.3357 | 0.0018741 | 1285.7395 | 0.0015848 | 1168.293 | 1285.7395 | 1851.0118 | 0.59431 | 2.2119 | 0.62513 | 1.1886 | Flagged Warnings: | 1389.0753 | 0.0010004 | 2177.0798 | 1389.0752 | 2851.6991 | 0.50105 | 0 | 2.6556 | 0.57611 | 1.0021 | Flagged Warnings: | 1265.485 | 189.9638 | 0.78458 | 1410.4386 | 305.7982 | 0.682 | 1369.1958 | 8.3566 | 0.25047 | [6 empty] | 1.1577 | 1.1017 | 0.18749 | 0.0010174 | 1.0273 | 1.0446 | 0.027361 | 0.00046029 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:04:32 PM | 47072 | [6 empty] | 47072 | 0.99781 | 0.99781 | 0.99782
39 | UW5-OX24-FI#1 | -0.048419 | 0 | 0 | 0 | 102.6281 | 0.10371 | 0.00065529 | 0.10394 | 24.911 | 1325.004 | 0 | 0 | N | Below lower calibration limit |  |  | -0.048419 | 0.041314 | -0.044251 | 0.040454 | -0.39332 | 0.084973 | SupCrit | 102.855 | 0.10394 | 1286.6744 | 0.08692 | 23.2039 | 1286.6744 | 22.1436 | 0.42948 | 2.618 | 0.12994 | 0.85896 | Flagged Warnings: | 1389.5294 | 0.056992 | 52.2597 | 1389.5294 | 49.0682 | 0.3433 | 0 | 2.5744 | 0.68744 | 0.68661 | Flagged Warnings: | [15 empty] | 1.0346 | 1.0088 | 0.029733 | 0.037018 | 1.1116 | 1.1453 | 0.07663 | 0.013138 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 1:21:25 PM | 48085 | [6 empty] | 48085 | 0.99779 | 0.99779 | 0.9978
40 | UW5-OX25-FI#1 | 0.0097298 | 0.01226 | 0.011604 | 0.0039543 | 102.7748 | 0.029286 | 0.00065571 | 0.029344 | 12.061 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0097298 | 0.01226 | 0.013022 | 0.011722 | -0.27542 | 0.023156 | SupCrit | 103.0029 | 0.029344 | 1286.6139 | 0.026022 | 52.3085 | 1286.6139 | 47.5672 | 0.42714 | 2.133 | 2.4305e-08 | 0.85429 | Flagged Warnings: | 1389.6169 | 0.013563 | 85.0637 | 1389.6169 | 72.016 | 0.39767 | 0 | 1.8027 | 4.7297e-12 | 0.79534 | Flagged Warnings: | [15 empty] | 1.1411 | 1.1526 | 0.12056 | 0.016332 | 1.0084 | 1.0129 | 0.0066835 | 0.0093499 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:29:55 PM | 48595 | [6 empty] | 48595 | 0.99779 | 0.99778 | 0.99779
41 | UW5-OX25-FI#2 | 0 | 0 | 0 | 0 | 102.7218 | 0.042431 | 0.00065515 | 0.04252 | 12.062 | 1325.004 | 0 | 0 | Y | not in range |  |  | -0.011265 | 0.017293 | -0.0076972 | 0.016751 | -0.31746 | 0.033964 | SupCrit | 102.9503 | 0.04252 | 1286.665 | 0.034137 | 43.0808 | 1286.665 | 38.2993 | 0.39897 | 2.0585 | 0.13831 | 0.79794 | Flagged Warnings: | 1389.6154 | 0.02535 | 53.145 | 1389.6154 | 46.7988 | 0.41363 | 0 | 2.0923 | 8.1622e-10 | 0.82726 | Flagged Warnings: | [15 empty] | 1.0546 | 1.0682 | 0.043585 | 0.018522 | 1.0156 | 1.0328 | 0.012926 | 0.015566 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:34:25 PM | 48865 | [6 empty] | 48865 | 0.99778 | 0.99777 | 0.99779
42 | UW5-OX25-FI#3 | 0.024968 | 0.0222 | 0.021854 | 0.0039009 | 102.8133 | 0.055154 | 0.00065551 | 0.055273 | 12.06 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.024968 | 0.0222 | 0.028098 | 0.021782 | -0.24528 | 0.043038 | SupCrit | 103.0425 | 0.055273 | 1286.5257 | 0.048265 | 26.1176 | 1286.5257 | 23.8315 | 0.4286 | 1.8115 | 1.5348e-11 | 0.85721 | Flagged Warnings: | 1389.5683 | 0.026937 | 38.6209 | 1389.5683 | 34.5835 | 0.42061 | 0 | 1.6482 | 6.3485e-10 | 0.84123 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0845 | 1.0641 | 0.07244 | 0.032821 | 1.0913 | 1.1115 | 0.076793 | 0.021782 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:39:59 PM | 49199 | [6 empty] | 49199 | 0.99777 | 0.99777 | 0.99778
43 | UW5-OX25-FI#4 | 0.028926 | 0.015404 | 0.014905 | 0.0038888 | 102.8233 | 0.037617 | 0.00065543 | 0.037695 | 12.055 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028926 | 0.015404 | 0.032019 | 0.014969 | -0.23751 | 0.029309 | SupCrit | 103.053 | 0.037695 | 1286.5518 | 0.034238 | 63.3002 | 1286.5518 | 50.7504 | 0.35152 | 1.7664 | 0.20651 | 0.70305 | Flagged Warnings: | 1389.6049 | 0.015769 | 79.0797 | 1389.6049 | 64.3095 | 0.38199 | 0 | 1.8495 | 1.4062e-12 | 0.76397 | Flagged Warnings: | [15 empty] | 1.2377 | 1.3322 | 0.16709 | 0.011107 | 1.0263 | 1.0339 | 0.020105 | 0.0096608 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:44:49 PM | 49489 | [6 empty] | 49489 | 0.99777 | 0.99776 | 0.99778
44 | UW5-OX25-FI#5 | 0 | 0 | 0 | 0 | 102.7255 | 0.051901 | 0.0006547 | 0.052014 | 12.049 | 1325.004 | 0 | 0 | Y | not in range |  |  | -0.0098153 | 0.020958 | -0.0062685 | 0.020421 | -0.31454 | 0.04148 | SupCrit | 102.9556 | 0.052014 | 1286.625 | 0.045638 | 26.3867 | 1286.625 | 23.2716 | 0.41427 | 1.6242 | 5.5477e-11 | 0.82853 | Flagged Warnings: | 1389.5806 | 0.024951 | 46.232 | 1389.5806 | 36.9373 | 0.36494 | 0 | 1.4698 | 0.085519 | 0.72988 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.1134 | 1.1492 | 0.093923 | 0.0314 | 1.0553 | 1.0789 | 0.040362 | 0.015787 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:50:15 PM | 49815 | [6 empty] | 49815 | 0.99776 | 0.99776 | 0.99777
45 | UW5-OX27-FI#1 | 0.051856 | 0.15109 | 0.15104 | 0.0038338 | 102.8811 | 0.38119 | 0.00065601 | 0.38205 | 11.997 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.051856 | 0.15109 | 0.054788 | 0.15095 | -0.19288 | 0.29162 | SupCrit | 103.1143 | 0.38205 | 1286.4858 | 0.38021 | 93.5337 | 1286.4858 | 38.4962 | 0.15023 | 1.5031 | 0.69161 | 0.30045 | Flagged Warnings: | 1389.6001 | 0.037466 | 33.2803 | 1389.6001 | 26.2263 | 0.35858 | 0 | 1.7378 | 0.097 | 0.71717 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.2222 | 1.2912 | 0.066767 | 0.0032122 | 1.0275 | 1.0466 | 0.019739 | 0.021549 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:18:08 PM | 51488 | [6 empty] | 51488 | 0.99774 | 0.99773 | 0.99775
46 | UW5-OX27-FI#2 | 0 | 0 | 0 | 0 | 102.7251 | 0.060662 | 0.00065524 | 0.060796 | 11.986 | 1325.004 | 0 | 0 | Y | not in range |  |  | -0.0099545 | 0.024374 | -0.0064057 | 0.023823 | -0.31482 | 0.048471 | SupCrit | 102.9584 | 0.060796 | 1286.5802 | 0.052654 | 28.2573 | 1286.5802 | 24.3888 | 0.40541 | 2.182 | 3.0015e-07 | 0.81082 | Flagged Warnings: | 1389.5385 | 0.030392 | 44.6514 | 1389.5385 | 35.8815 | 0.37746 | 0 | 1.9315 | 1.5164e-10 | 0.75493 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.1885 | 1.2362 | 0.15286 | 0.028694 | 1.1295 | 1.1638 | 0.097736 | 0.016907 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:23:20 PM | 51800 | [6 empty] | 51800 | 0.99773 | 0.99773 | 0.99774
47 | UW5-OX28-FI#1 | 0.099746 | 0.0040331 | 0.0013379 | 0.0038047 | 103.002 | 0.0033764 | 0.00065807 | 0.0033192 | 11.969 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099746 | 0.0040331 | 0.10267 | 0.0027449 | -0.10198 | 0.0031514 | SupCrit | 103.2372 | 0.0033192 | 1285.891 | 0.0027539 | 652.5724 | 1285.8911 | 924.3013 | 0.55048 | 2.6847 | 0.53565 | 1.101 | Flagged Warnings: | 1389.1283 | 0.0018528 | 1154.5595 | 1389.1283 | 1402.2854 | 0.48015 | 0 | 3.1677 | 0.49153 | 0.9603 | Flagged Warnings: | 1265.6458 | 99.0911 | 0.66917 | 1410.4711 | 194.4437 | 0.63804 | [9 empty] | 1.0745 | 1.0915 | 0.08202 | 0.0016871 | 1.0683 | 1.0822 | 0.065632 | 0.00083174 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:40:02 PM | 52802 | [6 empty] | 52802 | 0.99772 | 0.99772 | 0.99773
17 | UW4-OX29-FI#1 | 0.13906 | 0.0040703 | 0.0012659 | 0.0038685 | 103.1012 | 0.0031949 | 0.00065936 | 0.0031333 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13906 | 0.0040703 | 0.14237 | 0.0027057 | -0.029697 | 0.0029729 | SupCrit | 103.3372 | 0.0031333 | 1285.6458 | 0.0027851 | 758.342 | 1285.6459 | 1230.4688 | 0.60712 | 2.7171 | 0.63138 | 1.2142 | Flagged Warnings: | 1388.9831 | 0.0014354 | 1402.1473 | 1388.9831 | 1832.3567 | 0.49396 | 0 | 2.6413 | 0.60599 | 0.98792 | Flagged Warnings: | 1265.4742 | 142.3305 | 0.88649 | 1410.3395 | 198.6805 | 0.77943 | [9 empty] | 1.0339 | 1.004 | 0.041161 | 0.0016012 | 1.1873 | 1.2137 | 0.18502 | 0.00070458 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:47:36 PM | 53256 | [6 empty] | 53256 | 0.99772 | 0.99771 | 0.99772
18 | UW4-OX29-FI#2 | 0.14859 | 0.0039805 | 0.00081853 | 0.0038955 | 103.1253 | 0.0020657 | 0.00066002 | 0.0019619 | 11.986 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14859 | 0.0039805 | 0.15206 | 0.00252 | -0.012484 | 0.0023906 | SupCrit | 103.3617 | 0.0019619 | 1285.6021 | 0.0017509 | 1158.9725 | 1285.6022 | 1864.662 | 0.60036 | 2.5404 | 0.63812 | 1.2007 | Flagged Warnings: | 1388.9639 | 0.00088522 | 2182.586 | 1388.9638 | 2940.4732 | 0.51078 | 0 | 2.8633 | 0.59848 | 1.0216 | Flagged Warnings: | 1265.3619 | 212.204 | 0.89902 | 1410.34 | 327.3187 | 0.70586 | 1370.7407 | 54.0072 | 0.25521 | [6 empty] | 1.0374 | 1.066 | 0.044854 | 0.001036 | 1.2048 | 1.2168 | 0.20919 | 0.00046805 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:43 PM | 53563 | [6 empty] | 53563 | 0.99771 | 0.99771 | 0.99772
19 | UW4-OX30-FI#1 | 0.13277 | 0.0040898 | 0.0013714 | 0.0038531 | 103.0853 | 0.0034611 | 0.0006609 | 0.0034052 | 11.973 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13277 | 0.0040898 | 0.13599 | 0.0027585 | -0.04112 | 0.0031352 | SupCrit | 103.3222 | 0.0034052 | 1285.6943 | 0.0029482 | 771.3411 | 1285.6943 | 1201.0462 | 0.59014 | 3.0642 | 0.59933 | 1.1803 | Flagged Warnings: | 1389.0166 | 0.001704 | 1436.4641 | 1389.0166 | 1842.5308 | 0.48907 | 0 | 3.311 | 0.5843 | 0.97813 | Flagged Warnings: | 1265.5396 | 117.0556 | 0.65231 | 1410.3755 | 231.1988 | 0.77051 | [9 empty] | 1.1071 | 1.0611 | 0.12646 | 0.0015302 | 1.1286 | 1.1724 | 0.12576 | 0.00068093 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:02:46 PM | 54166 | [6 empty] | 54166 | 0.99771 | 0.9977 | 0.99771
20 | UW4-OX30-FI#2 | 0.14294 | 0.0045938 | 0.0024611 | 0.0038789 | 103.111 | 0.0062112 | 0.00066162 | 0.0061901 | 11.96 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14294 | 0.0045938 | 0.14631 | 0.0034526 | -0.022678 | 0.0048307 | SupCrit | 103.3482 | 0.0061901 | 1285.6345 | 0.0056022 | 588.7884 | 1285.6345 | 965.9435 | 0.61793 | 3.8231 | 0.61509 | 1.2359 | Flagged Warnings: | 1388.9828 | 0.0026329 | 1103.3841 | 1388.9827 | 1430.3139 | 0.50026 | 0 | 4.1345 | 0.55365 | 1.0005 | Flagged Warnings: | 1265.3434 | 124.4141 | 1.1332 | 1410.3709 | 156.7174 | 0.73738 | [9 empty] | 1.011 | 1.0356 | 0.013618 | 0.002099 | 1.186 | 1.2126 | 0.18606 | 0.00090677 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:07:07 PM | 54427 | [6 empty] | 54427 | 0.9977 | 0.9977 | 0.99771
21 | UW4-OX30-FI#3 | 0.13306 | 0.0053473 | 0.003707 | 0.0038537 | 103.0861 | 0.0093555 | 0.00066232 | 0.0093536 | 11.963 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13306 | 0.0053473 | 0.13628 | 0.0044491 | -0.040596 | 0.0070087 | SupCrit | 103.3235 | 0.0093536 | 1285.695 | 0.0083072 | 403.7579 | 1285.695 | 617.7304 | 0.58251 | 4.0786 | 0.58799 | 1.165 | Flagged Warnings: | 1389.0186 | 0.0042988 | 759.2724 | 1389.0185 | 973.0883 | 0.48208 | 0 | 4.4841 | 0.61813 | 0.96416 | Flagged Warnings: | 1265.5265 | 81.5914 | 0.81664 | 1410.4298 | 105.8004 | 0.67863 | [9 empty] | 1.1114 | 1.064 | 0.12984 | 0.0028855 | 1.1341 | 1.1779 | 0.12925 | 0.0012698 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:13:25 PM | 54805 | [6 empty] | 54805 | 0.9977 | 0.9977 | 0.99771
22 | UW4-OX30-FI#4 | 0.13327 | 0.0040249 | 0.0011597 | 0.0038542 | 103.0866 | 0.0029267 | 0.00066303 | 0.0028572 | 11.988 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13327 | 0.0040249 | 0.1365 | 0.0026568 | -0.040205 | 0.002837 | SupCrit | 103.3242 | 0.0028572 | 1285.6698 | 0.0022453 | 873.4422 | 1285.6698 | 1380.1681 | 0.60996 | 2.5337 | 0.5531 | 1.2199 | Flagged Warnings: | 1388.9941 | 0.001767 | 1641.8727 | 1388.9941 | 2152.245 | 0.49884 | 0 | 3.9404 | 0.58914 | 0.99768 | Flagged Warnings: | 1265.4692 | 154.1695 | 0.84733 | 1410.3379 | 270.3087 | 0.71778 | [9 empty] | 1.0653 | 1.0201 | 0.07971 | 0.0013967 | 1.1725 | 1.1906 | 0.17214 | 0.00060765 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:18:18 PM | 55098 | [6 empty] | 55098 | 0.9977 | 0.99769 | 0.99771
23 | UW4-OX31-FI#1 | 0.13981 | 0.0041919 | 0.0016099 | 0.0038704 | 103.1031 | 0.0040629 | 0.00066445 | 0.0040175 | 11.966 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13981 | 0.0041919 | 0.14314 | 0.0028879 | -0.028335 | 0.0034747 | SupCrit | 103.341 | 0.0040175 | 1285.6403 | 0.0037154 | 1208.5264 | 1285.6403 | 1949.7432 | 0.59505 | 7.036 | 0.66677 | 1.1901 | Flagged Warnings: | 1388.9814 | 0.0015284 | 2261.0631 | 1388.9814 | 2951.0504 | 0.50029 | 0 | 4.5382 | 0.57082 | 1.0006 | Flagged Warnings: | 1265.4247 | 267.1615 | 1.1191 | 1410.3429 | 324.2739 | 0.58895 | 1370.7472 | 52.7654 | 0.24998 | [6 empty] | 1.0258 | 1.004 | 0.03069 | 0.00098475 | 1.1853 | 1.2063 | 0.18542 | 0.00044252 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:26:33 PM | 55593 | [6 empty] | 55593 | 0.9977 | 0.99769 | 0.9977
24 | UW4-OX31-FI#3 | 0.12724 | 0.0052983 | 0.0036493 | 0.0038411 | 103.0714 | 0.0092098 | 0.00066584 | 0.0092069 | 11.968 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12724 | 0.0052983 | 0.13039 | 0.0043958 | -0.051211 | 0.0069367 | SupCrit | 103.3094 | 0.0092069 | 1285.6873 | 0.0084216 | 404.3441 | 1285.6874 | 684.3476 | 0.60216 | 4.5729 | 0.75298 | 1.2043 | Flagged Warnings: | 1388.9969 | 0.0037207 | 716.8253 | 1388.9968 | 930.8322 | 0.51218 | 0 | 3.6109 | 0.49747 | 1.0244 | Flagged Warnings: | 1265.4891 | 102.8999 | 1.0383 | 1410.3766 | 100.323 | 0.69945 | [9 empty] | 1.086 | 1.024 | 0.10352 | 0.0029785 | 1.1621 | 1.1654 | 0.16602 | 0.001429 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:35:41 PM | 56141 | [6 empty] | 56141 | 0.9977 | 0.99769 | 0.9977
25 | UW4-OX31-FI#4 | 0.13598 | 0.0063787 | 0.0050777 | 0.0038607 | 103.0934 | 0.012815 | 0.00066725 | 0.012827 | 11.967 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13598 | 0.0063787 | 0.13925 | 0.0056747 | -0.035284 | 0.0094143 | SupCrit | 103.3316 | 0.012827 | 1285.6411 | 0.012582 | 949.5052 | 1285.6411 | 1747.3891 | 0.60014 | 19.3599 | 0.94995 | 1.2003 | Flagged Warnings: | 1388.9728 | 0.0024927 | 1695.3241 | 1388.9728 | 2184.6056 | 0.49523 | 0 | 5.0353 | 0.56421 | 0.99046 | Flagged Warnings: | 1265.6235 | 447.5409 | 1.803 | 1410.3254 | 232.8978 | 0.71166 | [9 empty] | 1.0227 | 1.0278 | 0.027202 | 0.0012641 | 1.2021 | 1.2293 | 0.2002 | 0.00058423 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:42:22 PM | 56542 | [6 empty] | 56542 | 0.99769 | 0.99769 | 0.9977
0 | L84-FI40-FI#1 | 0.33131 | 0.0035295 | 0.0026337 | 0.0023498 | 103.5567 | 0.0061286 | 0.00067226 | 0.0061057 | 11.989 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31955 | 0.0055564 | 0.33131 | 0.0035295 | 0.27518 | 0.00419 | SupCrit | 103.796 | 0.0061057 | 1284.5071 | 0.0053734 | 1304.8224 | 1284.5072 | 3297.6516 | 0.94353 | 8.2516 | 0.63781 | 1.8871 | Flagged Warnings: | 1388.3033 | 0.0028993 | 2729.8327 | 1388.3032 | 5219.6903 | 0.70557 | 0 | 11.9088 | 0.66533 | 1.4111 | Flagged Warnings: | 1264.3851 | 450.106 | 1.8997 | 1409.2957 | 567.3305 | 0.40541 | [9 empty] | 1.0907 | 1.1493 | 0.17123 | 0.0014462 | 1.0872 | 1.1066 | 0.123 | 0.00051693 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:52:12 PM | 57132 | [6 empty] | 57132 | 0.99769 | 0.99769 | 0.9977
1 | L84-FI41-FI#1 | 0.10414 | 0.0081442 | 0.0071991 | 0.003808 | 103.0131 | 0.018168 | 0.00067042 | 0.018198 | 11.985 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10414 | 0.0081442 | 0.10708 | 0.0076275 | -0.093808 | 0.013524 | SupCrit | 103.2511 | 0.018198 | 1285.8141 | 0.015514 | 1193.8982 | 1285.8141 | 1526.3202 | 0.54186 | 25.5512 | 0.30296 | 1.0837 | Flagged Warnings: | 1389.0652 | 0.009513 | 2037.3759 | 1389.0652 | 2327.5725 | 0.4623 | 0 | 29.5583 | 0.42984 | 0.9246 | Flagged Warnings: |  |  |  | 1410.4004 | 335.7274 | 0.55009 | [9 empty] | 1.1968 | 1.1906 | 0.21325 | 0.00090772 | 1.0492 | 1.0784 | 0.04553 | 0.00045382 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:59:53 PM | 57593 | [6 empty] | 57593 | 0.9977 | 0.99769 | 0.9977
2 | L84-FI41-FI#2 | 0.11562 | 0.0089013 | 0.0080394 | 0.0038211 | 103.042 | 0.020289 | 0.0006716 | 0.020325 | 11.97 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11562 | 0.0089013 | 0.11865 | 0.0084555 | -0.072542 | 0.014946 | SupCrit | 103.28 | 0.020325 | 1285.7846 | 0.018088 | 684.4311 | 1285.7846 | 963.676 | 0.56892 | 16.1423 | 0.43362 | 1.1378 | Flagged Warnings: | 1389.0647 | 0.0092691 | 1193.0204 | 1389.0646 | 1355.5133 | 0.46797 | 0 | 17.7707 | 0.38217 | 0.93593 | Flagged Warnings: |  |  |  | 1410.5594 | 146.221 | 0.59909 | [9 empty] | 1.0636 | 1.0331 | 0.072348 | 0.0016625 | 1.0485 | 1.0742 | 0.0454 | 0.00078451 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:04:12 PM | 57852 | [6 empty] | 57852 | 0.9977 | 0.99769 | 0.9977
3 | L84-FI42-FI#1 | 0.12014 | 0.0042255 | 0.0017891 | 0.0038281 | 103.0535 | 0.0045151 | 0.00067346 | 0.0044749 | 11.98 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12014 | 0.0042255 | 0.12322 | 0.0029935 | -0.064216 | 0.0038008 | SupCrit | 103.2913 | 0.0044749 | 1285.751 | 0.0040045 | 1110.6692 | 1285.751 | 1626.8943 | 0.56256 | 5.8669 | 0.56594 | 1.1251 | Flagged Warnings: | 1389.0424 | 0.0019972 | 2005.8428 | 1389.0423 | 2465.2426 | 0.48443 | 0 | 5.9258 | 0.49924 | 0.96886 | Flagged Warnings: | 1265.4908 | 167.477 | 0.90337 | 1410.3726 | 291.089 | 0.66263 | [9 empty] | 1.1548 | 1.1036 | 0.17417 | 0.001013 | 1.0903 | 1.12 | 0.087442 | 0.00048302 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:11:36 PM | 58296 | [6 empty] | 58296 | 0.9977 | 0.99769 | 0.9977
4 | L84-FI43-FI#1 | 0.14398 | 0.0045643 | 0.0024009 | 0.0038818 | 103.1136 | 0.0060592 | 0.0006758 | 0.0060353 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14398 | 0.0045643 | 0.14737 | 0.0034088 | -0.020794 | 0.0047273 | SupCrit | 103.3514 | 0.0060353 | 1285.5907 | 0.0054278 | 1046.8881 | 1285.5907 | 1667.8352 | 0.60219 | 6.6883 | 0.60596 | 1.2044 | Flagged Warnings: | 1388.9422 | 0.0026389 | 1930.5859 | 1388.9421 | 2504.205 | 0.50482 | 0 | 8.0276 | 0.53197 | 1.0096 | Flagged Warnings: | 1265.1897 | 149.9995 | 0.90769 | 1410.3779 | 252.7154 | 0.65653 | [9 empty] | 1.0669 | 1.0939 | 0.080526 | 0.0011504 | 1.2234 | 1.2344 | 0.22552 | 0.00052298 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:19:17 PM | 58757 | [6 empty] | 58757 | 0.9977 | 0.99769 | 0.99771
5 | L84-FI44-FI#1-12mw | 0.35881 | 0.0045078 | 0.0038476 | 0.0023487 | 103.6203 | 0.0088505 | 0.00068159 | 0.0088446 | 11.993 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34476 | 0.0062999 | 0.35881 | 0.0045078 | 0.31424 | 0.0056478 | SupCrit | 103.859 | 0.0088446 | 1284.3456 | 0.0082347 | 1980.0881 | 1284.3456 | 5484.4245 | 1.0292 | 16.2133 | 0.64888 | 2.0585 | Flagged Warnings: | 1388.2047 | 0.0032275 | 4289.7148 | 1388.2046 | 8698.5995 | 0.73468 | 0 | 18.3427 | 0.71008 | 1.4694 | Flagged Warnings: | 1263.9712 | 598.1265 | 2.0113 | 1409.4952 | 1116.7291 | 1.5322 | [9 empty] | 1.2868 | 1.3074 | 0.59035 | 0.0010396 | 1 | 1.072 | 4.4404e-13 | 0.00034253 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 2 | 50 | ['0h', '1m', '45s'] | 4:28:25 PM | 59305 | 1150.4671 | 378.9474 | 252.9063 | Spline | 0.026718 | 0.011413 | 59305 | 0.9977 | 0.9977 | 0.99771
6 | L84-FI44-FI#1-6mw | 0.35979 | 0.0039502 | 0.0031762 | 0.0023487 | 103.6226 | 0.0073029 | 0.00068212 | 0.0072878 | 5.996 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34566 | 0.0059878 | 0.35979 | 0.0039502 | 0.31561 | 0.0047594 | SupCrit | 103.8612 | 0.0072878 | 1284.3391 | 0.0066607 | 873.2894 | 1284.3392 | 2424.8551 | 1.0589 | 6.4132 | 0.58434 | 2.1177 | Flagged Warnings: | 1388.2004 | 0.0029574 | 1923.7554 | 1388.2004 | 3976.1955 | 0.74167 | 0 | 8.0095 | 0.733 | 1.4833 | Flagged Warnings: | 1264.1128 | 242.4495 | 1.4602 | 1409.563 | 490.6816 | 1.536 | [9 empty] | 1.2201 | 1.2591 | 0.46605 | 0.002425 | 1.0364 | 1.039 | 0.054063 | 0.00077106 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:30:14 PM | 59414 | 1150.4182 | 162.7189 | 115.257 | Spline | 0.025421 | 0.010864 | 59414 | 0.9977 | 0.9977 | 0.99771
7 | L84-FI44-FI#2-6mw | 0.38358 | 0.0035533 | 0.0026666 | 0.0023484 | 103.677 | 0.0060684 | 0.00068368 | 0.0060437 | 5.995 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36721 | 0.0059608 | 0.38358 | 0.0035533 | 0.34829 | 0.0040023 | SupCrit | 103.9156 | 0.0060437 | 1284.1791 | 0.0054602 | 1369.7291 | 1284.1792 | 4070.5091 | 1.1226 | 8.7354 | 0.60911 | 2.2453 | Flagged Warnings: | 1388.0948 | 0.0025908 | 3079.95 | 1388.0948 | 6605.6509 | 0.79525 | 0 | 10.1015 | 0.654 | 1.5905 | Flagged Warnings: | 1264.0517 | 592.0179 | 2.18 | 1409.5276 | 795.7191 | 1.485 | [9 empty] | 1.2602 | 1.2648 | 0.58423 | 0.0016392 | 1.0042 | 1.0738 | 0.006711 | 0.00051641 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:34:28 PM | 59668 | 1150.247 | 624.5909 | 448.444 | Spline | 0.058503 | 0.024655 | 59668 | 0.9977 | 0.9977 | 0.99771
8 | L84-FI45-FI#1 | 0.12413 | 0.0039762 | 0.0010497 | 0.0038351 | 103.0635 | 0.0026492 | 0.00068141 | 0.002566 | 11.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12413 | 0.0039762 | 0.12725 | 0.0026108 | -0.056897 | 0.0027061 | SupCrit | 103.3005 | 0.002566 | 1285.7071 | 0.0022031 | 1132.2305 | 1285.7072 | 1687.1721 | 0.563 | 3.7273 | 0.60729 | 1.126 | Flagged Warnings: | 1389.0077 | 0.0013155 | 1993.0255 | 1389.0077 | 2543.7564 | 0.48993 | 0 | 4.1449 | 0.56722 | 0.97987 | Flagged Warnings: | 1265.4896 | 208.6409 | 0.94616 | 1410.3708 | 298.7179 | 0.66706 | [9 empty] | 1.1379 | 1.1104 | 0.15531 | 0.0009945 | 1.1464 | 1.1777 | 0.14348 | 0.00049165 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:40:33 PM | 60033 | [6 empty] | 60033 | 0.99771 | 0.9977 | 0.99771
9 | L84-FI46-FI#1 | 0.12554 | 0.0055418 | 0.0039978 | 0.0038378 | 103.0671 | 0.010089 | 0.000683 | 0.010089 | 11.975 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12554 | 0.0055418 | 0.12867 | 0.0046947 | -0.054326 | 0.0075608 | SupCrit | 103.3039 | 0.010089 | 1285.6803 | 0.0090602 | 1093.9698 | 1285.6803 | 1718.7498 | 0.58352 | 11.6475 | 0.64957 | 1.167 | Flagged Warnings: | 1388.9842 | 0.0044394 | 1978.3549 | 1388.9842 | 2501.3246 | 0.48818 | 0 | 12.6456 | 0.55225 | 0.97637 | Flagged Warnings: | 1265.3491 | 172.7861 | 0.76703 | 1410.3349 | 253.4215 | 0.68082 | [9 empty] | 1.103 | 1.0633 | 0.12024 | 0.0010668 | 1.1949 | 1.2264 | 0.19034 | 0.00049352 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:45:43 PM | 60343 | [6 empty] | 60343 | 0.99771 | 0.9977 | 0.99771
10 | L84-FI46-FI#2 | 0.11966 | 0.0086275 | 0.0077321 | 0.0038273 | 103.0522 | 0.019514 | 0.00068377 | 0.019547 | 11.974 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11966 | 0.0086275 | 0.12272 | 0.0081658 | -0.065113 | 0.014342 | SupCrit | 103.2889 | 0.019547 | 1285.6812 | 0.017856 | 254.1699 | 1285.6813 | 398.8088 | 0.59303 | 5.8577 | 0.60631 | 1.1861 | Flagged Warnings: | 1388.9702 | 0.0079512 | 485.7774 | 1388.9702 | 617.2739 | 0.48443 | 0 | 5.6734 | 0.58478 | 0.96886 | Flagged Warnings: | 1265.0926 | 59.4343 | 0.51614 | 1410.1922 | 108.3389 | 0.97063 | [9 empty] | 1.0688 | 1.0312 | 0.081563 | 0.0046664 | 1.213 | 1.265 | 0.20636 | 0.0019945 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:48:32 PM | 60512 | [6 empty] | 60512 | 0.99771 | 0.9977 | 0.99772
11 | L84-FI47-FI#1 | 0.11629 | 0.021657 | 0.021317 | 0.003822 | 103.0437 | 0.053798 | 0.00068558 | 0.053917 | 11.966 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11629 | 0.021657 | 0.11933 | 0.021645 | -0.071309 | 0.039333 | SupCrit | 103.2803 | 0.053917 | 1285.6708 | 0.046937 | 960.2521 | 1285.6708 | 1306.4311 | 0.59605 | 46.391 | 0.20878 | 1.1921 | Flagged Warnings: | 1388.9511 | 0.026533 | 1698.2048 | 1388.951 | 1847.9642 | 0.46945 | 0 | 77.589 | 0.25395 | 0.93889 | Flagged Warnings: |  |  |  | 1410.5115 | 551.308 | 1.404 | [9 empty] | 1.0225 | 1.0021 | 0.026864 | 0.0012414 | 1.298 | 1.4146 | 0.27975 | 0.00055287 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:54:26 PM | 60866 | [6 empty] | 60866 | 0.99771 | 0.9977 | 0.99772
12 | L84-FI47-FI#2 | 0.16716 | 0.019992 | 0.019595 | 0.0039605 | 103.1721 | 0.049453 | 0.00068734 | 0.049562 | 11.971 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16716 | 0.019992 | 0.17102 | 0.020199 | 0.020684 | 0.034807 | SupCrit | 103.4089 | 0.049562 | 1285.4902 | 0.045117 | 1214.7339 | 1285.4902 | 2772.4554 | 0.7265 | 73.3059 | 1 | 1.453 | Flagged Warnings: | 1388.8992 | 0.020515 | 1999.7922 | 1388.8991 | 2364.133 | 0.49233 | 0 | 73.7424 | 0.3518 | 0.98466 | Flagged Warnings: |  |  |  | 1410.4261 | 210.5605 | 0.15928 | [9 empty] | 1.115 | 1.1537 | 0.16709 | 0.0011961 | 1.332 | 1.397 | 0.32695 | 0.00049238 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 4:57:15 PM | 61035 | [6 empty] | 61035 | 0.99771 | 0.9977 | 0.99772
13 | L84-FI48-FI#1 | 0.069426 | 0.03881 | 0.038622 | 0.0038095 | 102.9255 | 0.097472 | 0.00068681 | 0.097694 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.069426 | 0.03881 | 0.072298 | 0.038644 | -0.15917 | 0.073669 | SupCrit | 103.1616 | 0.097694 | 1285.7124 | 0.06256 | 52.8561 | 1285.7124 | 43.6357 | 0.38778 | 4.5635 | 1.5838e-08 | 0.77556 | Flagged Warnings: | 1388.8741 | 0.075035 | 88.3414 | 1388.8741 | 104.8098 | 0.37765 | 0 | 4.2358 | 1 | 0.7553 | Flagged Warnings: | [15 empty] | 1.1261 | 1.1453 | 0.097788 | 0.014673 | 1.316 | 1.36 | 0.23865 | 0.0085497 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 5:00:37 PM | 61237 | [6 empty] | 61237 | 0.99771 | 0.9977 | 0.99772
14 | L84-FI48-FI#2 | 0.16167 | 0.0048299 | 0.0027943 | 0.0039396 | 103.1583 | 0.007052 | 0.00068955 | 0.0070343 | 11.986 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16167 | 0.0048299 | 0.1654 | 0.0037139 | 0.010929 | 0.0053178 | SupCrit | 103.395 | 0.0070343 | 1285.4712 | 0.006421 | 940.3014 | 1285.4712 | 1630.2994 | 0.63611 | 7.979 | 0.67943 | 1.2722 | Flagged Warnings: | 1388.8662 | 0.0028728 | 1815.8925 | 1388.8662 | 2470.6473 | 0.50974 | 0 | 7.7032 | 0.62808 | 1.0195 | Flagged Warnings: | 1265.2914 | 176.045 | 0.74275 | 1410.2715 | 284.3758 | 0.75528 | [9 empty] | 1.1994 | 1.1785 | 0.25373 | 0.001353 | 1.1693 | 1.1667 | 0.17258 | 0.00056142 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 5:04:11 PM | 61451 | [6 empty] | 61451 | 0.99771 | 0.9977 | 0.99772
15 | L84-FI49-FI#1 | 0.12794 | 0.0065348 | 0.0052856 | 0.0038426 | 103.0731 | 0.013339 | 0.0006911 | 0.013352 | 11.958 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12794 | 0.0065348 | 0.1311 | 0.0058571 | -0.049924 | 0.0098426 | SupCrit | 103.3097 | 0.013352 | 1285.6767 | 0.012078 | 360.0072 | 1285.6767 | 556.8079 | 0.54859 | 5.4563 | 0.75971 | 1.0972 | Flagged Warnings: | 1388.9863 | 0.0056917 | 645.4314 | 1388.9863 | 838.3386 | 0.49183 | 0 | 4.8078 | 0.60145 | 0.98365 | Flagged Warnings: | 1264.9776 | 51.5384 | 0.72697 | 1410.2873 | 66.1366 | 0.78756 | [9 empty] | 1.114 | 1.1196 | 0.12509 | 0.0030476 | 1.1779 | 1.1842 | 0.17503 | 0.001524 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 5:10:22 PM | 61822 | [6 empty] | 61822 | 0.99771 | 0.9977 | 0.99772
16 | L84-FI50-FI#1 | 0.18354 | 0.0047404 | 0.0041051 | 0.0023705 | 103.2029 | 0.010083 | 0.0006934 | 0.010082 | 11.964 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17937 | 0.0056619 | 0.18354 | 0.0047404 | 0.042242 | 0.007262 | SupCrit | 103.4399 | 0.010082 | 1285.3661 | 0.0094393 | 1329.8651 | 1285.3661 | 2470.843 | 0.67561 | 17.4051 | 0.7007 | 1.3512 | Flagged Warnings: | 1388.806 | 0.0035425 | 2541.2356 | 1388.806 | 3691.233 | 0.55799 | 0 | 13.9886 | 0.5653 | 1.116 | Flagged Warnings: |  |  |  | 1410.0848 | 354.5574 | 0.78191 | [9 empty] | 1.2196 | 1.2663 | 0.29669 | 0.0010161 | 1.0337 | 1.0591 | 0.037617 | 0.00043915 | PseudoVoigtModel | PseudoVoigtModel | No | November 11, 2022 | November | 11 | 45 | 3 | 50 | ['0h', '2m', '17s'] | 5:14:25 PM | 62065 | 1150.8584 | 435.7266 | 295.2649 | Spline | 0.070711 | 0.029647 | 62065 | 0.99771 | 0.9977 | 0.99772