## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
4 | UW4-603-MI#1 | 0.16616 | 0.0040959 | 0.0010595 | 0.0039565 | 103.1696 | 0.0026738 | 0.0014882 | 0.0022264 | 12.12 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16616 | 0.0040959 | 0.16999 | 0.0026095 | 0.018906 | 0.0026514 | SupCrit | 103.4045 | 0.0022264 | 1285.0873 | 0.0019158 | 2011.045 | 1285.0874 | 3462.5767 | 0.64078 | 5.3693 | 0.64467 | 1.2816 | Flagged Warnings: | 1388.492 | 0.0011343 | 3726.8545 | 1388.4919 | 5224.0088 | 0.52975 | 0 | 6.3579 | 0.60645 | 1.0595 | Flagged Warnings: | 1264.8759 | 389.865 | 0.93979 | 1409.8762 | 601.13 | 0.79258 | [9 empty] | 1.0026 | 1.0558 | 0.0033814 | 0.00063726 | 1.1229 | 1.1325 | 0.13024 | 0.00028429 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 10:43:11 AM | 38591 | [6 empty] | 38591 | 0.99773 | 0.99771 | 0.99774
3 | UW4-602-FI#1 | 0.059694 | 0.0039599 | 0.0010393 | 0.0038211 | 102.9009 | 0.0026228 | 0.0014591 | 0.0021844 | 12.009 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.059694 | 0.0039599 | 0.062592 | 0.0026206 | -0.17779 | 0.0027965 | SupCrit | 103.1357 | 0.0021844 | 1285.802 | 0.0019141 | 857.1064 | 1285.8021 | 999.5259 | 0.46816 | 2.1607 | 0.45098 | 0.93631 | Flagged Warnings: | 1388.9378 | 0.0010526 | 1426.1698 | 1388.9377 | 1488.3215 | 0.42696 | 0 | 2.0555 | 0.40023 | 0.85392 | Flagged Warnings: | 1265.4977 | 94.4518 | 0.54313 | 1410.2751 | 151.4191 | 0.50684 | [9 empty] | 1.2261 | 1.235 | 0.21175 | 0.0010924 | 1.2461 | 1.2848 | 0.21014 | 0.00059875 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:04:14 AM | 39854 | [6 empty] | 39854 | 0.99772 | 0.99771 | 0.99774
7 | UW4-610-FI#1 | 0.12296 | 0.003964 | 0.0010107 | 0.003833 | 103.0606 | 0.0025508 | 0.0014046 | 0.0021344 | 12.047 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12296 | 0.003964 | 0.12607 | 0.0025952 | -0.059038 | 0.0026576 | SupCrit | 103.3092 | 0.0021344 | 1285.6524 | 0.0018532 | 1006.5627 | 1285.6524 | 1521.7009 | 0.57856 | 2.3279 | 0.57494 | 1.1571 | Flagged Warnings: | 1388.9617 | 0.0010588 | 1796.6955 | 1388.9617 | 2342.385 | 0.50777 | 0 | 2.372 | 0.53012 | 1.0155 | Flagged Warnings: | 1265.3378 | 157.4387 | 0.78116 | 1410.3171 | 260.1131 | 0.66873 | [9 empty] | 1.0509 | 1.0254 | 0.058895 | 0.0011496 | 1.2062 | 1.2088 | 0.20939 | 0.00056522 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:38:08 PM | 45488 | [6 empty] | 45488 | 0.99759 | 0.99758 | 0.99761
6 | UW4-608-FI#1 | 0.14097 | 0.0040333 | 0.001124 | 0.0038735 | 103.106 | 0.0028366 | 0.001405 | 0.0024702 | 11.987 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14097 | 0.0040333 | 0.14431 | 0.00264 | -0.026242 | 0.002776 | SupCrit | 103.3574 | 0.0024702 | 1285.5143 | 0.0021579 | 1128.184 | 1285.5144 | 1843.6987 | 0.61283 | 3.5643 | 0.62584 | 1.2257 | Flagged Warnings: | 1388.8718 | 0.0012023 | 2008.2404 | 1388.8717 | 2814.1915 | 0.53336 | 0 | 3.6704 | 0.58872 | 1.0667 | Flagged Warnings: | 1265.2618 | 185.6108 | 0.80655 | 1410.2265 | 323.2386 | 0.68819 | [9 empty] | 1.1691 | 1.1534 | 0.20725 | 0.0010864 | 1.1398 | 1.1326 | 0.14915 | 0.00053117 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:50:36 PM | 46236 | 1150.8095 | 207.4661 | 150.8979 | Spline | 0.044541 | 0.018882 | 46236 | 0.99757 | 0.99755 | 0.99758
5 | UW4-607-FI#1 | 0.14205 | 0.0039731 | 0.00087094 | 0.0038765 | 103.1088 | 0.002198 | 0.001407 | 0.0016929 | 12.077 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14205 | 0.0039731 | 0.14541 | 0.0025393 | -0.024281 | 0.0024589 | SupCrit | 103.3632 | 0.0016929 | 1285.504 | 0.0015191 | 1113.2669 | 1285.5041 | 1799.06 | 0.60912 | 2.2765 | 0.61314 | 1.2182 | Flagged Warnings: | 1388.8673 | 0.00074698 | 1989.6903 | 1388.8673 | 2717.5027 | 0.52669 | 0 | 2.4545 | 0.55555 | 1.0534 | Flagged Warnings: | 1265.2464 | 197.1205 | 0.86685 | 1410.2325 | 302.4843 | 0.73355 | 1370.6825 | 41.0037 | 0.26291 | [6 empty] | 1.1754 | 1.1522 | 0.21373 | 0.0010943 | 1.125 | 1.1148 | 0.13167 | 0.00052942 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:05:26 PM | 47126 | [6 empty] | 47126 | 0.99754 | 0.99752 | 0.99755
8 | UW4-612-FI#1 | 0.13111 | 0.0053051 | 0.0036505 | 0.0038493 | 103.0811 | 0.0092129 | 0.0014088 | 0.0091272 | 12.089 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13111 | 0.0053051 | 0.13431 | 0.0043995 | -0.044143 | 0.0069195 | SupCrit | 103.3373 | 0.0091272 | 1285.6051 | 0.007814 | 235.2005 | 1285.6051 | 372.1138 | 0.60318 | 2.5189 | 0.58432 | 1.2064 | Flagged Warnings: | 1388.9423 | 0.0047167 | 403.1597 | 1388.9423 | 550.6084 | 0.53615 | 0 | 2.7387 | 0.50953 | 1.0723 | Flagged Warnings: | [15 empty] | 1.0339 | 1.039 | 0.040893 | 0.005129 | 1.1661 | 1.136 | 0.17814 | 0.0026597 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:13:50 PM | 47630 | [6 empty] | 47630 | 0.99752 | 0.99751 | 0.99754
9 | UW4-612-FI#2 | 0.10466 | 0.0043107 | 0.0020193 | 0.0038084 | 103.0144 | 0.0050962 | 0.001412 | 0.004909 | 12.144 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10466 | 0.0043107 | 0.10761 | 0.0031381 | -0.092826 | 0.004216 | SupCrit | 103.2726 | 0.004909 | 1285.7234 | 0.0042743 | 399.2799 | 1285.7235 | 578.5343 | 0.58483 | 2.2695 | 0.43667 | 1.1697 | Flagged Warnings: | 1388.9961 | 0.0024142 | 679.1744 | 1388.9961 | 893.4755 | 0.521 | 0 | 2.2313 | 0.48679 | 1.042 | Flagged Warnings: | 1265.4073 | 52.8842 | 0.51613 | 1410.389 | 103.7689 | 0.6441 | [9 empty] | 1.1291 | 1.0945 | 0.15104 | 0.0029294 | 1.1633 | 1.1629 | 0.17012 | 0.0015342 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:24:49 PM | 48289 | [6 empty] | 48289 | 0.9975 | 0.99749 | 0.99751
0 | UW3-606-FI#1 | 0.13237 | 0.004561 | 0.002442 | 0.0038521 | 103.0843 | 0.006163 | 0.0014175 | 0.006013 | 12.051 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13237 | 0.004561 | 0.13558 | 0.0034354 | -0.041855 | 0.0048347 | SupCrit | 103.3446 | 0.006013 | 1285.5378 | 0.0057381 | 305.2479 | 1285.5378 | 484.6031 | 0.60624 | 2.1596 | 0.58023 | 1.2125 | Flagged Warnings: | 1388.8824 | 0.0017973 | 539.2482 | 1388.8823 | 748.0958 | 0.53689 | 0 | 1.4047 | 0.54644 | 1.0738 | Flagged Warnings: |  |  |  | 1410.194 | 76.9602 | 0.72089 | [9 empty] | 1.1345 | 1.1224 | 0.16308 | 0.0039721 | 1.1208 | 1.1014 | 0.12976 | 0.0019912 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:34:16 PM | 48856 | [6 empty] | 48856 | 0.99748 | 0.99747 | 0.9975
1 | UW3-606-MI#1 | 0.13151 | 0.0039638 | 0.00094219 | 0.0038502 | 103.0822 | 0.0023778 | 0.0014248 | 0.0019085 | 12.104 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13151 | 0.0039638 | 0.13472 | 0.0025672 | -0.043414 | 0.0025589 | SupCrit | 103.3447 | 0.0019085 | 1285.5136 | 0.0016576 | 847.0492 | 1285.5136 | 1348.1965 | 0.60239 | 1.8076 | 0.60292 | 1.2048 | Flagged Warnings: | 1388.8584 | 0.00094599 | 1506.6406 | 1388.8584 | 2056.4329 | 0.53183 | 0 | 1.9768 | 0.52907 | 1.0637 | Flagged Warnings: | 1265.2491 | 150.1197 | 0.76151 | 1410.2624 | 242.9241 | 0.67383 | [9 empty] | 1.1756 | 1.1563 | 0.21155 | 0.0014223 | 1.0863 | 1.0732 | 0.091803 | 0.00070598 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:46:34 PM | 49594 | [6 empty] | 49594 | 0.99746 | 0.99745 | 0.99747
2 | UW3-618-FI#1 | 0.10102 | 0.0045116 | 0.0024232 | 0.0038056 | 103.0052 | 0.0061154 | 0.0014325 | 0.0059605 | 12.014 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10102 | 0.0045116 | 0.10394 | 0.0034145 | -0.099612 | 0.0049086 | SupCrit | 103.2697 | 0.0059605 | 1285.6616 | 0.0055599 | 291.8666 | 1285.6616 | 434.365 | 0.58026 | 1.8409 | 0.52718 | 1.1605 | Flagged Warnings: | 1388.9313 | 0.0021482 | 496.5096 | 1388.9313 | 637.918 | 0.51551 | 0 | 1.5227 | 0.45236 | 1.031 | Flagged Warnings: |  |  |  | 1410.3161 | 64.1195 | 0.70427 | [9 empty] | 1.0537 | 1.0021 | 0.062356 | 0.0039762 | 1.2189 | 1.2092 | 0.22565 | 0.0020765 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:58:30 PM | 50310 | [6 empty] | 50310 | 0.99744 | 0.99742 | 0.99745
10 | UW5-635-FI#1 | 0.064629 | 0.0068965 | 0.0057454 | 0.0038146 | 102.9134 | 0.0145 | 0.0014398 | 0.014465 | 11.816 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.064629 | 0.0068965 | 0.067511 | 0.0062148 | -0.16833 | 0.011165 | SupCrit | 103.1793 | 0.014465 | 1285.8786 | 0.011783 | 159.691 | 1285.8786 | 207.2954 | 0.55037 | 2.9317 | 0.30208 | 1.1007 | Flagged Warnings: | 1389.0579 | 0.0083905 | 251.2352 | 1389.0579 | 299.5129 | 0.49754 | 0 | 3.135 | 0.34592 | 0.99508 | Flagged Warnings: | [15 empty] | 1.089 | 1.0903 | 0.097989 | 0.006893 | 1.0629 | 1.0487 | 0.062628 | 0.0039608 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:08:41 PM | 50921 | [6 empty] | 50921 | 0.99742 | 0.99741 | 0.99744
12 | UW7-651-MI#1 | 0.11573 | 0.0057117 | 0.0042452 | 0.0038212 | 103.0423 | 0.010714 | 0.0014611 | 0.010641 | 12.038 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11573 | 0.0057117 | 0.11876 | 0.0049039 | -0.072346 | 0.0080569 | SupCrit | 103.3113 | 0.010641 | 1285.5318 | 0.0093183 | 170.2517 | 1285.5318 | 256.3015 | 0.60752 | 2.1226 | 0.437 | 1.215 | Flagged Warnings: | 1388.8431 | 0.0051389 | 298.9796 | 1388.8431 | 397.2446 | 0.52132 | 0 | 2.2518 | 0.51091 | 1.0426 | Flagged Warnings: | [15 empty] | 1.0752 | 1.0393 | 0.091382 | 0.0071367 | 1.0811 | 1.0816 | 0.084538 | 0.0034873 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:28:13 PM | 52093 | [6 empty] | 52093 | 0.9974 | 0.99738 | 0.99741
11 | UW7-651-FI#1 | 0.12401 | 0.0049394 | 0.003113 | 0.0038349 | 103.0632 | 0.0078564 | 0.0014721 | 0.0077375 | 12.057 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12401 | 0.0049394 | 0.12713 | 0.0039493 | -0.057116 | 0.0060137 | SupCrit | 103.3333 | 0.0077375 | 1285.5034 | 0.0071806 | 211.6072 | 1285.5034 | 324.1603 | 0.59856 | 1.9106 | 0.52168 | 1.1971 | Flagged Warnings: | 1388.8367 | 0.0028824 | 372.7572 | 1388.8367 | 501.8251 | 0.52784 | 0 | 1.7536 | 0.51294 | 1.0557 | Flagged Warnings: |  |  |  | 1410.1514 | 61.5293 | 0.76553 | [9 empty] | 1.1312 | 1.0803 | 0.15706 | 0.0056573 | 1.0831 | 1.0878 | 0.087712 | 0.0028321 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:34 PM | 52654 | [6 empty] | 52654 | 0.99739 | 0.99737 | 0.9974
13 | UW7-659-FI#1 | 0.18589 | 0.0097354 | 0.0094425 | 0.0023699 | 103.2087 | 0.023175 | 0.0014895 | 0.023188 | 12.073 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18166 | 0.010025 | 0.18589 | 0.0097354 | 0.046265 | 0.016213 | SupCrit | 103.4802 | 0.023188 | 1285.1296 | 0.021552 | 237.3225 | 1285.1296 | 461.1549 | 0.68272 | 5.4003 | 0.78181 | 1.3654 | Flagged Warnings: | 1388.6097 | 0.0085561 | 432.0165 | 1388.6097 | 642.7495 | 0.60265 | 0 | 4.7285 | 0.427 | 1.2053 | Flagged Warnings: |  |  |  | 1409.9193 | 50.8525 | 0.94809 | [9 empty] | 1.0474 | 1.0225 | 0.064697 | 0.0057535 | 1.0863 | 1.044 | 0.10403 | 0.00279 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:49:51 PM | 53391 | [6 empty] | 53391 | 0.99738 | 0.99736 | 0.99739
14 | UW7-662-FI#1 | 0.12199 | 0.0091118 | 0.0082672 | 0.0038312 | 103.0581 | 0.020864 | 0.0014957 | 0.020865 | 12.122 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12199 | 0.0091118 | 0.12508 | 0.0086888 | -0.060822 | 0.015291 | SupCrit | 103.3296 | 0.020865 | 1285.4122 | 0.018422 | 184.4702 | 1285.4122 | 319.9588 | 0.62798 | 4.6322 | 0.71104 | 1.256 | Flagged Warnings: | 1388.7418 | 0.0097966 | 301.1039 | 1388.7417 | 436.4252 | 0.56318 | 0 | 4.1832 | 0.53653 | 1.1264 | Flagged Warnings: |  |  |  | 1410.1682 | 87.267 | 0.91318 | [9 empty] | 1.0724 | 1.1569 | 0.090871 | 0.0068085 | 1.1246 | 1.096 | 0.14038 | 0.0037408 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:56:07 PM | 53767 | 1150.6872 | 68.8191 | 39.9917 | Spline | 0.090984 | 0.037825 | 53767 | 0.99737 | 0.99736 | 0.99739
15 | UW7-662-FI#2 | 0.10739 | 0.0078094 | 0.0068164 | 0.003811 | 103.0213 | 0.017203 | 0.0015012 | 0.017182 | 12.154 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10739 | 0.0078094 | 0.11036 | 0.0072676 | -0.087761 | 0.012789 | SupCrit | 103.2928 | 0.017182 | 1285.4868 | 0.015446 | 118.0968 | 1285.4868 | 179.8581 | 0.61118 | 2.4087 | 0.45185 | 1.2224 | Flagged Warnings: | 1388.7796 | 0.0075268 | 197.3652 | 1388.7796 | 259.0502 | 0.55704 | 0 | 2.2452 | 0.29932 | 1.1141 | Flagged Warnings: | [15 empty] | 1.2073 | 1.1717 | 0.25341 | 0.01035 | 1.0315 | 1.0088 | 0.035114 | 0.0056448 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:00:32 PM | 54032 | 1150.6628 | 110.1663 | 50.1222 | Spline | 0.251 | 0.09784 | 54032 | 0.99737 | 0.99736 | 0.99739
16 | UW7-662-FI#3 | 0.060537 | 0.011264 | 0.010596 | 0.0038199 | 102.903 | 0.026742 | 0.0015057 | 0.02677 | 12.191 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.060537 | 0.011264 | 0.063432 | 0.010831 | -0.17617 | 0.020427 | SupCrit | 103.1744 | 0.02677 | 1285.79 | 0.023861 | 86.3143 | 1285.79 | 118.8001 | 0.57614 | 2.89 | 0.33766 | 1.1523 | Flagged Warnings: | 1388.9644 | 0.012137 | 155.0252 | 1388.9644 | 182.7969 | 0.49502 | 0 | 2.6162 | 0.32963 | 0.99003 | Flagged Warnings: | [15 empty] | 1.0532 | 1.0193 | 0.061326 | 0.01335 | 1.2077 | 1.2345 | 0.20568 | 0.0063863 | PseudoVoigtModel | PseudoVoigtModel | No | December 13, 2022 | December | 13 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:04:51 PM | 54291 | 1150.7361 | 81.868 | 44.2447 | Spline | 0.27145 | 0.10497 | 54291 | 0.99737 | 0.99736 | 0.99738