## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values | date_object | Type | Mount | Sample | Crystal | Region | FI# | Sample_crystal | Sample_crystal_region | FI_name | Name_on_SEM | Notes regarding SEM matching | EBSD_simple_name | EBSD_grainID | EBSDname+grainID | EBSD_comment | Density g/cm3_Raman_STD | σ Density g/cm3_Raman_STD | σ Density g/cm3 (from Ne+peakfit)_Raman_STD | σ Density g/cm3 (from densimeter)_Raman_STD | Corrected_Splitting_Raman_STD | Corrected_Splitting_σ_Raman_STD | Corrected_Splitting_σ_Ne_Raman_STD | Corrected_Splitting_σ_peak_fit_Raman_STD | power (mW)_Raman_STD | Spectral Center_Raman_STD | Preferred D_σ_Ne_Raman_STD | Preferred D_σ_pkfit_Raman_STD | LowD_RT_Raman_STD | HighD_RT_Raman_STD | LowD_SC_Raman_STD | LowD_SC_σ_Raman_STD | MedD_SC_Raman_STD | MedD_SC_σ_Raman_STD | HighD_SC_Raman_STD | HighD_SC_σ_Raman_STD | Splitting_Raman_STD | Split_σ_Raman_STD | Diad1_Combofit_Cent_Raman_STD | Diad1_cent_err_Raman_STD | Diad1_Combofit_Height_Raman_STD | Diad1_Voigt_Cent_Raman_STD | Diad1_Voigt_Area_Raman_STD | Diad1_Voigt_Sigma_Raman_STD | Diad1_Residual_Raman_STD | Diad1_Prop_Lor_Raman_STD | Diad1_fwhm_Raman_STD | Diad2_Combofit_Cent_Raman_STD | Diad2_cent_err_Raman_STD | Diad2_Combofit_Height_Raman_STD | Diad2_Voigt_Cent_Raman_STD | Diad2_Voigt_Area_Raman_STD | Diad2_Voigt_Sigma_Raman_STD | Diad2_Voigt_Gamma_Raman_STD | Diad2_Residual_Raman_STD | Diad2_Prop_Lor_Raman_STD | Diad2_fwhm_Raman_STD | HB1_Cent_Raman_STD | HB1_Area_Raman_STD | HB1_Sigma_Raman_STD | HB2_Cent_Raman_STD | HB2_Area_Raman_STD | HB2_Sigma_Raman_STD | C13_Cent_Raman_STD | C13_Area_Raman_STD | C13_Sigma_Raman_STD | Diad2_Gauss_Cent_Raman_STD | Diad2_Gauss_Area_Raman_STD | Diad2_Gauss_Sigma_Raman_STD | Diad1_Gauss_Cent_Raman_STD | Diad1_Gauss_Area_Raman_STD | Diad1_Gauss_Sigma_Raman_STD | Diad1_Asym50_Raman_STD | Diad1_Asym70_Raman_STD | Diad1_Yuan2017_sym_factor_Raman_STD | Diad1_Remigi2021_BSF_Raman_STD | Diad2_Asym50_Raman_STD | Diad2_Asym70_Raman_STD | Diad2_Yuan2017_sym_factor_Raman_STD | Diad2_Remigi2021_BSF_Raman_STD | Day_Raman_STD | Int_time (s)_Raman_STD | accumulations_Raman_STD | Mag (X)_Raman_STD | sec since midnight_Raman_STD | Peak_Cent_SO2_Raman_STD | Peak_Area_SO2_Raman_STD | Peak_Height_SO2_Raman_STD | Peak_Cent_Carb_Raman_STD | Peak_Area_Carb_Raman_STD | Peak_Height_Carb_Raman_STD | Carb_Diad_Ratio_Raman_STD | SO2_Diad_Ratio_Raman_STD | SO2_mol_ratio_Raman_STD | time_Raman_STD | preferred_values_Raman_STD | lower_values_Raman_STD | upper_values_Raman_STD | Mount_Raman_STD | Name_on_SEM_Raman_STD | Notes regarding SEM matching_Raman_STD | EBSD_simple_name_Raman_STD | EBSD_grainID_Raman_STD | EBSDname+grainID_Raman_STD | EBSD_comment_Raman_STD | averaged?
0 | FG04-A1-4-end_r5 | 0.69193 | 0.0034281 | 0.002393 | 0.0023911 | 104.3301 | 0.0046934 | 0.00055452 | 0.0046672 | 6.016 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62601 | 0.0086621 | 0.69193 | 0.0034281 | 0.69129 | 0.0027106 | SupCrit | 104.5606 | 0.0046672 | 1282.74 | 0.0042069 | 777.4338 | 1282.74 | 2165.6547 | 0.96743 | 4.0527 | 0.81012 | 1.9349 | Flagged Warnings: | 1387.3007 | 0.0018757 | 1554.1296 | 1387.3006 | 3632.6659 | 0.80788 | 0 | 3.7228 | 0.82131 | 1.6158 | Flagged Warnings: | 1262.5967 | 317.5708 | 2.885 | 1408.67 | 474.4566 | 2.3789 | 1369.6509 | 62.915 | 0.40154 | [6 empty] | 1.0665 | 1.0351 | 0.12841 | 0.0024945 | 1.0838 | 1.0738 | 0.13459 | 0.001043 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 17, 2025 | January | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:42:48 PM | 56829 | [11 empty] | 56829 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-end-45674 | [6 empty] | 0.0013586 | 0.00073792 | 0.0010033 | 3.4336e-07 | 0.002665 | 0.0019672 | 1.5281e-06 | 0.0019841 | 0.006245 | 0 | 0 | 0 |  |  | 0.001056 | 0.00018894 | 0.0013586 | 0.00073792 | 0.0012138 | 0.00073291 | 0.002668 | 0.0019841 | 0.010219 | 0.0021766 | 45.5491 | 0.010208 | 124.398 | 0.012957 | 2.1731 | 0.029249 | 0.025914 | 0.0080118 | 0.00022224 | 97.2328 | 0.0080118 | 209.0956 | 0.012615 | 0 | 0.041548 | 0.02136 | 0.025231 | 0.069242 | 26.9699 | 0.069482 | 0.057857 | 26.187 | 0.020543 | 0.034909 | 2.0079 | 0.0075113 | [6 empty] | 0.014452 | 0.025143 | 0.026431 | 0.00015091 | 0.048996 | 0.040584 | 0.076508 | 7.9716e-05 | 0 | 0 | 0 | 0 | 258.0523 | [9 empty] | 258.0523 | 8.1585e-08 | 6.702e-08 | 9.6151e-08 | [7 empty] | Yes
1 | FG04-A1-4-start_r1 | 0.68868 | 0.0042757 | 0.0034809 | 0.0023903 | 104.3237 | 0.0068363 | 0.00053376 | 0.0068274 | 6.0017 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62348 | 0.0088696 | 0.68868 | 0.0042757 | 0.68837 | 0.003548 | SupCrit | 104.5505 | 0.0068274 | 1282.8039 | 0.0060857 | 594.2778 | 1282.8039 | 1708.8951 | 0.99028 | 4.0369 | 0.81933 | 1.9806 | Flagged Warnings: | 1387.3544 | 0.0029395 | 1196.8173 | 1387.3545 | 2758.6109 | 0.81676 | 0 | 3.1891 | 0.77293 | 1.6335 | Flagged Warnings: | 1262.8141 | 270.4884 | 2.756 | 1408.7883 | 366.2254 | 2.089 |  |  |  | 1381.5746 | 278.5125 | 14.1253 |  |  |  | 1.0635 | 1.0598 | 0.12288 | 0.0035106 | 1.0508 | 1.0422 | 0.083123 | 0.0014494 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 17, 2025 | January | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 8:43:35 AM | 31924.6667 | [11 empty] | 31924.6667 | 0.99783 | 0.99783 | 0.99784 | 2025-01-17 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-start-45674 | [6 empty] | 0.0035929 | 0.0010923 | 0.0013676 | 9.0351e-07 | 0.007055 | 0.0026766 | 2.8238e-06 | 0.0026932 | 0.031134 | 0 | 0 | 0 |  |  | 0.0027955 | 0.0003395 | 0.0035929 | 0.0010923 | 0.0032194 | 0.001052 | 0.007397 | 0.0026932 | 0.026075 | 0.0022983 | 162.3077 | 0.026072 | 499.9713 | 0.039393 | 1.4897 | 0.047542 | 0.078785 | 0.020085 | 0.0018378 | 333.6765 | 0.020105 | 759.2511 | 0.018529 | 0 | 0.98131 | 0.044767 | 0.037057 |  |  |  | 0.030574 | 23.7078 | 0.016911 |  |  |  | 0.76717 | 7.0521 | 0.83566 |  |  |  | 0.054225 | 0.046099 | 0.10006 | 0.0009777 | 0.022465 | 0.0343 | 0.036941 | 0.00045601 | 0 | 0 | 0 | 0 | 653.9314 | [9 empty] | 653.9314 | 3.155e-06 | 3.1276e-06 | 3.1824e-06 | [7 empty] | Yes
2 | KD24_c001_a1_FIA_r1 | 0.086661 | 0.0075043 | 0.0063316 | 0.0038022 | 102.969 | 0.015979 | 0.00051529 | 0.016004 | 9.912 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.086661 | 0.0075043 | 0.089541 | 0.0068505 | -0.12654 | 0.012083 | SupCrit | 103.1942 | 0.016004 | 1285.9382 | 0.014325 | 489.1686 | 1285.9383 | 668.8148 | 0.48616 | 7.2165 | 0.76257 | 0.97232 | Flagged Warnings: | 1389.1325 | 0.0070485 | 767.0457 | 1389.1324 | 854.3064 | 0.45947 | 0 | 7.9029 | 0.38024 | 0.91894 | Flagged Warnings: | 1265.7172 | 73.3719 | 0.52484 | 1410.4178 | 107.8792 | 0.55694 | [9 empty] | 1.2821 | 1.3155 | 0.26766 | 0.0020292 | 1.1551 | 1.1924 | 0.14216 | 0.0012013 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 9:37:09 AM | 34970.6667 | 1151.2344 | 89.2499 | 55.4042 | Spline | [5 empty] | 0.059106 | 0.024859 | 34970.6667 | 0.99782 | 0.99781 | 0.99782 | 2025-01-17 | Sample |  | KD24 | c001 | a1 | FIA | KD24_c001 | KD24_c001_a1 | KD24_c001_a1_FIA | [6 empty] | 0.0084314 | 0.0027044 | 0.0031572 | 8.7365e-07 | 0.021279 | 0.0079679 | 1.1266e-06 | 0.0079898 | 0.023259 | 0 | 0 | 0 |  |  | 0.0084314 | 0.0027044 | 0.0084512 | 0.0029633 | 0.015862 | 0.0057787 | 0.021203 | 0.0079898 | 0.0046483 | 0.0076788 | 66.3732 | 0.0046483 | 74.1699 | 0.05657 | 1.8054 | 0.21657 | 0.11314 | 0.01671 | 0.0025936 | 43.2374 | 0.016738 | 24.8301 | 0.011159 | 0 | 3.6526 | 0.033796 | 0.022317 | 0.22056 | 2.7401 | 0.098107 | 0.10153 | 21.8696 | 0.079105 | [9 empty] | 0.094685 | 0.14855 | 0.0655 | 0.00046591 | 0.035043 | 0.053561 | 0.02958 | 9.0456e-05 | 0 | 0 | 0 | 0 | 320.6311 | 0.028238 | 25.9703 | 5.742 |  |  |  |  | 0.019351 | 0.0079172 | 320.6311 | 1.1827e-06 | 1.1729e-06 | 1.1926e-06 | [7 empty] | Yes
3 | KD24_c001_a1_FIB | 0.062668 | 0.0066054 | 0.0053909 | 0.003817 | 102.9084 | 0.013605 | 0.00051305 | 0.013625 | 9.855 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.062668 | 0.0066054 | 0.065556 | 0.0058888 | -0.17209 | 0.010512 | SupCrit | 103.1337 | 0.013625 | 1286.0267 | 0.012529 | 293.1235 | 1286.0267 | 410.9138 | 0.5188 | 5.5123 | 0.65807 | 1.0376 | Flagged Warnings: | 1389.1604 | 0.0053556 | 498.4251 | 1389.1604 | 529.2769 | 0.44073 | 0 | 3.608 | 0.36114 | 0.88146 | Flagged Warnings: |  |  |  | 1410.4175 | 54.9778 | 0.70663 | [9 empty] | 1.1495 | 1.1241 | 0.15512 | 0.0035398 | 1.2008 | 1.2598 | 0.17699 | 0.0017685 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 9:53:23 AM | 35603 | [11 empty] | 35603 | 0.99782 | 0.99781 | 0.99782 | 2025-01-17 | Sample |  | KD24 | c001 | a1 | FIB | KD24_c001 | KD24_c001_a1 | KD24_c001_a1_FIB | [95 empty] | No
4 | KD24_c001_a1_FIC | 0.10165 | 0.0091286 | 0.0082973 | 0.003806 | 103.0068 | 0.02094 | 0.0005088 | 0.02098 | 9.836 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10165 | 0.0091286 | 0.10458 | 0.0086791 | -0.098442 | 0.015576 | SupCrit | 103.2329 | 0.02098 | 1285.7071 | 0.018738 | 283.5195 | 1285.7071 | 487.1791 | 0.59383 | 5.8242 | 0.8209 | 1.1877 | Flagged Warnings: | 1388.94 | 0.0094372 | 486.183 | 1388.94 | 596.4219 | 0.50078 | 0 | 6.6634 | 0.40616 | 1.0016 | Flagged Warnings: | 1265.1853 | 97.9789 | 1.7809 | 1410.2003 | 59.4466 | 0.74873 | [9 empty] | 1.1725 | 1.1113 | 0.20489 | 0.004189 | 1.2291 | 1.3324 | 0.22945 | 0.0020601 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 10:24:47 AM | 37487 | 1150.9002 | 357.7619 | 180.9921 | Spline | [5 empty] | 0.33016 | 0.12484 | 37487 | 0.99781 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c001 | a1 | FIC | KD24_c001 | KD24_c001_a1 | KD24_c001_a1_FIC | [95 empty] | No
5 | KD24_c002_a1_FIA | 0.095798 | 0.0047894 | 0.0029117 | 0.0038027 | 102.992 | 0.0073483 | 0.00050722 | 0.0073469 | 9.848 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095798 | 0.0047894 | 0.0987 | 0.003779 | -0.10936 | 0.0057783 | SupCrit | 103.2183 | 0.0073469 | 1285.8725 | 0.0062563 | 597.9712 | 1285.8725 | 867.1687 | 0.54102 | 5.4584 | 0.63834 | 1.082 | Flagged Warnings: | 1389.0909 | 0.0038516 | 1088.2491 | 1389.0908 | 1275.9917 | 0.46743 | 0 | 5.7292 | 0.46949 | 0.93485 | Flagged Warnings: | 1265.5498 | 73.8493 | 0.85357 | 1410.4051 | 149.0816 | 0.58479 | 1370.8644 | 43.4848 | 0.023371 | [6 empty] | 1.0714 | 1.0776 | 0.077288 | 0.0018095 | 1.0775 | 1.1041 | 0.072442 | 0.00085904 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:37:36 AM | 38256 | 1151.1203 | 97.9041 | 80.7876 | Spline | [5 empty] | 0.045682 | 0.019356 | 38256 | 0.99781 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c002 | a1 | FIA | KD24_c002 | KD24_c002_a1 | KD24_c002_a1_FIA | [95 empty] | No
6 | KD24_c003_a1_FIA | 0.10436 | 0.0045827 | 0.0025493 | 0.0038082 | 103.0136 | 0.0064337 | 0.00050603 | 0.0064279 | 9.86 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10436 | 0.0045827 | 0.10731 | 0.0035069 | -0.09339 | 0.0051139 | SupCrit | 103.2402 | 0.0064279 | 1285.7668 | 0.0059118 | 307.3952 | 1285.7668 | 453.4789 | 0.57502 | 2.0902 | 0.52795 | 1.15 | Flagged Warnings: | 1389.007 | 0.0025235 | 566.8356 | 1389.007 | 708.8887 | 0.47472 | 0 | 1.7262 | 0.59548 | 0.94943 | Flagged Warnings: |  |  |  | 1410.3683 | 93.7627 | 0.71939 | [9 empty] | 1.1043 | 1.0515 | 0.12 | 0.0037412 | 1.0691 | 1.0992 | 0.065597 | 0.001675 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:50:58 AM | 39058 | 1158.8236 | 93.8713 | 88.3213 | Spline | [5 empty] | 0.080759 | 0.033717 | 39058 | 0.99781 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a1 | FIA | KD24_c003 | KD24_c003_a1 | KD24_c003_a1_FIA | [95 empty] | No
7 | KD24_c003_a1_FIB | 0.095473 | 0.0045049 | 0.0024155 | 0.0038026 | 102.9912 | 0.0060961 | 0.00050538 | 0.0060885 | 9.859 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095473 | 0.0045049 | 0.098374 | 0.0034081 | -0.10997 | 0.0049141 | SupCrit | 103.2178 | 0.0060885 | 1285.7935 | 0.0056765 | 300.3851 | 1285.7935 | 428.8455 | 0.57557 | 2.3969 | 0.43962 | 1.1511 | Flagged Warnings: | 1389.0114 | 0.0022017 | 541.2116 | 1389.0113 | 662.0532 | 0.47725 | 0 | 1.5899 | 0.52569 | 0.95451 | Flagged Warnings: |  |  |  | 1410.3481 | 75.708 | 0.5879 | [9 empty] | 1.0708 | 1.0385 | 0.081525 | 0.0038322 | 1.0616 | 1.088 | 0.058792 | 0.0017636 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:57:38 AM | 39458 | 1151.0959 | 155.2781 | 84.89 | Spline | [5 empty] | 0.14234 | 0.057938 | 39458 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a1 | FIB | KD24_c003 | KD24_c003_a1 | KD24_c003_a1_FIB | [95 empty] | No
8 | KD24_c003_a1_FIC | 0.10799 | 0.0057623 | 0.0043215 | 0.0038116 | 103.0228 | 0.010906 | 0.00050518 | 0.010918 | 9.858 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10799 | 0.0057623 | 0.11096 | 0.0049651 | -0.086647 | 0.0082393 | SupCrit | 103.2495 | 0.010918 | 1285.7099 | 0.0088936 | 204.8412 | 1285.7099 | 321.1438 | 0.62267 | 2.3539 | 0.47915 | 1.2453 | Flagged Warnings: | 1388.9595 | 0.0063338 | 384.7728 | 1388.9594 | 481.314 | 0.48906 | 0 | 1.6313 | 0.52018 | 0.97812 | Flagged Warnings: |  |  |  | 1410.3394 | 46.1677 | 0.66563 | [9 empty] | 1.1089 | 1.0422 | 0.13567 | 0.0060796 | 1.1547 | 1.1984 | 0.15129 | 0.0025421 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:02:31 AM | 39751 | 1150.9736 | 168.3496 | 88.3921 | Spline | [5 empty] | 0.20979 | 0.083112 | 39751 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a1 | FIC | KD24_c003 | KD24_c003_a1 | KD24_c003_a1_FIC | [95 empty] | No
9 | KD24_c003_a2_FID | 0.11888 | 0.0048308 | 0.0029492 | 0.003826 | 103.0503 | 0.007443 | 0.00050492 | 0.0074422 | 9.891 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11888 | 0.0048308 | 0.12194 | 0.0038165 | -0.066536 | 0.0057506 | SupCrit | 103.2772 | 0.0074422 | 1285.607 | 0.0066841 | 313.6221 | 1285.607 | 506.0956 | 0.63548 | 2.6559 | 0.50139 | 1.271 | Flagged Warnings: | 1388.8842 | 0.0032724 | 607.6058 | 1388.8841 | 785.4247 | 0.48474 | 0 | 1.9185 | 0.62579 | 0.96947 | Flagged Warnings: |  |  |  | 1410.2841 | 93.2835 | 0.70249 | [9 empty] | 1.0106 | 1.0551 | 0.013485 | 0.0040526 | 1.2561 | 1.2888 | 0.24832 | 0.0015956 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:08:42 AM | 40122 | 1150.8024 | 370.3978 | 206.4034 | Spline | [5 empty] | 0.28679 | 0.11025 | 40122 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a2 | FID | KD24_c003 | KD24_c003_a2 | KD24_c003_a2_FID | [95 empty] | No
10 | KD24_c003_a2_FIE | 0.099908 | 0.0044605 | 0.0023279 | 0.0038048 | 103.0024 | 0.0058749 | 0.00050433 | 0.0058661 | 9.88 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099908 | 0.0044605 | 0.10283 | 0.0033467 | -0.10168 | 0.0047493 | SupCrit | 103.2293 | 0.0058661 | 1285.8185 | 0.0053603 | 356.9453 | 1285.8185 | 499.9578 | 0.5479 | 2.2737 | 0.51877 | 1.0958 | Flagged Warnings: | 1389.0478 | 0.0023831 | 638.0844 | 1389.0477 | 757.9224 | 0.46922 | 0 | 1.7766 | 0.49341 | 0.93844 | Flagged Warnings: |  |  |  | 1410.4248 | 88.2459 | 0.52853 | [9 empty] | 1.0965 | 1.0785 | 0.10573 | 0.0030699 | 1.0036 | 1.0026 | 0.0033757 | 0.0014707 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:15:15 AM | 40515 | 1151.0959 | 88.2614 | 60.7282 | Spline | [5 empty] | 0.070167 | 0.029425 | 40515 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a2 | FIE | KD24_c003 | KD24_c003_a2 | KD24_c003_a2_FIE | [95 empty] | No
11 | KD24_c004_a1_FIA | 0.1125 | 0.0081587 | 0.0072109 | 0.0038169 | 103.0342 | 0.018198 | 0.00050393 | 0.018231 | 9.893 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1125 | 0.0081587 | 0.11551 | 0.0076521 | -0.0783 | 0.013463 | SupCrit | 103.2613 | 0.018231 | 1285.7135 | 0.016368 | 91.2979 | 1285.7135 | 134.1949 | 0.54014 | 1.7014 | 0.67529 | 1.0803 | Flagged Warnings: | 1388.9748 | 0.0080297 | 173.4327 | 1388.9748 | 218.7847 | 0.47451 | 0 | 1.5428 | 0.61799 | 0.94902 | Flagged Warnings: | [15 empty] | 1.1321 | 1.0755 | 0.14268 | 0.011832 | 1.1204 | 1.1522 | 0.1143 | 0.005472 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 11:30:20 AM | 41420 | 1150.998 | 43.0429 | 23.4015 | Spline | [5 empty] | 0.12194 | 0.050051 | 41420 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c004 | a1 | FIA | KD24_c004 | KD24_c004_a1 | KD24_c004_a1_FIA | [95 empty] | No
12 | KD24_c004_a1_FIB | 0.10758 | 0.0073081 | 0.0062356 | 0.0038112 | 103.0218 | 0.015737 | 0.00050373 | 0.015764 | 9.881 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10758 | 0.0073081 | 0.11055 | 0.0067184 | -0.087408 | 0.011724 | SupCrit | 103.2489 | 0.015764 | 1285.7631 | 0.014156 | 109.2831 | 1285.7631 | 159.6623 | 0.61565 | 1.9364 | 0.3192 | 1.2313 | Flagged Warnings: | 1389.012 | 0.0069353 | 213.0837 | 1389.012 | 252.6425 | 0.46996 | 0 | 1.9708 | 0.48441 | 0.93992 | Flagged Warnings: | [15 empty] | 1.1218 | 1.0732 | 0.14999 | 0.011267 | 1.0549 | 1.0811 | 0.051644 | 0.0044111 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:37:16 AM | 41836 | 1151.1692 | 41.6419 | 23.5011 | Spline | [5 empty] | 0.101 | 0.041814 | 41836 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c004 | a1 | FIB | KD24_c004 | KD24_c004_a1 | KD24_c004_a1_FIB | [95 empty] | No
13 | KD24_c004_a1_FIC | 0.11628 | 0.0047508 | 0.0028217 | 0.003822 | 103.0437 | 0.0071213 | 0.00050378 | 0.0071191 | 9.897 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11628 | 0.0047508 | 0.11931 | 0.003716 | -0.071332 | 0.0055401 | SupCrit | 103.2709 | 0.0071191 | 1285.644 | 0.0065739 | 291.1843 | 1285.644 | 450.0184 | 0.60054 | 2.4287 | 0.53588 | 1.2011 | Flagged Warnings: | 1388.915 | 0.0027323 | 544.7762 | 1388.915 | 703.9744 | 0.46474 | 0 | 1.729 | 0.72711 | 0.92948 | Flagged Warnings: |  |  |  | 1410.3072 | 69.3889 | 0.61024 | [9 empty] | 1.085 | 1.0163 | 0.10215 | 0.0041248 | 1.2344 | 1.3019 | 0.2179 | 0.0017062 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:44:14 AM | 42254 | 1150.8513 | 263.6635 | 137.299 | Spline | [5 empty] | 0.22848 | 0.08985 | 42254 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c004 | a1 | FIC | KD24_c004 | KD24_c004_a1 | KD24_c004_a1_FIC | [95 empty] | No
14 | KD24_c005_a1_FIA | 0.10226 | 0.0040902 | 0.0014967 | 0.0038065 | 103.0083 | 0.0037773 | 0.00050368 | 0.0037518 | 9.891 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10226 | 0.0040902 | 0.10519 | 0.0028263 | -0.097306 | 0.0033855 | SupCrit | 103.2356 | 0.0037518 | 1285.7646 | 0.0032858 | 494.9048 | 1285.7646 | 727.8199 | 0.57892 | 2.0028 | 0.50261 | 1.1578 | Flagged Warnings: | 1389.0003 | 0.0018109 | 904.2444 | 1389.0002 | 1109.8302 | 0.47239 | 0 | 2.0876 | 0.56047 | 0.94477 | Flagged Warnings: | 1265.586 | 83.9171 | 0.74663 | 1410.3486 | 130.9902 | 0.62453 | [9 empty] | 1.1076 | 1.0515 | 0.12454 | 0.0023395 | 1.0769 | 1.1138 | 0.072675 | 0.0010448 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:56:20 AM | 42980 | 1151.0469 | 207.3575 | 117.0744 | Spline | [5 empty] | 0.11284 | 0.046488 | 42980 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c005 | a1 | FIA | KD24_c005 | KD24_c005_a1 | KD24_c005_a1_FIA | [95 empty] | No
15 | KD24_c006_a1_FIA | 0.13415 | 0.0040935 | 0.0013733 | 0.0038563 | 103.0888 | 0.0034657 | 0.0005042 | 0.0034364 | 9.889 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13415 | 0.0040935 | 0.13739 | 0.0027594 | -0.038609 | 0.0031351 | SupCrit | 103.3163 | 0.0034364 | 1285.5202 | 0.0029034 | 755.7295 | 1285.5202 | 1317.6495 | 0.64061 | 2.5608 | 0.67601 | 1.2812 | Flagged Warnings: | 1388.8366 | 0.0018382 | 1455.2697 | 1388.8365 | 1984.0242 | 0.51448 | 0 | 2.6129 | 0.6101 | 1.029 | Flagged Warnings: | 1265.297 | 153.1613 | 0.88194 | 1410.1626 | 213.7684 | 0.7215 | [9 empty] | 1.1281 | 1.1537 | 0.16417 | 0.0016953 | 1.1943 | 1.1956 | 0.19989 | 0.00070705 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:02:26 PM | 43346 | 1150.7535 | 685.4975 | 415.3166 | Spline | [5 empty] | 0.20762 | 0.082323 | 43346 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c006 | a1 | FIA | KD24_c006 | KD24_c006_a1 | KD24_c006_a1_FIA | [95 empty] | No
16 | KD24_c007_a1_FIA | 0.1424 | 0.004251 | 0.0017427 | 0.0038774 | 103.1096 | 0.004398 | 0.00050448 | 0.0043786 | 9.904 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1424 | 0.004251 | 0.14576 | 0.0029665 | -0.023653 | 0.0036724 | SupCrit | 103.3372 | 0.0043786 | 1285.5615 | 0.0040137 | 748.9589 | 1285.5615 | 1260.2886 | 0.60741 | 4.6747 | 0.71875 | 1.2148 | Flagged Warnings: | 1388.8988 | 0.00175 | 1346.1831 | 1388.8987 | 1769.0965 | 0.49735 | 0 | 3.1298 | 0.60293 | 0.9947 | Flagged Warnings: | 1265.3808 | 182.6327 | 1.0746 | 1410.2761 | 203.4413 | 0.72152 | [9 empty] | 1.0456 | 1.054 | 0.055376 | 0.001622 | 1.2404 | 1.2605 | 0.23914 | 0.0007389 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:08:20 PM | 43700 | [11 empty] | 43700 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c007 | a1 | FIA | KD24_c007 | KD24_c007_a1 | KD24_c007_a1_FIA | [95 empty] | No
17 | KD24_c008_a1_FIA | 0.097529 | 0.0039782 | 0.001166 | 0.0038035 | 102.9964 | 0.0029428 | 0.00050451 | 0.0029056 | 9.904 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.097529 | 0.0039782 | 0.10044 | 0.002665 | -0.10612 | 0.0029081 | SupCrit | 103.2238 | 0.0029056 | 1285.7865 | 0.0025404 | 620.636 | 1285.7865 | 894.623 | 0.55516 | 2.1553 | 0.55886 | 1.1103 | Flagged Warnings: | 1389.0104 | 0.0014103 | 1114.1279 | 1389.0103 | 1330.5729 | 0.46653 | 0 | 2.0819 | 0.52238 | 0.93307 | Flagged Warnings: | 1265.4106 | 107.379 | 0.71833 | 1410.312 | 149.9008 | 0.59123 | [9 empty] | 1.0875 | 1.0482 | 0.097113 | 0.001789 | 1.0627 | 1.0932 | 0.058532 | 0.00083749 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:21:08 PM | 44468 | 1151.0714 | 228.6185 | 130.7798 | Spline | [5 empty] | 0.10274 | 0.042505 | 44468 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c008 | a1 | FIA | KD24_c008 | KD24_c008_a1 | KD24_c008_a1_FIA | [95 empty] | No
18 | KD24_c008_a1_FIB | 0.08845 | 0.0040206 | 0.0013104 | 0.003801 | 102.9735 | 0.0033072 | 0.00050467 | 0.0032757 | 9.927 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.08845 | 0.0040206 | 0.091329 | 0.0027333 | -0.12314 | 0.0031329 | SupCrit | 103.2009 | 0.0032757 | 1285.7717 | 0.0029014 | 687.1937 | 1285.7717 | 1062.3334 | 0.59994 | 2.2773 | 0.53942 | 1.1999 | Flagged Warnings: | 1388.9727 | 0.0015205 | 1315.0023 | 1388.9726 | 1623.9025 | 0.47797 | 0 | 2.3493 | 0.54613 | 0.95593 | Flagged Warnings: | 1265.4419 | 122.4318 | 0.68944 | 1410.2877 | 176.2618 | 0.64898 | [9 empty] | 1.0577 | 1.0061 | 0.069224 | 0.0017461 | 1.1319 | 1.1831 | 0.12606 | 0.00072694 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:25:56 PM | 44756 | 1150.9002 | 830.1341 | 456.6936 | Spline | [5 empty] | 0.30903 | 0.1178 | 44756 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c008 | a1 | FIB | KD24_c008 | KD24_c008_a1 | KD24_c008_a1_FIB | [95 empty] | No
19 | KD24_c008_a1_FIC | 0.11942 | 0.0099734 | 0.0092099 | 0.0038269 | 103.0516 | 0.023243 | 0.00050537 | 0.023289 | 9.914 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11942 | 0.0099734 | 0.12249 | 0.0096026 | -0.065539 | 0.017041 | SupCrit | 103.2792 | 0.023289 | 1285.723 | 0.020795 | 64.5542 | 1285.723 | 93.6674 | 0.5591 | 1.4249 | 0.55741 | 1.1182 | Flagged Warnings: | 1389.0022 | 0.010487 | 111.9486 | 1389.0022 | 137.8289 | 0.50267 | 0 | 1.6377 | 0.40573 | 1.0053 | Flagged Warnings: | [15 empty] | 1.1807 | 1.1341 | 0.20204 | 0.017322 | 1.0801 | 1.0997 | 0.080568 | 0.0089805 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:30:35 PM | 45035 | [11 empty] | 45035 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c008 | a1 | FIC | KD24_c008 | KD24_c008_a1 | KD24_c008_a1_FIC | [95 empty] | No
20 | KD24_c009_a1_FIA | 0.12298 | 0.0060327 | 0.0046585 | 0.003833 | 103.0606 | 0.011757 | 0.00050595 | 0.011772 | 10.017 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12298 | 0.0060327 | 0.12608 | 0.0052788 | -0.059006 | 0.0087527 | SupCrit | 103.2883 | 0.011772 | 1285.6408 | 0.010486 | 163.891 | 1285.6408 | 252.4868 | 0.59753 | 2.0261 | 0.54064 | 1.1951 | Flagged Warnings: | 1388.929 | 0.0053495 | 299.2112 | 1388.929 | 381.6046 | 0.49187 | 0 | 2.1042 | 0.55512 | 0.98374 | Flagged Warnings: | [15 empty] | 1.0694 | 1.0082 | 0.082894 | 0.0072918 | 1.2107 | 1.2493 | 0.20729 | 0.0032878 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:37:42 PM | 45462 | [11 empty] | 45462 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c009 | a1 | FIA | KD24_c009 | KD24_c009_a1 | KD24_c009_a1_FIA | [95 empty] | No
21 | KD24_c009_a2_FIB | 0.10203 | 0.0075014 | 0.006464 | 0.0038063 | 103.0077 | 0.016313 | 0.00050607 | 0.016341 | 10.037 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10203 | 0.0075014 | 0.10496 | 0.0069263 | -0.097733 | 0.012191 | SupCrit | 103.2353 | 0.016341 | 1285.7627 | 0.014654 | 101.2323 | 1285.7627 | 149.2191 | 0.55611 | 1.8762 | 0.61055 | 1.1122 | Flagged Warnings: | 1388.998 | 0.0072313 | 191.8707 | 1388.998 | 231.6432 | 0.45328 | 0 | 1.6643 | 0.62257 | 0.90657 | Flagged Warnings: | [15 empty] | 1.0792 | 1.0173 | 0.088065 | 0.010987 | 1.0833 | 1.1296 | 0.075547 | 0.0047249 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:42:17 PM | 45737 | 1150.998 | 65.5734 | 35.349 | Spline | [5 empty] | 0.17217 | 0.06924 | 45737 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c009 | a2 | FIB | KD24_c009 | KD24_c009_a2 | KD24_c009_a2_FIB | [95 empty] | No
22 | KD24_c010_a1_FIB | 0.10265 | 0.0041974 | 0.0017683 | 0.0038068 | 103.0093 | 0.0044628 | 0.00050679 | 0.0044437 | 10.048 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10265 | 0.0041974 | 0.10559 | 0.0029808 | -0.096565 | 0.0038117 | SupCrit | 103.2369 | 0.0044437 | 1285.7438 | 0.0039838 | 383.0223 | 1285.7439 | 571.0052 | 0.58118 | 1.7705 | 0.52771 | 1.1624 | Flagged Warnings: | 1388.9808 | 0.0019686 | 710.4311 | 1388.9808 | 884.0808 | 0.47433 | 0 | 1.7384 | 0.58503 | 0.94866 | Flagged Warnings: | 1265.4879 | 61.5841 | 0.58624 | 1410.309 | 101.4735 | 0.56651 | [9 empty] | 1.1548 | 1.1072 | 0.17989 | 0.0030347 | 1.1176 | 1.1667 | 0.11161 | 0.0013353 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:49:47 PM | 46187 | 1150.9491 | 333.0335 | 170.5949 | Spline | [5 empty] | 0.22888 | 0.089992 | 46187 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c010 | a1 | FIB | KD24_c010 | KD24_c010_a1 | KD24_c010_a1_FIB | [95 empty] | No
23 | KD24_c010_a1_FIC | 0.077333 | 0.0041154 | 0.0015709 | 0.0038037 | 102.9454 | 0.0039646 | 0.00050711 | 0.0039407 | 10.029 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.077333 | 0.0041154 | 0.080198 | 0.0028691 | -0.14414 | 0.0035566 | SupCrit | 103.1729 | 0.0039407 | 1285.8736 | 0.0034482 | 434.6978 | 1285.8737 | 612.1882 | 0.54555 | 2.0746 | 0.54399 | 1.0911 | Flagged Warnings: | 1389.0466 | 0.0019077 | 764.9435 | 1389.0466 | 903.5031 | 0.46149 | 0 | 2.0613 | 0.52185 | 0.92298 | Flagged Warnings: | 1265.5316 | 61.6095 | 0.54496 | 1410.3556 | 89.8731 | 0.55909 | [9 empty] | 1.1758 | 1.1981 | 0.19177 | 0.00251 | 1.0036 | 1.0053 | 0.0033685 | 0.0012066 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:55:53 PM | 46553 | 1151.0225 | 542.1245 | 286.3483 | Spline | [5 empty] | 0.35767 | 0.13386 | 46553 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c010 | a1 | FIC | KD24_c010 | KD24_c010_a1 | KD24_c010_a1_FIC | [95 empty] | No
24 | KD24_c011_a1_FIA | 0.077192 | 0.0061595 | 0.0048447 | 0.0038038 | 102.9451 | 0.012227 | 0.0005077 | 0.012243 | 10.034 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.077192 | 0.0061595 | 0.080057 | 0.0054068 | -0.1444 | 0.0093898 | SupCrit | 103.1725 | 0.012243 | 1285.901 | 0.01065 | 136.8126 | 1285.901 | 186.9824 | 0.51056 | 2.0529 | 0.63505 | 1.0211 | Flagged Warnings: | 1389.0736 | 0.0060395 | 238.9215 | 1389.0736 | 276.3797 | 0.46168 | 0 | 1.956 | 0.46639 | 0.92335 | Flagged Warnings: | [15 empty] | 1.2476 | 1.2612 | 0.25282 | 0.0074636 | 1.0483 | 1.0604 | 0.044623 | 0.0038647 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:01:11 PM | 46871 | 1151.0714 | 68.2502 | 40.8944 | Spline | [5 empty] | 0.14729 | 0.059834 | 46871 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c011 | a1 | FIA | KD24_c011 | KD24_c011_a1 | KD24_c011_a1_FIA | [95 empty] | No
25 | KD24_c011_a1_FIB | 0.084186 | 0.0049308 | 0.0031405 | 0.0038013 | 102.9627 | 0.0079257 | 0.00050869 | 0.0079268 | 10.056 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.084186 | 0.0049308 | 0.087057 | 0.0039552 | -0.13117 | 0.0062338 | SupCrit | 103.1902 | 0.0079268 | 1285.809 | 0.0071294 | 236.0504 | 1285.809 | 337.5987 | 0.57697 | 2.4537 | 0.43788 | 1.1539 | Flagged Warnings: | 1388.9993 | 0.0034651 | 419.1286 | 1388.9992 | 513.323 | 0.46608 | 0 | 1.7869 | 0.58901 | 0.93216 | Flagged Warnings: |  |  |  | 1410.3716 | 60.3288 | 0.70048 | [9 empty] | 1.0137 | 1.0517 | 0.015851 | 0.0048885 | 1.0778 | 1.1209 | 0.072502 | 0.0022241 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:08:29 PM | 47309 | 1150.998 | 172.0342 | 90.6086 | Spline | [5 empty] | 0.20217 | 0.080337 | 47309 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c011 | a1 | FIB | KD24_c011 | KD24_c011_a1 | KD24_c011_a1_FIB | [95 empty] | No
26 | KD24_c012_a1_FIA | 0.11902 | 0.0040901 | 0.0014453 | 0.0038262 | 103.0506 | 0.0036474 | 0.00051055 | 0.0036195 | 10.028 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11902 | 0.0040901 | 0.12208 | 0.0027977 | -0.066289 | 0.003272 | SupCrit | 103.2784 | 0.0036195 | 1285.6425 | 0.0032179 | 524.0173 | 1285.6425 | 840.5284 | 0.60417 | 1.79 | 0.61495 | 1.2083 | Flagged Warnings: | 1388.921 | 0.001657 | 980.4155 | 1388.9209 | 1272.002 | 0.4963 | 0 | 2.1653 | 0.576 | 0.9926 | Flagged Warnings: | 1265.3449 | 107.1089 | 0.90765 | 1410.2787 | 147.4218 | 0.66036 | [9 empty] | 1.078 | 1.0202 | 0.094293 | 0.0023059 | 1.2148 | 1.252 | 0.2132 | 0.0010124 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:18:55 PM | 47935 | 1150.8513 | 385.9849 | 216.8281 | Spline | [5 empty] | 0.18271 | 0.073169 | 47935 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FIA | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FIA | [95 empty] | No
27 | KD24_c012_a1_FIB | 0.12351 | 0.0046758 | 0.0026765 | 0.0038339 | 103.0619 | 0.0067547 | 0.00051132 | 0.0067502 | 10.052 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12351 | 0.0046758 | 0.12661 | 0.0036073 | -0.058045 | 0.0052629 | SupCrit | 103.2897 | 0.0067502 | 1285.5937 | 0.0064133 | 362.0173 | 1285.5937 | 596.0133 | 0.60262 | 2.7899 | 0.68482 | 1.2052 | Flagged Warnings: | 1388.8835 | 0.0021061 | 674.0277 | 1388.8834 | 896.7733 | 0.49437 | 0 | 2.0487 | 0.64832 | 0.98874 | Flagged Warnings: |  |  |  | 1410.2494 | 95.2859 | 0.66131 | [9 empty] | 1.0085 | 1.0483 | 0.010301 | 0.0033292 | 1.2517 | 1.2749 | 0.24889 | 0.0014669 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:23:47 PM | 48227 | 1150.8024 | 357.4501 | 207.7323 | Spline | [5 empty] | 0.23945 | 0.093761 | 48227 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FIB | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FIB | [95 empty] | No
28 | KD24_c012_a1_FIC | 0.10276 | 0.004325 | 0.0020527 | 0.0038069 | 103.0096 | 0.0051804 | 0.00051178 | 0.0051665 | 10.05 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10276 | 0.004325 | 0.1057 | 0.0031598 | -0.096359 | 0.0042768 | SupCrit | 103.2373 | 0.0051665 | 1285.7012 | 0.0047561 | 330.9396 | 1285.7012 | 515.4826 | 0.5969 | 1.8364 | 0.57161 | 1.1938 | Flagged Warnings: | 1388.9385 | 0.002018 | 617.6255 | 1388.9385 | 769.3459 | 0.48321 | 0 | 1.6062 | 0.54033 | 0.96642 | Flagged Warnings: | 1265.3865 | 58.7097 | 0.68418 | 1410.2842 | 76.1874 | 0.7016 | [9 empty] | 1.132 | 1.065 | 0.15754 | 0.0036073 | 1.192 | 1.2398 | 0.18558 | 0.0015647 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:28:23 PM | 48503 | 1150.8758 | 340.9371 | 190.8822 | Spline | [5 empty] | 0.26536 | 0.10286 | 48503 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FIC | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FIC | [95 empty] | No
29 | KD24_c012_a1_FID | 0.10492 | 0.0044422 | 0.0022864 | 0.0038087 | 103.015 | 0.0057703 | 0.00051251 | 0.0057602 | 10.045 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10492 | 0.0044422 | 0.10787 | 0.0033184 | -0.092348 | 0.0046627 | SupCrit | 103.2427 | 0.0057602 | 1285.7816 | 0.0053313 | 336.6722 | 1285.7816 | 485.315 | 0.57164 | 2.1383 | 0.4832 | 1.1433 | Flagged Warnings: | 1389.0243 | 0.002181 | 599.2644 | 1389.0243 | 727.0788 | 0.465 | 0 | 1.8531 | 0.57122 | 0.93 | Flagged Warnings: |  |  |  | 1410.3776 | 93.8554 | 0.65721 | [9 empty] | 1.1416 | 1.1084 | 0.16188 | 0.0033958 | 1.0366 | 1.0566 | 0.034066 | 0.0015519 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:32:45 PM | 48765 | 1151.1692 | 72.0826 | 38.541 | Spline | [5 empty] | 0.059455 | 0.025046 | 48765 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FID | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FID | [95 empty] | No
30 | KD24_c014_a1_FIA | 0.09119 | 0.0070148 | 0.0058955 | 0.0038013 | 102.9804 | 0.014879 | 0.00051469 | 0.014903 | 10.054 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09119 | 0.0070148 | 0.094077 | 0.0063804 | -0.11799 | 0.011234 | SupCrit | 103.208 | 0.014903 | 1285.8519 | 0.012978 | 135.7356 | 1285.8519 | 180.1249 | 0.53746 | 2.2673 | 0.42737 | 1.0749 | Flagged Warnings: | 1389.06 | 0.0073246 | 246.9925 | 1389.06 | 300.9495 | 0.48019 | 0 | 2.3772 | 0.49946 | 0.96038 | Flagged Warnings: | [15 empty] | 1.0231 | 1.0293 | 0.024782 | 0.0079192 | 1.0249 | 1.0155 | 0.023924 | 0.0038883 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:46:11 PM | 49571 | 1150.9002 | 63.7231 | 36.2451 | Spline | [5 empty] | 0.13246 | 0.054134 | 49571 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c014 | a1 | FIA | KD24_c014 | KD24_c014_a1 | KD24_c014_a1_FIA | [95 empty] | No
31 | KD24_c014_a2_FIB | 0.093277 | 0.0068719 | 0.0057244 | 0.0038018 | 102.9857 | 0.014447 | 0.00051705 | 0.014469 | 10.024 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.093277 | 0.0068719 | 0.09617 | 0.0062239 | -0.11408 | 0.010901 | SupCrit | 103.2133 | 0.014469 | 1285.853 | 0.012029 | 108.3639 | 1285.853 | 146.7504 | 0.50902 | 1.9262 | 0.61984 | 1.018 | Flagged Warnings: | 1389.0663 | 0.0080412 | 182.6981 | 1389.0663 | 209.9484 | 0.46809 | 0 | 2.2189 | 0.41202 | 0.93618 | Flagged Warnings: | [15 empty] | 1.1141 | 1.1321 | 0.11617 | 0.0093946 | 1.0368 | 1.0349 | 0.034418 | 0.0051242 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:58:11 PM | 50291 | 1150.998 | 5.4202 | 3.9679 | Spline | [5 empty] | 0.015195 | 0.0065227 | 50291 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c014 | a2 | FIB | KD24_c014 | KD24_c014_a2 | KD24_c014_a2_FIB | [95 empty] | No
32 | KD24_c016_a1_FIA | 0.067155 | 0.0044877 | 0.0023685 | 0.0038118 | 102.9197 | 0.0059775 | 0.00051861 | 0.0059681 | 10.043 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.067155 | 0.0044877 | 0.070032 | 0.0033717 | -0.1635 | 0.004927 | SupCrit | 103.1472 | 0.0059681 | 1285.9256 | 0.0054028 | 306.1058 | 1285.9256 | 413.0149 | 0.51112 | 2.101 | 0.60038 | 1.0222 | Flagged Warnings: | 1389.0728 | 0.0025355 | 525.2017 | 1389.0728 | 614.113 | 0.46432 | 0 | 1.8309 | 0.47972 | 0.92865 | Flagged Warnings: |  |  |  | 1410.4242 | 69.0524 | 0.47272 | [9 empty] | 1.2451 | 1.2588 | 0.25055 | 0.0033395 | 1.048 | 1.0545 | 0.044548 | 0.0017682 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:07:14 PM | 50834 | 1151.0959 | 330.8073 | 182.0706 | Spline | [5 empty] | 0.32207 | 0.12216 | 50834 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c016 | a1 | FIA | KD24_c016 | KD24_c016_a1 | KD24_c016_a1_FIA | [95 empty] | No
33 | KD24_c017_a1_FIA | 0.12513 | 0.0054851 | 0.0039197 | 0.003837 | 103.066 | 0.0098922 | 0.00052344 | 0.0099002 | 10.036 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12513 | 0.0054851 | 0.12825 | 0.0046265 | -0.055075 | 0.0074246 | SupCrit | 103.2938 | 0.0099002 | 1285.5443 | 0.0089702 | 268.5474 | 1285.5443 | 460.6033 | 0.62467 | 3.0002 | 0.69687 | 1.2493 | Flagged Warnings: | 1388.8382 | 0.0041892 | 500.9188 | 1388.8382 | 681.9211 | 0.51283 | 0 | 2.3635 | 0.61447 | 1.0257 | Flagged Warnings: |  |  |  | 1410.176 | 85.208 | 0.70832 | [9 empty] | 1.0932 | 1.1475 | 0.11646 | 0.0046522 | 1.2019 | 1.2044 | 0.20711 | 0.0020476 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:25:08 PM | 51908 | 1150.729 | 265.4523 | 161.4072 | Spline | [5 empty] | 0.23234 | 0.091229 | 51908 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c017 | a1 | FIA | KD24_c017 | KD24_c017_a1 | KD24_c017_a1_FIA | [95 empty] | No
34 | KD24_c017_a2_FIB | 0.13132 | 0.0050851 | 0.0033222 | 0.0038498 | 103.0817 | 0.0083843 | 0.00052233 | 0.0083865 | 10.03 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13132 | 0.0050851 | 0.13452 | 0.004124 | -0.043765 | 0.0063451 | SupCrit | 103.3095 | 0.0083865 | 1285.5336 | 0.0078615 | 392.6545 | 1285.5337 | 714.4956 | 0.63823 | 4.1457 | 0.78637 | 1.2765 | Flagged Warnings: | 1388.8432 | 0.0029207 | 746.6674 | 1388.8432 | 982.2714 | 0.49834 | 0 | 3.2063 | 0.60053 | 0.99667 | Flagged Warnings: | 1265.2441 | 108.1637 | 1.169 | 1410.1142 | 104.6829 | 0.73822 | [9 empty] | 1.0929 | 1.0983 | 0.11858 | 0.0032508 | 1.2211 | 1.2234 | 0.22039 | 0.0013348 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:20:08 PM | 51608 | 1150.7535 | 318.9528 | 203.6811 | Spline | [5 empty] | 0.18798 | 0.075119 | 51608 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c017 | a2 | FIB | KD24_c017 | KD24_c017_a2 | KD24_c017_a2_FIB | [95 empty] | No
35 | KD24_c018_a1_FIA | 0.12734 | 0.004483 | 0.0023112 | 0.0038413 | 103.0716 | 0.0058327 | 0.00052468 | 0.0058219 | 10.033 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12734 | 0.004483 | 0.13049 | 0.00334 | -0.051034 | 0.0046326 | SupCrit | 103.2994 | 0.0058219 | 1285.5947 | 0.0053518 | 497.0985 | 1285.5947 | 851.7404 | 0.62411 | 2.8681 | 0.69695 | 1.2482 | Flagged Warnings: | 1388.8942 | 0.002292 | 957.7406 | 1388.8942 | 1249.2602 | 0.49018 | 0 | 2.5889 | 0.62049 | 0.98036 | Flagged Warnings: | 1265.341 | 103.7479 | 0.92319 | 1410.2419 | 144.076 | 0.67613 | [9 empty] | 1 | 1.0471 | 4.5344e-13 | 0.002511 | 1.257 | 1.2907 | 0.25199 | 0.0010236 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:30:05 PM | 52205 | 1150.8513 | 344.9736 | 200.4237 | Spline | [5 empty] | 0.16419 | 0.066245 | 52205 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c018 | a1 | FIA | KD24_c018 | KD24_c018_a1 | KD24_c018_a1_FIA | [95 empty] | No
36 | KD24_c018_a1_FIB | 0.12291 | 0.0084217 | 0.007499 | 0.0038329 | 103.0604 | 0.018925 | 0.00052584 | 0.01896 | 10.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12291 | 0.0084217 | 0.12601 | 0.0079467 | -0.059139 | 0.013884 | SupCrit | 103.2882 | 0.01896 | 1285.5731 | 0.017184 | 193.6019 | 1285.5732 | 316.8862 | 0.59438 | 4.2725 | 0.70437 | 1.1888 | Flagged Warnings: | 1388.8614 | 0.0080108 | 347.9589 | 1388.8614 | 478.5618 | 0.52429 | 0 | 3.8751 | 0.58464 | 1.0486 | Flagged Warnings: | 1265.0281 | 48.6533 | 0.95375 | 1410.1178 | 42.1452 | 0.55434 | [9 empty] | 1.0227 | 1.0163 | 0.026941 | 0.0061402 | 1.2623 | 1.2825 | 0.27504 | 0.0030135 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:34:54 PM | 52494 | 1150.7535 | 247.0367 | 138.8139 | Spline | [5 empty] | 0.31056 | 0.11831 | 52494 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c018 | a1 | FIB | KD24_c018 | KD24_c018_a1 | KD24_c018_a1_FIB | [95 empty] | No
37 | KD24_c020_a1_FIA | 0.10918 | 0.0042323 | 0.0018369 | 0.0038129 | 103.0258 | 0.0046358 | 0.00052819 | 0.0046158 | 10.038 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10918 | 0.0042323 | 0.11216 | 0.0030225 | -0.084436 | 0.0039055 | SupCrit | 103.2535 | 0.0046158 | 1285.6943 | 0.0042164 | 678.3351 | 1285.6943 | 1094.7263 | 0.58603 | 4.2577 | 0.70452 | 1.1721 | Flagged Warnings: | 1388.9479 | 0.0018781 | 1214.6553 | 1388.9478 | 1535.7704 | 0.47799 | 0 | 3.0377 | 0.60555 | 0.95599 | Flagged Warnings: | 1265.4499 | 163.1756 | 1.172 | 1410.3033 | 172.8078 | 0.64232 | [9 empty] | 1.1403 | 1.0735 | 0.16444 | 0.0017278 | 1.1752 | 1.2219 | 0.16747 | 0.00078705 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:44:33 PM | 53073 | 1150.9491 | 314.9274 | 178.9509 | Spline | [5 empty] | 0.11972 | 0.049185 | 53073 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c020 | a1 | FIA | KD24_c020 | KD24_c020_a1 | KD24_c020_a1_FIA | [95 empty] | No
38 | KD24_c021_a2_FIB | 0.11932 | 0.013152 | 0.012583 | 0.0038267 | 103.0514 | 0.031757 | 0.00053221 | 0.031823 | 10.041 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11932 | 0.013152 | 0.12238 | 0.01293 | -0.065734 | 0.023218 | SupCrit | 103.2791 | 0.031823 | 1285.5957 | 0.0276 | 51.8966 | 1285.5957 | 76.0719 | 0.55917 | 1.5729 | 0.58284 | 1.1183 | Flagged Warnings: | 1388.8748 | 0.015842 | 88.3317 | 1388.8748 | 120.7651 | 0.50137 | 0 | 1.4864 | 0.68029 | 1.0027 | Flagged Warnings: | [15 empty] | 1.0125 | 1.0434 | 0.013936 | 0.02155 | 1.2585 | 1.2835 | 0.25921 | 0.011352 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:58:32 PM | 53912 | 1150.8758 | 50.2706 | 26.4111 | Spline | [5 empty] | 0.25539 | 0.099382 | 53912 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c021 | a2 | FIB | KD24_c021 | KD24_c021_a2 | KD24_c021_a2_FIB | [95 empty] | No
39 | KD24_c023_a1_FIA | 0.099876 | 0.0043285 | 0.0020639 | 0.0038048 | 103.0023 | 0.0052086 | 0.0005376 | 0.0051922 | 10.044 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099876 | 0.0043285 | 0.1028 | 0.0031669 | -0.10174 | 0.0043038 | SupCrit | 103.2299 | 0.0051922 | 1285.7795 | 0.0044711 | 501.1457 | 1285.7795 | 725.0079 | 0.55737 | 3.0019 | 0.558 | 1.1147 | Flagged Warnings: | 1389.0095 | 0.0026398 | 877.0832 | 1389.0094 | 1037.9732 | 0.46702 | 0 | 2.9982 | 0.4961 | 0.93403 | Flagged Warnings: | 1265.4252 | 103.002 | 0.87409 | 1410.4132 | 146.4871 | 0.64263 | [9 empty] | 1.1758 | 1.1533 | 0.19593 | 0.0022244 | 1.0627 | 1.0874 | 0.058592 | 0.0010649 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:17:22 PM | 55042 | [11 empty] | 55042 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c023 | a1 | FIA | KD24_c023 | KD24_c023_a1 | KD24_c023_a1_FIA | [95 empty] | No
40 | KD24_c023_a1_FIB | 0.12776 | 0.0056971 | 0.0042065 | 0.0038422 | 103.0727 | 0.010616 | 0.00053646 | 0.010626 | 10.021 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12776 | 0.0056971 | 0.13092 | 0.0048796 | -0.050263 | 0.0079182 | SupCrit | 103.3004 | 0.010626 | 1285.5937 | 0.0096807 | 215.4544 | 1285.5937 | 370.9284 | 0.61028 | 2.7062 | 0.7611 | 1.2206 | Flagged Warnings: | 1388.8942 | 0.0043808 | 394.3358 | 1388.8941 | 524.0559 | 0.50845 | 0 | 2.1965 | 0.5755 | 1.0169 | Flagged Warnings: |  |  |  | 1410.2543 | 48.8076 | 0.66478 | [9 empty] | 1.0056 | 1.0577 | 0.0067998 | 0.005665 | 1.2432 | 1.2701 | 0.24726 | 0.0025788 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:12:30 PM | 54750 | 1150.7779 | 123.1259 | 76.1162 | Spline | [5 empty] | 0.13757 | 0.056107 | 54750 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c023 | a1 | FIB | KD24_c023 | KD24_c023_a1 | KD24_c023_a1_FIB | [95 empty] | No
41 | KD24_c023_a1_FIC | 0.092909 | 0.0042133 | 0.0018162 | 0.0038017 | 102.9847 | 0.0045836 | 0.00053902 | 0.0045619 | 10.042 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.092909 | 0.0042133 | 0.0958 | 0.0030098 | -0.11477 | 0.003914 | SupCrit | 103.2123 | 0.0045619 | 1285.8465 | 0.0039888 | 439.8686 | 1285.8466 | 628.0437 | 0.54307 | 2.2634 | 0.59046 | 1.0861 | Flagged Warnings: | 1389.0589 | 0.0022137 | 777.9638 | 1389.0588 | 921.7347 | 0.46465 | 0 | 2.1396 | 0.51229 | 0.92929 | Flagged Warnings: | 1265.5288 | 78.3274 | 0.68654 | 1410.3823 | 107.964 | 0.54277 | [9 empty] | 1.0397 | 1.0619 | 0.043076 | 0.0024692 | 1.0219 | 1.0241 | 0.020349 | 0.0011945 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:22:11 PM | 55331 | 1150.8758 | 27.7116 | 17.5037 | Spline | [5 empty] | 0.017881 | 0.0076667 | 55331 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c023 | a1 | FIC | KD24_c023 | KD24_c023_a1 | KD24_c023_a1_FIC | [95 empty] | No
42 | KD24_c024_a1_FIA | 0.10496 | 0.019297 | 0.018917 | 0.0038087 | 103.0151 | 0.047741 | 0.00054223 | 0.047844 | 10.019 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10496 | 0.019297 | 0.10791 | 0.019186 | -0.092283 | 0.035207 | SupCrit | 103.2427 | 0.047844 | 1285.7611 | 0.047676 | 236.6625 | 1285.7611 | 291.237 | 0.57804 | 8.7628 | 5.1756e-11 | 1.1561 | Flagged Warnings: | 1389.0038 | 0.0039954 | 471.7649 | 1389.0038 | 580.6128 | 0.48304 | 0 | 2.1806 | 0.51029 | 0.96609 | Flagged Warnings: | 1265.5958 | 54.8384 | 0.033321 | 1410.3225 | 86.0177 | 0.68408 | [9 empty] | 1.142 | 1.1106 | 0.16411 | 0.0048849 | 1.0794 | 1.107 | 0.076729 | 0.0020478 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:31:34 PM | 55894 | 1150.8024 | 56.0716 | 41.2077 | Spline | [5 empty] | 0.064313 | 0.027037 | 55894 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c024 | a1 | FIA | KD24_c024 | KD24_c024_a1 | KD24_c024_a1_FIA | [95 empty] | No