## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values | date_object | Type | Mount | Sample | Crystal | Region | FI# | Sample_crystal | Sample_crystal_region | FI_name | Density g/cm3_Raman_STD | σ Density g/cm3_Raman_STD | σ Density g/cm3 (from Ne+peakfit)_Raman_STD | σ Density g/cm3 (from densimeter)_Raman_STD | Corrected_Splitting_Raman_STD | Corrected_Splitting_σ_Raman_STD | Corrected_Splitting_σ_Ne_Raman_STD | Corrected_Splitting_σ_peak_fit_Raman_STD | power (mW)_Raman_STD | Spectral Center_Raman_STD | Preferred D_σ_Ne_Raman_STD | Preferred D_σ_pkfit_Raman_STD | LowD_RT_Raman_STD | HighD_RT_Raman_STD | LowD_SC_Raman_STD | LowD_SC_σ_Raman_STD | MedD_SC_Raman_STD | MedD_SC_σ_Raman_STD | HighD_SC_Raman_STD | HighD_SC_σ_Raman_STD | Splitting_Raman_STD | Split_σ_Raman_STD | Diad1_Combofit_Cent_Raman_STD | Diad1_cent_err_Raman_STD | Diad1_Combofit_Height_Raman_STD | Diad1_Voigt_Cent_Raman_STD | Diad1_Voigt_Area_Raman_STD | Diad1_Voigt_Sigma_Raman_STD | Diad1_Residual_Raman_STD | Diad1_Prop_Lor_Raman_STD | Diad1_fwhm_Raman_STD | Diad2_Combofit_Cent_Raman_STD | Diad2_cent_err_Raman_STD | Diad2_Combofit_Height_Raman_STD | Diad2_Voigt_Cent_Raman_STD | Diad2_Voigt_Area_Raman_STD | Diad2_Voigt_Sigma_Raman_STD | Diad2_Voigt_Gamma_Raman_STD | Diad2_Residual_Raman_STD | Diad2_Prop_Lor_Raman_STD | Diad2_fwhm_Raman_STD | HB1_Cent_Raman_STD | HB1_Area_Raman_STD | HB1_Sigma_Raman_STD | HB2_Cent_Raman_STD | HB2_Area_Raman_STD | HB2_Sigma_Raman_STD | C13_Cent_Raman_STD | C13_Area_Raman_STD | C13_Sigma_Raman_STD | Diad2_Gauss_Cent_Raman_STD | Diad2_Gauss_Area_Raman_STD | Diad2_Gauss_Sigma_Raman_STD | Diad1_Gauss_Cent_Raman_STD | Diad1_Gauss_Area_Raman_STD | Diad1_Gauss_Sigma_Raman_STD | Diad1_Asym50_Raman_STD | Diad1_Asym70_Raman_STD | Diad1_Yuan2017_sym_factor_Raman_STD | Diad1_Remigi2021_BSF_Raman_STD | Diad2_Asym50_Raman_STD | Diad2_Asym70_Raman_STD | Diad2_Yuan2017_sym_factor_Raman_STD | Diad2_Remigi2021_BSF_Raman_STD | Day_Raman_STD | Int_time (s)_Raman_STD | accumulations_Raman_STD | Mag (X)_Raman_STD | sec since midnight_Raman_STD | Peak_Cent_SO2_Raman_STD | Peak_Area_SO2_Raman_STD | Peak_Height_SO2_Raman_STD | SO2_Diad_Ratio_Raman_STD | SO2_mol_ratio_Raman_STD | time_Raman_STD | preferred_values_Raman_STD | lower_values_Raman_STD | upper_values_Raman_STD | Mount_Raman_STD | averaged?
0 | FG04-A1-4-start_r1 | 0.68874 | 0.0042744 | 0.0034791 | 0.0023903 | 104.3238 | 0.0068325 | 0.00048905 | 0.0068274 | 6.0017 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62352 | 0.0088698 | 0.68874 | 0.0042744 | 0.68842 | 0.0035463 | SupCrit | 104.5505 | 0.0068274 | 1282.8039 | 0.0060857 | 594.2778 | 1282.8039 | 1708.8951 | 0.99028 | 4.0369 | 0.81933 | 1.9806 | Flagged Warnings: | 1387.3544 | 0.0029395 | 1196.8173 | 1387.3545 | 2758.6109 | 0.81676 | 0 | 3.1891 | 0.77293 | 1.6335 | Flagged Warnings: | 1262.8141 | 270.4884 | 2.756 | 1408.7883 | 366.2254 | 2.089 |  |  |  | 1381.5746 | 278.5125 | 14.1253 |  |  |  | 1.0635 | 1.0598 | 0.12288 | 0.0035106 | 1.0508 | 1.0422 | 0.083123 | 0.0014494 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 17, 2025 | January | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 8:43:35 AM | 31924.6667 | [6 empty] | 31924.6667 | 0.99783 | 0.99783 | 0.99784 | 2025-01-17 | Std |  | FG04 | A1 |  | 4 | FG04_A1 | FG04_A1 | FG04-A1-4-start-45674 | 0.0036442 | 0.0010928 | 0.0013686 | 9.1658e-07 | 0.0071556 | 0.0026782 | 3.791e-06 | 0.0026932 | 0.031134 | 0 | 0 | 0 |  |  | 0.0028354 | 0.00033984 | 0.0036442 | 0.0010928 | 0.003265 | 0.0010523 | 0.007397 | 0.0026932 | 0.026075 | 0.0022983 | 162.3077 | 0.026072 | 499.9713 | 0.039393 | 1.4897 | 0.047542 | 0.078785 | 0.020085 | 0.0018378 | 333.6765 | 0.020105 | 759.2511 | 0.018529 | 0 | 0.98131 | 0.044767 | 0.037057 |  |  |  | 0.030574 | 23.7078 | 0.016911 |  |  |  | 0.76717 | 7.0521 | 0.83566 |  |  |  | 0.054225 | 0.046099 | 0.10006 | 0.0009777 | 0.022465 | 0.0343 | 0.036941 | 0.00045601 | 0 | 0 | 0 | 0 | 653.9314 | [5 empty] | 653.9314 | 2.1753e-06 | 2.1387e-06 | 2.2119e-06 |  | Yes
1 | KD24_c001_a1_FIA_r1 | 0.0868 | 0.0075038 | 0.0063309 | 0.0038022 | 102.9693 | 0.015977 | 0.00046876 | 0.016004 | 9.912 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0868 | 0.0075038 | 0.08968 | 0.0068501 | -0.12628 | 0.012081 | SupCrit | 103.1942 | 0.016004 | 1285.9382 | 0.014325 | 489.1686 | 1285.9383 | 668.8148 | 0.48616 | 7.2165 | 0.76257 | 0.97232 | Flagged Warnings: | 1389.1325 | 0.0070485 | 767.0457 | 1389.1324 | 854.3064 | 0.45947 | 0 | 7.9029 | 0.38024 | 0.91894 | Flagged Warnings: | 1265.7172 | 73.3719 | 0.52484 | 1410.4178 | 107.8792 | 0.55694 | [9 empty] | 1.2821 | 1.3155 | 0.26766 | 0.0020292 | 1.1551 | 1.1924 | 0.14216 | 0.0012013 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 9:37:09 AM | 34970.6667 | 1151.2344 | 89.2499 | 55.4042 | Spline | 0.059106 | 0.024859 | 34970.6667 | 0.99782 | 0.99782 | 0.99783 | 2025-01-17 | Sample |  | KD24 | c001 | a1 | FIA | KD24_c001 | KD24_c001_a1 | KD24_c001_a1_FIA | 0.0084311 | 0.0027046 | 0.0031575 | 8.8928e-07 | 0.021278 | 0.0079687 | 1.1181e-06 | 0.0079898 | 0.023259 | 0 | 0 | 0 |  |  | 0.0084311 | 0.0027046 | 0.0084512 | 0.0029637 | 0.01586 | 0.0057787 | 0.021203 | 0.0079898 | 0.0046483 | 0.0076788 | 66.3732 | 0.0046483 | 74.1699 | 0.05657 | 1.8054 | 0.21657 | 0.11314 | 0.01671 | 0.0025936 | 43.2374 | 0.016738 | 24.8301 | 0.011159 | 0 | 3.6526 | 0.033796 | 0.022317 | 0.22056 | 2.7401 | 0.098107 | 0.10153 | 21.8696 | 0.079105 | [9 empty] | 0.094685 | 0.14855 | 0.0655 | 0.00046591 | 0.035043 | 0.053561 | 0.02958 | 9.0456e-05 | 0 | 0 | 0 | 0 | 320.6311 | 0.028238 | 25.9703 | 5.742 | 0.019351 | 0.0079172 | 320.6311 | 1.1765e-06 | 1.1666e-06 | 1.1864e-06 |  | Yes
2 | KD24_c001_a1_FIB | 0.062805 | 0.0066048 | 0.0053903 | 0.0038168 | 102.9088 | 0.013603 | 0.00046664 | 0.013625 | 9.855 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.062805 | 0.0066048 | 0.065692 | 0.0058883 | -0.17183 | 0.01051 | SupCrit | 103.1337 | 0.013625 | 1286.0267 | 0.012529 | 293.1235 | 1286.0267 | 410.9138 | 0.5188 | 5.5123 | 0.65807 | 1.0376 | Flagged Warnings: | 1389.1604 | 0.0053556 | 498.4251 | 1389.1604 | 529.2769 | 0.44073 | 0 | 3.608 | 0.36114 | 0.88146 | Flagged Warnings: |  |  |  | 1410.4175 | 54.9778 | 0.70663 | [9 empty] | 1.1495 | 1.1241 | 0.15512 | 0.0035398 | 1.2008 | 1.2598 | 0.17699 | 0.0017685 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 9:53:23 AM | 35603 | [6 empty] | 35603 | 0.99782 | 0.99781 | 0.99782 | 2025-01-17 | Sample |  | KD24 | c001 | a1 | FIB | KD24_c001 | KD24_c001_a1 | KD24_c001_a1_FIB | [79 empty] | No
3 | KD24_c001_a1_FIC | 0.10174 | 0.0091283 | 0.0082969 | 0.0038061 | 103.007 | 0.020939 | 0.00046398 | 0.02098 | 9.836 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10174 | 0.0091283 | 0.10467 | 0.0086789 | -0.098261 | 0.015574 | SupCrit | 103.2329 | 0.02098 | 1285.7071 | 0.018738 | 283.5195 | 1285.7071 | 487.1791 | 0.59383 | 5.8242 | 0.8209 | 1.1877 | Flagged Warnings: | 1388.94 | 0.0094372 | 486.183 | 1388.94 | 596.4219 | 0.50078 | 0 | 6.6634 | 0.40616 | 1.0016 | Flagged Warnings: | 1265.1853 | 97.9789 | 1.7809 | 1410.2003 | 59.4466 | 0.74873 | [9 empty] | 1.1725 | 1.1113 | 0.20489 | 0.004189 | 1.2291 | 1.3324 | 0.22945 | 0.0020601 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 10:24:47 AM | 37487 | 1150.9002 | 357.7619 | 180.9921 | Spline | 0.33016 | 0.12484 | 37487 | 0.99781 | 0.99781 | 0.99782 | 2025-01-17 | Sample |  | KD24 | c001 | a1 | FIC | KD24_c001 | KD24_c001_a1 | KD24_c001_a1_FIC | [79 empty] | No
4 | KD24_c002_a1_FIA | 0.095869 | 0.0047887 | 0.0029105 | 0.0038027 | 102.9922 | 0.0073454 | 0.00046362 | 0.0073469 | 9.848 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095869 | 0.0047887 | 0.098772 | 0.0037781 | -0.10923 | 0.005776 | SupCrit | 103.2183 | 0.0073469 | 1285.8725 | 0.0062563 | 597.9712 | 1285.8725 | 867.1687 | 0.54102 | 5.4584 | 0.63834 | 1.082 | Flagged Warnings: | 1389.0909 | 0.0038516 | 1088.2491 | 1389.0908 | 1275.9917 | 0.46743 | 0 | 5.7292 | 0.46949 | 0.93485 | Flagged Warnings: | 1265.5498 | 73.8493 | 0.85357 | 1410.4051 | 149.0816 | 0.58479 | 1370.8644 | 43.4848 | 0.023371 | [6 empty] | 1.0714 | 1.0776 | 0.077288 | 0.0018095 | 1.0775 | 1.1041 | 0.072442 | 0.00085904 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:37:36 AM | 38256 | 1151.1203 | 97.9041 | 80.7876 | Spline | 0.045682 | 0.019356 | 38256 | 0.99781 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c002 | a1 | FIA | KD24_c002 | KD24_c002_a1 | KD24_c002_a1_FIA | [79 empty] | No
5 | KD24_c003_a1_FIA | 0.1044 | 0.004582 | 0.002548 | 0.0038082 | 103.0137 | 0.0064305 | 0.00046404 | 0.0064279 | 9.86 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1044 | 0.004582 | 0.10735 | 0.003506 | -0.093315 | 0.0051116 | SupCrit | 103.2402 | 0.0064279 | 1285.7668 | 0.0059118 | 307.3952 | 1285.7668 | 453.4789 | 0.57502 | 2.0902 | 0.52795 | 1.15 | Flagged Warnings: | 1389.007 | 0.0025235 | 566.8356 | 1389.007 | 708.8887 | 0.47472 | 0 | 1.7262 | 0.59548 | 0.94943 | Flagged Warnings: |  |  |  | 1410.3683 | 93.7627 | 0.71939 | [9 empty] | 1.1043 | 1.0515 | 0.12 | 0.0037412 | 1.0691 | 1.0992 | 0.065597 | 0.001675 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:50:58 AM | 39058 | 1158.8236 | 93.8713 | 88.3213 | Spline | 0.080759 | 0.033717 | 39058 | 0.99781 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a1 | FIA | KD24_c003 | KD24_c003_a1 | KD24_c003_a1_FIA | [79 empty] | No
6 | KD24_c003_a1_FIB | 0.095497 | 0.0045042 | 0.0024142 | 0.0038026 | 102.9913 | 0.0060929 | 0.00046432 | 0.0060885 | 9.859 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095497 | 0.0045042 | 0.098398 | 0.0034072 | -0.10992 | 0.0049118 | SupCrit | 103.2178 | 0.0060885 | 1285.7935 | 0.0056765 | 300.3851 | 1285.7935 | 428.8455 | 0.57557 | 2.3969 | 0.43962 | 1.1511 | Flagged Warnings: | 1389.0114 | 0.0022017 | 541.2116 | 1389.0113 | 662.0532 | 0.47725 | 0 | 1.5899 | 0.52569 | 0.95451 | Flagged Warnings: |  |  |  | 1410.3481 | 75.708 | 0.5879 | [9 empty] | 1.0708 | 1.0385 | 0.081525 | 0.0038322 | 1.0616 | 1.088 | 0.058792 | 0.0017636 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 10:57:38 AM | 39458 | 1151.0959 | 155.2781 | 84.89 | Spline | 0.14234 | 0.057938 | 39458 | 0.99781 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a1 | FIB | KD24_c003 | KD24_c003_a1 | KD24_c003_a1_FIB | [79 empty] | No
7 | KD24_c003_a1_FIC | 0.108 | 0.0057617 | 0.0043208 | 0.0038116 | 103.0228 | 0.010904 | 0.00046485 | 0.010918 | 9.858 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.108 | 0.0057617 | 0.11097 | 0.0049644 | -0.086625 | 0.0082379 | SupCrit | 103.2495 | 0.010918 | 1285.7099 | 0.0088936 | 204.8412 | 1285.7099 | 321.1438 | 0.62267 | 2.3539 | 0.47915 | 1.2453 | Flagged Warnings: | 1388.9595 | 0.0063338 | 384.7728 | 1388.9594 | 481.314 | 0.48906 | 0 | 1.6313 | 0.52018 | 0.97812 | Flagged Warnings: |  |  |  | 1410.3394 | 46.1677 | 0.66563 | [9 empty] | 1.1089 | 1.0422 | 0.13567 | 0.0060796 | 1.1547 | 1.1984 | 0.15129 | 0.0025421 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:02:31 AM | 39751 | 1150.9736 | 168.3496 | 88.3921 | Spline | 0.20979 | 0.083112 | 39751 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a1 | FIC | KD24_c003 | KD24_c003_a1 | KD24_c003_a1_FIC | [79 empty] | No
8 | KD24_c003_a2_FID | 0.11888 | 0.0048301 | 0.0029482 | 0.003826 | 103.0503 | 0.0074404 | 0.00046558 | 0.0074422 | 9.891 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11888 | 0.0048301 | 0.12194 | 0.0038157 | -0.066543 | 0.0057489 | SupCrit | 103.2772 | 0.0074422 | 1285.607 | 0.0066841 | 313.6221 | 1285.607 | 506.0956 | 0.63548 | 2.6559 | 0.50139 | 1.271 | Flagged Warnings: | 1388.8842 | 0.0032724 | 607.6058 | 1388.8841 | 785.4247 | 0.48474 | 0 | 1.9185 | 0.62579 | 0.96947 | Flagged Warnings: |  |  |  | 1410.2841 | 93.2835 | 0.70249 | [9 empty] | 1.0106 | 1.0551 | 0.013485 | 0.0040526 | 1.2561 | 1.2888 | 0.24832 | 0.0015956 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:08:42 AM | 40122 | 1150.8024 | 370.3978 | 206.4034 | Spline | 0.28679 | 0.11025 | 40122 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a2 | FID | KD24_c003 | KD24_c003_a2 | KD24_c003_a2_FID | [79 empty] | No
9 | KD24_c003_a2_FIE | 0.099888 | 0.0044598 | 0.0023266 | 0.0038048 | 103.0023 | 0.0058718 | 0.00046615 | 0.0058661 | 9.88 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099888 | 0.0044598 | 0.10281 | 0.0033458 | -0.10172 | 0.0047472 | SupCrit | 103.2293 | 0.0058661 | 1285.8185 | 0.0053603 | 356.9453 | 1285.8185 | 499.9578 | 0.5479 | 2.2737 | 0.51877 | 1.0958 | Flagged Warnings: | 1389.0478 | 0.0023831 | 638.0844 | 1389.0477 | 757.9224 | 0.46922 | 0 | 1.7766 | 0.49341 | 0.93844 | Flagged Warnings: |  |  |  | 1410.4248 | 88.2459 | 0.52853 | [9 empty] | 1.0965 | 1.0785 | 0.10573 | 0.0030699 | 1.0036 | 1.0026 | 0.0033757 | 0.0014707 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:15:15 AM | 40515 | 1151.0959 | 88.2614 | 60.7282 | Spline | 0.070167 | 0.029425 | 40515 | 0.9978 | 0.9978 | 0.99781 | 2025-01-17 | Sample |  | KD24 | c003 | a2 | FIE | KD24_c003 | KD24_c003_a2 | KD24_c003_a2_FIE | [79 empty] | No
10 | KD24_c004_a1_FIA | 0.11244 | 0.0081584 | 0.0072105 | 0.0038168 | 103.034 | 0.018197 | 0.00046866 | 0.018231 | 9.893 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11244 | 0.0081584 | 0.11545 | 0.0076516 | -0.078404 | 0.013463 | SupCrit | 103.2613 | 0.018231 | 1285.7135 | 0.016368 | 91.2979 | 1285.7135 | 134.1949 | 0.54014 | 1.7014 | 0.67529 | 1.0803 | Flagged Warnings: | 1388.9748 | 0.0080297 | 173.4327 | 1388.9748 | 218.7847 | 0.47451 | 0 | 1.5428 | 0.61799 | 0.94902 | Flagged Warnings: | [15 empty] | 1.1321 | 1.0755 | 0.14268 | 0.011832 | 1.1204 | 1.1522 | 0.1143 | 0.005472 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 11:30:20 AM | 41420 | 1150.998 | 43.0429 | 23.4015 | Spline | 0.12194 | 0.050051 | 41420 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c004 | a1 | FIA | KD24_c004 | KD24_c004_a1 | KD24_c004_a1_FIA | [79 empty] | No
11 | KD24_c004_a1_FIB | 0.10751 | 0.0073077 | 0.0062352 | 0.0038111 | 103.0216 | 0.015736 | 0.00046995 | 0.015764 | 9.881 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10751 | 0.0073077 | 0.11048 | 0.0067179 | -0.087542 | 0.011724 | SupCrit | 103.2489 | 0.015764 | 1285.7631 | 0.014156 | 109.2831 | 1285.7631 | 159.6623 | 0.61565 | 1.9364 | 0.3192 | 1.2313 | Flagged Warnings: | 1389.012 | 0.0069353 | 213.0837 | 1389.012 | 252.6425 | 0.46996 | 0 | 1.9708 | 0.48441 | 0.93992 | Flagged Warnings: | [15 empty] | 1.1218 | 1.0732 | 0.14999 | 0.011267 | 1.0549 | 1.0811 | 0.051644 | 0.0044111 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:37:16 AM | 41836 | 1151.1692 | 41.6419 | 23.5011 | Spline | 0.101 | 0.041814 | 41836 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c004 | a1 | FIB | KD24_c004 | KD24_c004_a1 | KD24_c004_a1_FIB | [79 empty] | No
12 | KD24_c004_a1_FIC | 0.11619 | 0.0047502 | 0.0028208 | 0.0038219 | 103.0435 | 0.007119 | 0.00047157 | 0.0071191 | 9.897 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11619 | 0.0047502 | 0.11922 | 0.0037153 | -0.071493 | 0.0055389 | SupCrit | 103.2709 | 0.0071191 | 1285.644 | 0.0065739 | 291.1843 | 1285.644 | 450.0184 | 0.60054 | 2.4287 | 0.53588 | 1.2011 | Flagged Warnings: | 1388.915 | 0.0027323 | 544.7762 | 1388.915 | 703.9744 | 0.46474 | 0 | 1.729 | 0.72711 | 0.92948 | Flagged Warnings: |  |  |  | 1410.3072 | 69.3889 | 0.61024 | [9 empty] | 1.085 | 1.0163 | 0.10215 | 0.0041248 | 1.2344 | 1.3019 | 0.2179 | 0.0017062 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:44:14 AM | 42254 | 1150.8513 | 263.6635 | 137.299 | Spline | 0.22848 | 0.08985 | 42254 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c004 | a1 | FIC | KD24_c004 | KD24_c004_a1 | KD24_c004_a1_FIC | [79 empty] | No
13 | KD24_c005_a1_FIA | 0.10215 | 0.0040895 | 0.0014952 | 0.0038064 | 103.008 | 0.0037735 | 0.00047442 | 0.0037518 | 9.891 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10215 | 0.0040895 | 0.10508 | 0.0028255 | -0.097511 | 0.0033834 | SupCrit | 103.2356 | 0.0037518 | 1285.7646 | 0.0032858 | 494.9048 | 1285.7646 | 727.8199 | 0.57892 | 2.0028 | 0.50261 | 1.1578 | Flagged Warnings: | 1389.0003 | 0.0018109 | 904.2444 | 1389.0002 | 1109.8302 | 0.47239 | 0 | 2.0876 | 0.56047 | 0.94477 | Flagged Warnings: | 1265.586 | 83.9171 | 0.74663 | 1410.3486 | 130.9902 | 0.62453 | [9 empty] | 1.1076 | 1.0515 | 0.12454 | 0.0023395 | 1.0769 | 1.1138 | 0.072675 | 0.0010448 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:56:20 AM | 42980 | 1151.0469 | 207.3575 | 117.0744 | Spline | 0.11284 | 0.046488 | 42980 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c005 | a1 | FIA | KD24_c005 | KD24_c005_a1 | KD24_c005_a1_FIA | [79 empty] | No
14 | KD24_c006_a1_FIA | 0.13403 | 0.0040927 | 0.0013717 | 0.003856 | 103.0885 | 0.0034618 | 0.0004765 | 0.0034364 | 9.889 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13403 | 0.0040927 | 0.13727 | 0.0027586 | -0.038827 | 0.0031331 | SupCrit | 103.3163 | 0.0034364 | 1285.5202 | 0.0029034 | 755.7295 | 1285.5202 | 1317.6495 | 0.64061 | 2.5608 | 0.67601 | 1.2812 | Flagged Warnings: | 1388.8366 | 0.0018382 | 1455.2697 | 1388.8365 | 1984.0242 | 0.51448 | 0 | 2.6129 | 0.6101 | 1.029 | Flagged Warnings: | 1265.297 | 153.1613 | 0.88194 | 1410.1626 | 213.7684 | 0.7215 | [9 empty] | 1.1281 | 1.1537 | 0.16417 | 0.0016953 | 1.1943 | 1.1956 | 0.19989 | 0.00070705 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:02:26 PM | 43346 | 1150.7535 | 685.4975 | 415.3166 | Spline | 0.20762 | 0.082323 | 43346 | 0.9978 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c006 | a1 | FIA | KD24_c006 | KD24_c006_a1 | KD24_c006_a1_FIA | [79 empty] | No
15 | KD24_c007_a1_FIA | 0.14227 | 0.0042502 | 0.0017415 | 0.0038771 | 103.1093 | 0.0043951 | 0.00047836 | 0.0043786 | 9.904 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14227 | 0.0042502 | 0.14563 | 0.0029658 | -0.023884 | 0.003671 | SupCrit | 103.3372 | 0.0043786 | 1285.5615 | 0.0040137 | 748.9589 | 1285.5615 | 1260.2886 | 0.60741 | 4.6747 | 0.71875 | 1.2148 | Flagged Warnings: | 1388.8988 | 0.00175 | 1346.1831 | 1388.8987 | 1769.0965 | 0.49735 | 0 | 3.1298 | 0.60293 | 0.9947 | Flagged Warnings: | 1265.3808 | 182.6327 | 1.0746 | 1410.2761 | 203.4413 | 0.72152 | [9 empty] | 1.0456 | 1.054 | 0.055376 | 0.001622 | 1.2404 | 1.2605 | 0.23914 | 0.0007389 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:08:20 PM | 43700 | [6 empty] | 43700 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c007 | a1 | FIA | KD24_c007 | KD24_c007_a1 | KD24_c007_a1_FIA | [79 empty] | No
16 | KD24_c008_a1_FIA | 0.097389 | 0.0039777 | 0.0011645 | 0.0038034 | 102.996 | 0.002939 | 0.00048203 | 0.0029056 | 9.904 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.097389 | 0.0039777 | 0.1003 | 0.0026644 | -0.10638 | 0.0029062 | SupCrit | 103.2238 | 0.0029056 | 1285.7865 | 0.0025404 | 620.636 | 1285.7865 | 894.623 | 0.55516 | 2.1553 | 0.55886 | 1.1103 | Flagged Warnings: | 1389.0104 | 0.0014103 | 1114.1279 | 1389.0103 | 1330.5729 | 0.46653 | 0 | 2.0819 | 0.52238 | 0.93307 | Flagged Warnings: | 1265.4106 | 107.379 | 0.71833 | 1410.312 | 149.9008 | 0.59123 | [9 empty] | 1.0875 | 1.0482 | 0.097113 | 0.001789 | 1.0627 | 1.0932 | 0.058532 | 0.00083749 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:21:08 PM | 44468 | 1151.0714 | 228.6185 | 130.7798 | Spline | 0.10274 | 0.042505 | 44468 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c008 | a1 | FIA | KD24_c008 | KD24_c008_a1 | KD24_c008_a1_FIA | [79 empty] | No
17 | KD24_c008_a1_FIB | 0.088307 | 0.0040201 | 0.0013092 | 0.003801 | 102.9731 | 0.003304 | 0.00048363 | 0.0032757 | 9.927 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.088307 | 0.0040201 | 0.091186 | 0.0027327 | -0.12341 | 0.0031313 | SupCrit | 103.2009 | 0.0032757 | 1285.7717 | 0.0029014 | 687.1937 | 1285.7717 | 1062.3334 | 0.59994 | 2.2773 | 0.53942 | 1.1999 | Flagged Warnings: | 1388.9727 | 0.0015205 | 1315.0023 | 1388.9726 | 1623.9025 | 0.47797 | 0 | 2.3493 | 0.54613 | 0.95593 | Flagged Warnings: | 1265.4419 | 122.4318 | 0.68944 | 1410.2877 | 176.2618 | 0.64898 | [9 empty] | 1.0577 | 1.0061 | 0.069224 | 0.0017461 | 1.1319 | 1.1831 | 0.12606 | 0.00072694 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:25:56 PM | 44756 | 1150.9002 | 830.1341 | 456.6936 | Spline | 0.30903 | 0.1178 | 44756 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c008 | a1 | FIB | KD24_c008 | KD24_c008_a1 | KD24_c008_a1_FIB | [79 empty] | No
18 | KD24_c008_a1_FIC | 0.11928 | 0.0099731 | 0.0092097 | 0.0038267 | 103.0513 | 0.023243 | 0.00048572 | 0.023289 | 9.914 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11928 | 0.0099731 | 0.12234 | 0.0096021 | -0.065805 | 0.017043 | SupCrit | 103.2792 | 0.023289 | 1285.723 | 0.020795 | 64.5542 | 1285.723 | 93.6674 | 0.5591 | 1.4249 | 0.55741 | 1.1182 | Flagged Warnings: | 1389.0022 | 0.010487 | 111.9486 | 1389.0022 | 137.8289 | 0.50267 | 0 | 1.6377 | 0.40573 | 1.0053 | Flagged Warnings: | [15 empty] | 1.1807 | 1.1341 | 0.20204 | 0.017322 | 1.0801 | 1.0997 | 0.080568 | 0.0089805 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:30:35 PM | 45035 | [6 empty] | 45035 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c008 | a1 | FIC | KD24_c008 | KD24_c008_a1 | KD24_c008_a1_FIC | [79 empty] | No
19 | KD24_c009_a1_FIA | 0.12284 | 0.0060323 | 0.0046582 | 0.0038327 | 103.0603 | 0.011756 | 0.00048853 | 0.011772 | 10.017 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12284 | 0.0060323 | 0.12594 | 0.0052784 | -0.05927 | 0.0087531 | SupCrit | 103.2883 | 0.011772 | 1285.6408 | 0.010486 | 163.891 | 1285.6408 | 252.4868 | 0.59753 | 2.0261 | 0.54064 | 1.1951 | Flagged Warnings: | 1388.929 | 0.0053495 | 299.2112 | 1388.929 | 381.6046 | 0.49187 | 0 | 2.1042 | 0.55512 | 0.98374 | Flagged Warnings: | [15 empty] | 1.0694 | 1.0082 | 0.082894 | 0.0072918 | 1.2107 | 1.2493 | 0.20729 | 0.0032878 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:37:42 PM | 45462 | [6 empty] | 45462 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c009 | a1 | FIA | KD24_c009 | KD24_c009_a1 | KD24_c009_a1_FIA | [79 empty] | No
20 | KD24_c009_a2_FIB | 0.10188 | 0.0075012 | 0.0064638 | 0.0038062 | 103.0074 | 0.016313 | 0.00049014 | 0.016341 | 10.037 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10188 | 0.0075012 | 0.10482 | 0.0069259 | -0.097997 | 0.012192 | SupCrit | 103.2353 | 0.016341 | 1285.7627 | 0.014654 | 101.2323 | 1285.7627 | 149.2191 | 0.55611 | 1.8762 | 0.61055 | 1.1122 | Flagged Warnings: | 1388.998 | 0.0072313 | 191.8707 | 1388.998 | 231.6432 | 0.45328 | 0 | 1.6643 | 0.62257 | 0.90657 | Flagged Warnings: | [15 empty] | 1.0792 | 1.0173 | 0.088065 | 0.010987 | 1.0833 | 1.1296 | 0.075547 | 0.0047249 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:42:17 PM | 45737 | 1150.998 | 65.5734 | 35.349 | Spline | 0.17217 | 0.06924 | 45737 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c009 | a2 | FIB | KD24_c009 | KD24_c009_a2 | KD24_c009_a2_FIB | [79 empty] | No
21 | KD24_c010_a1_FIB | 0.10252 | 0.0041971 | 0.0017677 | 0.0038067 | 103.009 | 0.0044613 | 0.00049332 | 0.0044437 | 10.048 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10252 | 0.0041971 | 0.10545 | 0.0029804 | -0.096818 | 0.0038111 | SupCrit | 103.2369 | 0.0044437 | 1285.7438 | 0.0039838 | 383.0223 | 1285.7439 | 571.0052 | 0.58118 | 1.7705 | 0.52771 | 1.1624 | Flagged Warnings: | 1388.9808 | 0.0019686 | 710.4311 | 1388.9808 | 884.0808 | 0.47433 | 0 | 1.7384 | 0.58503 | 0.94866 | Flagged Warnings: | 1265.4879 | 61.5841 | 0.58624 | 1410.309 | 101.4735 | 0.56651 | [9 empty] | 1.1548 | 1.1072 | 0.17989 | 0.0030347 | 1.1176 | 1.1667 | 0.11161 | 0.0013353 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:49:47 PM | 46187 | 1150.9491 | 333.0335 | 170.5949 | Spline | 0.22888 | 0.089992 | 46187 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c010 | a1 | FIB | KD24_c010 | KD24_c010_a1 | KD24_c010_a1_FIB | [79 empty] | No
22 | KD24_c010_a1_FIC | 0.077205 | 0.0041152 | 0.0015704 | 0.0038038 | 102.9451 | 0.0039632 | 0.00049572 | 0.0039407 | 10.029 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.077205 | 0.0041152 | 0.08007 | 0.0028688 | -0.14438 | 0.0035559 | SupCrit | 103.1729 | 0.0039407 | 1285.8736 | 0.0034482 | 434.6978 | 1285.8737 | 612.1882 | 0.54555 | 2.0746 | 0.54399 | 1.0911 | Flagged Warnings: | 1389.0466 | 0.0019077 | 764.9435 | 1389.0466 | 903.5031 | 0.46149 | 0 | 2.0613 | 0.52185 | 0.92298 | Flagged Warnings: | 1265.5316 | 61.6095 | 0.54496 | 1410.3556 | 89.8731 | 0.55909 | [9 empty] | 1.1758 | 1.1981 | 0.19177 | 0.00251 | 1.0036 | 1.0053 | 0.0033685 | 0.0012066 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:55:53 PM | 46553 | 1151.0225 | 542.1245 | 286.3483 | Spline | 0.35767 | 0.13386 | 46553 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c010 | a1 | FIC | KD24_c010 | KD24_c010_a1 | KD24_c010_a1_FIC | [79 empty] | No
23 | KD24_c011_a1_FIA | 0.077073 | 0.0061594 | 0.0048445 | 0.0038039 | 102.9448 | 0.012226 | 0.00049815 | 0.012243 | 10.034 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.077073 | 0.0061594 | 0.079938 | 0.0054065 | -0.14463 | 0.0093902 | SupCrit | 103.1725 | 0.012243 | 1285.901 | 0.01065 | 136.8126 | 1285.901 | 186.9824 | 0.51056 | 2.0529 | 0.63505 | 1.0211 | Flagged Warnings: | 1389.0736 | 0.0060395 | 238.9215 | 1389.0736 | 276.3797 | 0.46168 | 0 | 1.956 | 0.46639 | 0.92335 | Flagged Warnings: | [15 empty] | 1.2476 | 1.2612 | 0.25282 | 0.0074636 | 1.0483 | 1.0604 | 0.044623 | 0.0038647 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:01:11 PM | 46871 | 1151.0714 | 68.2502 | 40.8944 | Spline | 0.14729 | 0.059834 | 46871 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c011 | a1 | FIA | KD24_c011 | KD24_c011_a1 | KD24_c011_a1_FIA | [79 empty] | No
24 | KD24_c011_a1_FIB | 0.084083 | 0.0049307 | 0.0031403 | 0.0038013 | 102.9625 | 0.0079252 | 0.00050172 | 0.0079268 | 10.056 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.084083 | 0.0049307 | 0.086954 | 0.003955 | -0.13137 | 0.0062339 | SupCrit | 103.1902 | 0.0079268 | 1285.809 | 0.0071294 | 236.0504 | 1285.809 | 337.5987 | 0.57697 | 2.4537 | 0.43788 | 1.1539 | Flagged Warnings: | 1388.9993 | 0.0034651 | 419.1286 | 1388.9992 | 513.323 | 0.46608 | 0 | 1.7869 | 0.58901 | 0.93216 | Flagged Warnings: |  |  |  | 1410.3716 | 60.3288 | 0.70048 | [9 empty] | 1.0137 | 1.0517 | 0.015851 | 0.0048885 | 1.0778 | 1.1209 | 0.072502 | 0.0022241 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:08:29 PM | 47309 | 1150.998 | 172.0342 | 90.6086 | Spline | 0.20217 | 0.080337 | 47309 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c011 | a1 | FIB | KD24_c011 | KD24_c011_a1 | KD24_c011_a1_FIB | [79 empty] | No
25 | KD24_c012_a1_FIA | 0.11894 | 0.0040899 | 0.0014451 | 0.0038261 | 103.0504 | 0.003647 | 0.00050738 | 0.0036195 | 10.028 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11894 | 0.0040899 | 0.12201 | 0.0027976 | -0.066421 | 0.0032718 | SupCrit | 103.2784 | 0.0036195 | 1285.6425 | 0.0032179 | 524.0173 | 1285.6425 | 840.5284 | 0.60417 | 1.79 | 0.61495 | 1.2083 | Flagged Warnings: | 1388.921 | 0.001657 | 980.4155 | 1388.9209 | 1272.002 | 0.4963 | 0 | 2.1653 | 0.576 | 0.9926 | Flagged Warnings: | 1265.3449 | 107.1089 | 0.90765 | 1410.2787 | 147.4218 | 0.66036 | [9 empty] | 1.078 | 1.0202 | 0.094293 | 0.0023059 | 1.2148 | 1.252 | 0.2132 | 0.0010124 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:18:55 PM | 47935 | 1150.8513 | 385.9849 | 216.8281 | Spline | 0.18271 | 0.073169 | 47935 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FIA | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FIA | [79 empty] | No
26 | KD24_c012_a1_FIB | 0.12345 | 0.0046757 | 0.0026764 | 0.0038338 | 103.0618 | 0.0067546 | 0.00050998 | 0.0067502 | 10.052 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12345 | 0.0046757 | 0.12656 | 0.0036072 | -0.058145 | 0.005263 | SupCrit | 103.2897 | 0.0067502 | 1285.5937 | 0.0064133 | 362.0173 | 1285.5937 | 596.0133 | 0.60262 | 2.7899 | 0.68482 | 1.2052 | Flagged Warnings: | 1388.8835 | 0.0021061 | 674.0277 | 1388.8834 | 896.7733 | 0.49437 | 0 | 2.0487 | 0.64832 | 0.98874 | Flagged Warnings: |  |  |  | 1410.2494 | 95.2859 | 0.66131 | [9 empty] | 1.0085 | 1.0483 | 0.010301 | 0.0033292 | 1.2517 | 1.2749 | 0.24889 | 0.0014669 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:23:47 PM | 48227 | 1150.8024 | 357.4501 | 207.7323 | Spline | 0.23945 | 0.093761 | 48227 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FIB | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FIB | [79 empty] | No
27 | KD24_c012_a1_FIC | 0.10273 | 0.004325 | 0.0020527 | 0.0038068 | 103.0095 | 0.0051805 | 0.00051218 | 0.0051665 | 10.05 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10273 | 0.004325 | 0.10567 | 0.0031598 | -0.096425 | 0.004277 | SupCrit | 103.2373 | 0.0051665 | 1285.7012 | 0.0047561 | 330.9396 | 1285.7012 | 515.4826 | 0.5969 | 1.8364 | 0.57161 | 1.1938 | Flagged Warnings: | 1388.9385 | 0.002018 | 617.6255 | 1388.9385 | 769.3459 | 0.48321 | 0 | 1.6062 | 0.54033 | 0.96642 | Flagged Warnings: | 1265.3865 | 58.7097 | 0.68418 | 1410.2842 | 76.1874 | 0.7016 | [9 empty] | 1.132 | 1.065 | 0.15754 | 0.0036073 | 1.192 | 1.2398 | 0.18558 | 0.0015647 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:28:23 PM | 48503 | 1150.8758 | 340.9371 | 190.8822 | Spline | 0.26536 | 0.10286 | 48503 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FIC | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FIC | [79 empty] | No
28 | KD24_c012_a1_FID | 0.1049 | 0.0044423 | 0.0022865 | 0.0038086 | 103.015 | 0.0057705 | 0.0005146 | 0.0057602 | 10.045 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1049 | 0.0044423 | 0.10785 | 0.0033185 | -0.092378 | 0.0046629 | SupCrit | 103.2427 | 0.0057602 | 1285.7816 | 0.0053313 | 336.6722 | 1285.7816 | 485.315 | 0.57164 | 2.1383 | 0.4832 | 1.1433 | Flagged Warnings: | 1389.0243 | 0.002181 | 599.2644 | 1389.0243 | 727.0788 | 0.465 | 0 | 1.8531 | 0.57122 | 0.93 | Flagged Warnings: |  |  |  | 1410.3776 | 93.8554 | 0.65721 | [9 empty] | 1.1416 | 1.1084 | 0.16188 | 0.0033958 | 1.0366 | 1.0566 | 0.034066 | 0.0015519 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2025 | January | 17 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:32:45 PM | 48765 | 1151.1692 | 72.0826 | 38.541 | Spline | 0.059455 | 0.025046 | 48765 | 0.99779 | 0.99779 | 0.9978 | 2025-01-17 | Sample |  | KD24 | c012 | a1 | FID | KD24_c012 | KD24_c012_a1 | KD24_c012_a1_FID | [79 empty] | No