## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
1 | FO1_MI1-Oct2822prepin | 0.099398 | 0.0043194 | 0.0020452 | 0.0038045 | 103.0011 | 0.0051616 | 0.00059289 | 0.0051381 | 11.971 | 1350.012 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099398 | 0.0043194 | 0.10232 | 0.0031546 | -0.10263 | 0.0042741 | SupCrit | 103.2153 | 0.0051381 | 1285.7705 | 0.0046137 | 310.8871 | 1285.7705 | 395.5588 | 0.48611 | 1.5423 | 0.57899 | 0.97222 | Flagged Warnings: | 1388.9858 | 0.0022612 | 510.2779 | 1388.9858 | 553.7216 | 0.43434 | 0 | 1.2792 | 0.4589 | 0.86867 | Flagged Warnings: |  |  |  | 1410.2962 | 55.0257 | 0.61538 |  |  |  | 1381.9645 | 0.81316 | 10.7862 |  |  |  | 1.2278 | 1.2668 | 0.22143 | 0.0031272 | 1.0588 | 1.0794 | 0.051098 | 0.0017023 | PseudoVoigtModel | PseudoVoigtModel | Yes | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:06:41 AM | 40001 | [11 empty] | 40001 | 0.99792 | 0.99792 | 0.99793
0 | FO1_MI1-Oct2822postpin | 0.087439 | 0.0039753 | 0.0011642 | 0.003801 | 102.9709 | 0.0029381 | 0.00056176 | 0.00289 | 11.977 | 1350.012 | 0 | 0 | Y | SupCrit, low density |  |  | 0.087439 | 0.0039753 | 0.090315 | 0.0026661 | -0.12504 | 0.0029232 | SupCrit | 103.1908 | 0.00289 | 1285.8708 | 0.0025086 | 551.4232 | 1285.8708 | 705.1805 | 0.49519 | 1.814 | 0.54506 | 0.99039 | Flagged Warnings: | 1389.0615 | 0.001435 | 944.0352 | 1389.0616 | 1033.2278 | 0.44302 | 0 | 1.8848 | 0.43208 | 0.88604 | Flagged Warnings: | 1265.5801 | 96.3884 | 0.57529 | 1410.3934 | 120.5293 | 0.60019 |  |  |  | 1382.0083 | 36.3142 | 10.4784 |  |  |  | 1.0557 | 1.0716 | 0.055213 | 0.0017961 | 1.1899 | 1.2308 | 0.16828 | 0.00093857 | PseudoVoigtModel | PseudoVoigtModel | Yes | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:48:34 AM | 42514 | [11 empty] | 42514 | 0.99787 | 0.99786 | 0.99788
2 | K21-59-FI#1 | 0.033482 | 0.0042346 | 0.0017058 | 0.0038758 | 102.8348 | 0.0043049 | 0.00054772 | 0.0042791 | 12.078 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.033482 | 0.0042346 | 0.036536 | 0.0029508 | -0.22858 | 0.0038807 | SupCrit | 103.0566 | 0.0042791 | 1286.0367 | 0.003835 | 588.3337 | 1286.0367 | 593.7931 | 0.43627 | 3.6203 | 0.24742 | 0.87254 | Flagged Warnings: | 1389.0934 | 0.0018983 | 968.7421 | 1389.0934 | 912.5848 | 0.3951 | 0 | 2.5279 | 0.33232 | 0.7902 | Flagged Warnings: | 1265.6489 | 40.7745 | 0.46527 | 1410.3962 | 106.8379 | 0.43606 | [9 empty] | 1.2174 | 1.2783 | 0.18968 | 0.0014831 | 1 | 1.0032 | 4.4181e-13 | 0.00081569 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:09:55 PM | 43795 | 1151.2497 | 48.5475 | 26.8921 | Spline | [5 empty] | 0.032228 | 0.013734 | 43795 | 0.99785 | 0.99784 | 0.99785
3 | K21-59-FI#2 | 0.015245 | 0.0061401 | 0.0047146 | 0.0039337 | 102.7887 | 0.011898 | 0.00054189 | 0.011912 | 12.068 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015245 | 0.0061401 | 0.018475 | 0.0052559 | -0.26448 | 0.0095489 | SupCrit | 103.0115 | 0.011912 | 1286.1574 | 0.010212 | 228.8298 | 1286.1574 | 206.1475 | 0.40859 | 3.2194 | 0.1068 | 0.81718 | Flagged Warnings: | 1389.1689 | 0.0061328 | 374.5294 | 1389.1688 | 348.0072 | 0.38728 | 0 | 2.9583 | 0.34956 | 0.77457 | Flagged Warnings: |  |  |  | 1410.5075 | 57.0275 | 0.30189 | [9 empty] | 1.0123 | 1.0157 | 0.010089 | 0.0035711 | 1.1169 | 1.1678 | 0.090534 | 0.0020681 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:53 PM | 44393 |  |  |  |  | 1086.8603 | 66.1868 | 13.1075 | Spline | 0.11944 |  |  | 44393 | 0.99784 | 0.99783 | 0.99784
4 | K21-59-FI#3 | 0.028439 | 0.0042033 | 0.0015918 | 0.0038902 | 102.822 | 0.0040173 | 0.00053562 | 0.0039901 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028439 | 0.0042033 | 0.031537 | 0.0028886 | -0.23846 | 0.0037026 | SupCrit | 103.0459 | 0.0039901 | 1286.0747 | 0.0034854 | 569.1391 | 1286.0747 | 576.2065 | 0.4231 | 2.8873 | 0.34214 | 0.84621 | Flagged Warnings: | 1389.1207 | 0.0019423 | 889.919 | 1389.1207 | 850.176 | 0.39907 | 0 | 2.4966 | 0.34344 | 0.79815 | Flagged Warnings: | 1265.7147 | 47.3499 | 0.46879 | 1410.4708 | 110.283 | 0.42498 | [9 empty] | 1.1504 | 1.2156 | 0.12728 | 0.0014868 | 1.0464 | 1.0611 | 0.037045 | 0.00089688 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:32:26 PM | 45146 | [11 empty] | 45146 | 0.99783 | 0.99782 | 0.99783
5 | K21-61-FI#1-rep1 | 0.13326 | 0.013244 | 0.01267 | 0.0038542 | 103.0866 | 0.031976 | 0.00053089 | 0.032042 | 12.046 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13326 | 0.013244 | 0.13649 | 0.013062 | -0.040227 | 0.023136 | SupCrit | 103.3121 | 0.032042 | 1285.4315 | 0.029105 | 66.4128 | 1285.4315 | 81.1394 | 0.57388 | 3.2513 | 2.4571e-09 | 1.1478 | Flagged Warnings: | 1388.7436 | 0.013401 | 130.3744 | 1388.7436 | 171.3 | 0.47459 | 0 | 2.4689 | 0.71668 | 0.94919 | Flagged Warnings: | [15 empty] | 1.128 | 1.1718 | 0.14688 | 0.017282 | 1.244 | 1.2467 | 0.23159 | 0.0072805 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:45:44 PM | 45944 | [11 empty] | 45944 | 0.99782 | 0.99781 | 0.99782
6 | K21-61-FI#1-rep2 | 0.13027 | 0.0040562 | 0.0012843 | 0.0038475 | 103.079 | 0.0032412 | 0.00052873 | 0.0032048 | 12.03 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13027 | 0.0040562 | 0.13345 | 0.0027153 | -0.045684 | 0.0030152 | SupCrit | 103.3049 | 0.0032048 | 1285.436 | 0.0028427 | 605.8112 | 1285.4361 | 888.1546 | 0.56995 | 2.7267 | 0.5347 | 1.1399 | Flagged Warnings: | 1388.741 | 0.0014799 | 1151.2431 | 1388.741 | 1441.1633 | 0.4795 | 0 | 2.5112 | 0.57262 | 0.95901 | Flagged Warnings: | 1265.2731 | 60.5447 | 0.72495 | 1410.0809 | 167.1451 | 0.58823 | [9 empty] | 1.2178 | 1.1995 | 0.24826 | 0.0018816 | 1.2014 | 1.1911 | 0.19311 | 0.00083302 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:50:47 PM | 46247 |  |  |  |  | 1089.234 | 772.2323 | 50.4758 | Spline | 0.33153 |  |  | 46247 | 0.99781 | 0.99781 | 0.99782
7 | K21-61-FI#2 | 0.12801 | 0.0039442 | 0.00088902 | 0.0038427 | 103.0733 | 0.0022436 | 0.00052225 | 0.0021868 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12801 | 0.0039442 | 0.13117 | 0.0025483 | -0.04981 | 0.0024999 | SupCrit | 103.3004 | 0.0021868 | 1285.4698 | 0.001928 | 990.7461 | 1285.4698 | 1441.0053 | 0.552 | 2.8944 | 0.59578 | 1.104 | Flagged Warnings: | 1388.7703 | 0.001032 | 1865.1083 | 1388.7702 | 2296.0822 | 0.48002 | 0 | 3.0393 | 0.52721 | 0.96003 | Flagged Warnings: | 1265.2017 | 111.9498 | 0.78949 | 1410.1177 | 255.6273 | 0.60832 | 1369.7693 | 19.5931 | 0.23966 | [6 empty] | 1.2261 | 1.2175 | 0.24963 | 0.0011143 | 1.1541 | 1.1425 | 0.14794 | 0.00051473 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:08:21 PM | 47301 | [11 empty] | 47301 | 0.9978 | 0.9978 | 0.99781
8 | K21-61-FI#3 | 0.14091 | 0.0039911 | 0.00096252 | 0.0038733 | 103.1059 | 0.0024291 | 0.00051707 | 0.0023787 | 12.052 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14091 | 0.0039911 | 0.14425 | 0.0025734 | -0.026354 | 0.0025698 | SupCrit | 103.3341 | 0.0023787 | 1285.409 | 0.0019739 | 818.181 | 1285.4091 | 1234.184 | 0.55533 | 2.3638 | 0.67106 | 1.1107 | Flagged Warnings: | 1388.7432 | 0.0013275 | 1535.2189 | 1388.7431 | 1950.7789 | 0.49197 | 0 | 2.9301 | 0.54541 | 0.98393 | Flagged Warnings: | 1265.2428 | 111.5724 | 0.75643 | 1410.0774 | 223.4257 | 0.68792 | [9 empty] | 1.1886 | 1.1814 | 0.20949 | 0.0013575 | 1.1906 | 1.1765 | 0.18757 | 0.00064091 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:27:18 PM | 48438 | [11 empty] | 48438 | 0.99779 | 0.99779 | 0.9978
9 | K21-63-FI#1 | 0.14289 | 0.0061223 | 0.0047369 | 0.0038788 | 103.1109 | 0.011955 | 0.00051143 | 0.01197 | 12.043 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14289 | 0.0061223 | 0.14626 | 0.0053702 | -0.022772 | 0.0087642 | SupCrit | 103.341 | 0.01197 | 1285.3113 | 0.010263 | 126.1463 | 1285.3113 | 214.8594 | 0.62874 | 1.8769 | 0.66428 | 1.2575 | Flagged Warnings: | 1388.6523 | 0.0061615 | 236.0507 | 1388.6523 | 322.8394 | 0.53083 | 0 | 1.9097 | 0.53886 | 1.0617 | Flagged Warnings: | [15 empty] | 1.0407 | 1.0744 | 0.051195 | 0.0099685 | 1.1419 | 1.1256 | 0.15067 | 0.0044976 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:18:52 PM | 51532 | [11 empty] | 51532 | 0.99777 | 0.99777 | 0.99778
10 | K21-64-FI#1 | 0.12922 | 0.0039962 | 0.0010881 | 0.0038452 | 103.0764 | 0.0027462 | 0.00051241 | 0.002704 | 12.041 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12922 | 0.0039962 | 0.1324 | 0.0026261 | -0.047587 | 0.0027482 | SupCrit | 103.3069 | 0.002704 | 1285.4016 | 0.0024057 | 894.4253 | 1285.4017 | 1407.4798 | 0.58739 | 3.185 | 0.63707 | 1.1748 | Flagged Warnings: | 1388.7086 | 0.0012345 | 1646.2738 | 1388.7086 | 2156.2758 | 0.50434 | 0 | 2.5392 | 0.55934 | 1.0087 | Flagged Warnings: | 1265.1179 | 116.7717 | 0.89775 | 1410.0299 | 240.4895 | 0.65108 | 1370.3144 | 34.7192 | 0.25197 | [6 empty] | 1.2308 | 1.2461 | 0.2711 | 0.0013135 | 1.2 | 1.1807 | 0.20174 | 0.0006127 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:00 PM | 52620 | [11 empty] | 52620 | 0.99777 | 0.99776 | 0.99777
11 | K21-64-FI#2 | 0.12717 | 0.0041446 | 0.0015571 | 0.003841 | 103.0712 | 0.0039297 | 0.00051288 | 0.0039048 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12717 | 0.0041446 | 0.13032 | 0.002858 | -0.051344 | 0.003423 | SupCrit | 103.3018 | 0.0039048 | 1285.4075 | 0.0034648 | 522.3146 | 1285.4075 | 822.3224 | 0.55999 | 2.4643 | 0.75343 | 1.12 | Flagged Warnings: | 1388.7094 | 0.0018008 | 941.4786 | 1388.7093 | 1236.1436 | 0.50636 | 0 | 2.3668 | 0.55536 | 1.0127 | Flagged Warnings: | 1265.1974 | 93.2932 | 0.88792 | 1410.0351 | 142.0417 | 0.68556 | [9 empty] | 1.3209 | 1.3632 | 0.35937 | 0.0021442 | 1.1926 | 1.1751 | 0.19502 | 0.0010757 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:12 PM | 52872 | 1150.6872 | 353.6482 | 231.7962 | Spline | [5 empty] | 0.1718 | 0.069102 | 52872 | 0.99777 | 0.99776 | 0.99777
12 | K21-64-FI#3 | 0.12679 | 0.003939 | 0.00087669 | 0.0038402 | 103.0702 | 0.0022125 | 0.0005146 | 0.0021567 | 12.051 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12679 | 0.003939 | 0.12994 | 0.0025442 | -0.052031 | 0.002487 | SupCrit | 103.3011 | 0.0021567 | 1285.3809 | 0.0017366 | 1351.5572 | 1285.381 | 2160.427 | 0.58561 | 3.1109 | 0.68293 | 1.1712 | Flagged Warnings: | 1388.6821 | 0.0012788 | 2473.8307 | 1388.682 | 3286.976 | 0.5132 | 0 | 3.8043 | 0.55149 | 1.0264 | Flagged Warnings: | 1265.1404 | 230.634 | 0.7723 | 1410.0237 | 360.1075 | 0.65273 | 1371.8182 | 13.1593 | 0.25646 | [6 empty] | 1.1619 | 1.1728 | 0.18966 | 0.00086657 | 1.1831 | 1.1633 | 0.18788 | 0.0004149 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:14 PM | 53534 | 1150.6628 | 1111.3628 | 718.0259 | Spline | [5 empty] | 0.20402 | 0.08101 | 53534 | 0.99777 | 0.99776 | 0.99777
13 | K21-64-FI#4 | 0.10754 | 0.0039043 | 0.00084782 | 0.0038112 | 103.0216 | 0.0021397 | 0.00051539 | 0.0020813 | 12.06 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10754 | 0.0039043 | 0.1105 | 0.0025384 | -0.087493 | 0.0024799 | SupCrit | 103.2524 | 0.0020813 | 1285.587 | 0.0018914 | 858.2545 | 1285.5871 | 1177.0048 | 0.53105 | 2.1735 | 0.54495 | 1.0621 | Flagged Warnings: | 1388.8395 | 0.00086856 | 1548.1143 | 1388.8395 | 1820.4506 | 0.46048 | 0 | 2.2147 | 0.51608 | 0.92096 | Flagged Warnings: | 1265.3366 | 125.0317 | 0.71672 | 1410.1454 | 203.191 | 0.60796 | [9 empty] | 1.0656 | 1.0857 | 0.069646 | 0.0012375 | 1.0662 | 1.0697 | 0.06101 | 0.00059489 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:57:30 PM | 53850 | [11 empty] | 53850 | 0.99776 | 0.99776 | 0.99777
14 | K21-64-FI#5 | 0.1284 | 0.0039735 | 0.001008 | 0.0038435 | 103.0743 | 0.002544 | 0.00056859 | 0.0024852 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1284 | 0.0039735 | 0.13157 | 0.0025932 | -0.049084 | 0.0026457 | SupCrit | 103.306 | 0.0024852 | 1285.3738 | 0.0021966 | 1000.3757 | 1285.3738 | 1575.1373 | 0.58949 | 3.1759 | 0.62979 | 1.179 | Flagged Warnings: | 1388.6799 | 0.0011626 | 1878.0687 | 1388.6799 | 2486.959 | 0.51284 | 0 | 2.8565 | 0.54466 | 1.0257 | Flagged Warnings: | 1265.1124 | 151.2963 | 0.83205 | 1410.0092 | 275.7144 | 0.67297 | 1370.6059 | 31.8622 | 0.25627 | [6 empty] | 1.1412 | 1.1573 | 0.16652 | 0.0011785 | 1.1797 | 1.1637 | 0.18427 | 0.00054613 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:01 PM | 60661 | [11 empty] | 60661 | 0.99776 | 0.99775 | 0.99776
15 | K21-64-FI#6 | 0.12726 | 0.0040305 | 0.0012208 | 0.0038412 | 103.0714 | 0.0030808 | 0.00057202 | 0.0030341 | 12.071 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12726 | 0.0040305 | 0.13042 | 0.0026854 | -0.051167 | 0.0029314 | SupCrit | 103.3032 | 0.0030341 | 1285.3626 | 0.0026484 | 742.5474 | 1285.3627 | 1180.274 | 0.59289 | 2.7684 | 0.63881 | 1.1858 | Flagged Warnings: | 1388.6659 | 0.0014804 | 1383.7698 | 1388.6658 | 1829.3383 | 0.51457 | 0 | 2.69 | 0.53169 | 1.0291 | Flagged Warnings: | 1265.0391 | 82.8949 | 0.74739 | 1410.0034 | 199.4325 | 0.7052 | [9 empty] | 1.1401 | 1.1652 | 0.16608 | 0.0015969 | 1.1667 | 1.1533 | 0.17152 | 0.00074373 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:55:53 PM | 60953 | 1150.6383 | 625.9673 | 388.5169 | Spline | [5 empty] | 0.20799 | 0.082457 | 60953 | 0.99776 | 0.99775 | 0.99776
16 | K21-64-FI#7 | 0.12913 | 0.003974 | 0.0010042 | 0.003845 | 103.0762 | 0.0025344 | 0.00057545 | 0.0024738 | 12.067 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12913 | 0.003974 | 0.13231 | 0.0025916 | -0.04775 | 0.0026397 | SupCrit | 103.3079 | 0.0024738 | 1285.3415 | 0.0020487 | 1181.5734 | 1285.3415 | 1933.0424 | 0.60632 | 3.2917 | 0.65483 | 1.2126 | Flagged Warnings: | 1388.6495 | 0.0013864 | 2189.8855 | 1388.6494 | 2925.0755 | 0.51139 | 0 | 3.9333 | 0.57386 | 1.0228 | Flagged Warnings: | 1265.1043 | 207.7575 | 0.81419 | 1410.0098 | 342.6717 | 0.6649 | 1369.2366 | 14.9568 | 0.25559 | [6 empty] | 1.1033 | 1.1417 | 0.12522 | 0.0010263 | 1.1546 | 1.1461 | 0.15816 | 0.00046705 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:00:34 PM | 61234 | 1150.6383 | 1097.9354 | 693.8675 | Spline | [5 empty] | 0.226 | 0.088962 | 61234 | 0.99776 | 0.99775 | 0.99776
17 | K21-64-FI#8 | 0.12179 | 0.0043373 | 0.0020338 | 0.0038309 | 103.0576 | 0.0051327 | 0.00057929 | 0.0051114 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12179 | 0.0043373 | 0.12489 | 0.0031491 | -0.061183 | 0.0041912 | SupCrit | 103.2894 | 0.0051114 | 1285.3928 | 0 | 158.961 | 1285.3928 | 251.5428 | 0.61842 | 1.5074 | 0.5212 | 1.2368 | Flagged Warnings: | 1388.6821 | 0.0051114 | 296.4846 | 1388.6821 | 394.7554 | 0.51386 | 0 | 1.9947 | 0.55335 | 1.0277 | Flagged Warnings: | [15 empty] | 1.1148 | 1.1006 | 0.14193 | 0.0077807 | 1.1864 | 1.1738 | 0.19161 | 0.0034663 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:05:53 PM | 61553 | 1150.6383 | 102.3222 | 71.9385 | Spline | [5 empty] | 0.15832 | 0.064027 | 61553 | 0.99776 | 0.99775 | 0.99776