## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
0 | K21-71-FI#1-12mwx1 | 0.1451 | 0.0040034 | 0.00096609 | 0.0038851 | 103.1164 | 0.0024381 | 0.0006078 | 0.0023659 | 12.071 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1451 | 0.0040034 | 0.14851 | 0.0025741 | -0.018774 | 0.0025679 | SupCrit | 103.3239 | 0.0023659 | 1285.6094 | 0.0021154 | 1466.1103 | 1285.6095 | 2342.3776 | 0.59902 | 4.3287 | 0.62632 | 1.198 | Flagged Warnings: | 1388.9334 | 0.0010595 | 2787.2707 | 1388.9334 | 3593.0999 | 0.48914 | 0 | 3.9909 | 0.59639 | 0.97828 | Flagged Warnings: | 1265.4376 | 236.5546 | 0.82864 | 1410.3118 | 365.5286 | 0.6675 | [9 empty] | 1.0258 | 1.064 | 0.030895 | 0.00081715 | 1.2326 | 1.2454 | 0.22759 | 0.00035098 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:50:29 AM | 42629 | 1151.054 | 179.2673 | 118.0035 | Spline | [5 empty] | 0.030203 | 0.012882 | 42629 | 0.99799 | 0.99799 | 0.998
3 | K21-71-FI#1-6mwx1 | 0.14277 | 0.0040367 | 0.0011194 | 0.0038784 | 103.1106 | 0.0028249 | 0.0006064 | 0.0027646 | 6 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14277 | 0.0040367 | 0.14614 | 0.0026378 | -0.022981 | 0.0027669 | SupCrit | 103.3183 | 0.0027646 | 1285.6184 | 0.0024012 | 710.8654 | 1285.6184 | 1114.2991 | 0.59255 | 2.1318 | 0.60583 | 1.1851 | Flagged Warnings: | 1388.9368 | 0.0013703 | 1321.6105 | 1388.9367 | 1719.7223 | 0.48784 | 0 | 2.4723 | 0.62635 | 0.97568 | Flagged Warnings: | 1265.3524 | 97.5704 | 0.75368 | 1410.3088 | 187.6225 | 0.70516 | [9 empty] | 1.0086 | 1.0184 | 0.010187 | 0.0016671 | 1.2413 | 1.2599 | 0.23539 | 0.00073825 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:55:02 AM | 42902 | 1151.1519 | 72.4385 | 58.7347 | Spline | [5 empty] | 0.02556 | 0.010923 | 42902 | 0.99799 | 0.99798 | 0.998
4 | K21-71-FI#1-6mwx2 | 0.14272 | 0.0040787 | 0.0012626 | 0.0038783 | 103.1105 | 0.0031865 | 0.0006052 | 0.0031348 | 6.001 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14272 | 0.0040787 | 0.14609 | 0.0027038 | -0.023066 | 0.0029615 | SupCrit | 103.3185 | 0.0031348 | 1285.6273 | 0.0027633 | 722.0263 | 1285.6274 | 1122.1328 | 0.58847 | 2.5916 | 0.6017 | 1.1769 | Flagged Warnings: | 1388.9459 | 0.0014803 | 1334.0182 | 1388.9458 | 1703.1284 | 0.48625 | 0 | 2.6974 | 0.58697 | 0.97251 | Flagged Warnings: | 1265.4051 | 108.5317 | 0.88574 | 1410.2702 | 186.0305 | 0.65188 | [9 empty] | 1 | 1.0418 | 0 | 0.00163 | 1.2254 | 1.2487 | 0.21916 | 0.00072901 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:59:08 AM | 43148 | 1151.103 | 71.7298 | 56.2245 | Spline | [5 empty] | 0.025389 | 0.010851 | 43148 | 0.99799 | 0.99798 | 0.99799
5 | K21-71-FI#1-6mwx3 | 0.13827 | 0.0040954 | 0.0013502 | 0.0038664 | 103.0992 | 0.0034075 | 0.00060388 | 0.0033604 | 6.009 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13827 | 0.0040954 | 0.14157 | 0.0027474 | -0.031122 | 0.0030938 | SupCrit | 103.3075 | 0.0033604 | 1285.6378 | 0.0029899 | 646.2264 | 1285.6379 | 1008.6321 | 0.58804 | 2.5129 | 0.61424 | 1.1761 | Flagged Warnings: | 1388.9454 | 0.0015339 | 1210.39 | 1388.9454 | 1536.4855 | 0.48235 | 0 | 2.4773 | 0.59287 | 0.9647 | Flagged Warnings: | 1265.4619 | 107.2041 | 0.82304 | 1410.3533 | 166.3695 | 0.65548 | [9 empty] | 1.0233 | 1.029 | 0.027431 | 0.0018199 | 1.2384 | 1.2622 | 0.23002 | 0.00079701 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:03:32 PM | 43412 | 1151.0051 | 69.3549 | 47.5757 | Spline | [5 empty] | 0.02725 | 0.011637 | 43412 | 0.99798 | 0.99798 | 0.99799
1 | K21-71-FI#1-12mwx2 | 0.13274 | 0.0040135 | 0.0011235 | 0.003853 | 103.0852 | 0.0028355 | 0.0006023 | 0.0027764 | 11.948 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13274 | 0.0040135 | 0.13596 | 0.0026408 | -0.041179 | 0.0027893 | SupCrit | 103.2938 | 0.0027764 | 1285.6831 | 0.0023918 | 1037.5058 | 1285.6832 | 1577.8838 | 0.57949 | 3.2758 | 0.58597 | 1.159 | Flagged Warnings: | 1388.9771 | 0.0014098 | 1919.4556 | 1388.977 | 2421.8513 | 0.47944 | 0 | 4.13 | 0.5928 | 0.95888 | Flagged Warnings: | 1265.3982 | 162.0345 | 0.76354 | 1410.3359 | 276.464 | 0.6773 | [9 empty] | 1.0939 | 1.0447 | 0.10887 | 0.0011171 | 1.1993 | 1.2404 | 0.19108 | 0.00049956 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:08:57 PM | 43737 | 1151.1274 | 107.0143 | 82.2438 | Spline | [5 empty] | 0.026755 | 0.011428 | 43737 | 0.99798 | 0.99797 | 0.99799
2 | K21-71-FI#1-12mwx3 | 0.13242 | 0.0041282 | 0.001484 | 0.0038523 | 103.0844 | 0.0037452 | 0.00060126 | 0.0037041 | 11.963 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13242 | 0.0041282 | 0.13563 | 0.0028177 | -0.041762 | 0.0033015 | SupCrit | 103.2933 | 0.0037041 | 1285.6839 | 0.0033284 | 773.6439 | 1285.6839 | 1178.0527 | 0.58712 | 3.3683 | 0.55597 | 1.1742 | Flagged Warnings: | 1388.9772 | 0.0016255 | 1445.0184 | 1388.9772 | 1847.7698 | 0.4878 | 0 | 3.2265 | 0.58293 | 0.97561 | Flagged Warnings: | 1265.4856 | 130.698 | 0.65894 | 1410.2906 | 212.3714 | 0.63627 | [9 empty] | 1.0961 | 1.0507 | 0.11284 | 0.0015178 | 1.2043 | 1.2366 | 0.19932 | 0.00067515 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:12:48 PM | 43968 | 1151.103 | 70.6033 | 51.4238 | Spline | [5 empty] | 0.023334 | 0.0099812 | 43968 | 0.99798 | 0.99797 | 0.99798
6 | K21-72-FI#1 | 0.015708 | 0.016489 | 0.016013 | 0.003932 | 102.7899 | 0.040413 | 0.00059305 | 0.040492 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015708 | 0.016489 | 0.018932 | 0.016024 | -0.26356 | 0.031767 | SupCrit | 102.9997 | 0.040492 | 1286.4902 | 0.036418 | 85.7951 | 1286.4902 | 74.514 | 0.35167 | 3.1185 | 0.42802 | 0.70334 | Flagged Warnings: | 1389.4898 | 0.017701 | 114.5585 | 1389.4898 | 112.6124 | 0.42483 | 0 | 2.6819 | 0.24801 | 0.84965 | Flagged Warnings: | [15 empty] | 1.34 | 1.4013 | 0.23914 | 0.0081979 | 1.1952 | 1.2099 | 0.16587 | 0.0074168 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:39:45 PM | 45585 | [11 empty] | 45585 | 0.99796 | 0.99796 | 0.99797
7 | K21-72-FI#2 | 0.097431 | 0.0048181 | 0.0029576 | 0.0038034 | 102.9961 | 0.0074642 | 0.00059314 | 0.0074558 | 12.054 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.097431 | 0.0048181 | 0.10034 | 0.0038153 | -0.10631 | 0.0058527 | SupCrit | 103.2066 | 0.0074558 | 1285.9037 | 0.0062607 | 303.6617 | 1285.9038 | 413.9407 | 0.50802 | 3.1057 | 0.64095 | 1.016 | Flagged Warnings: | 1389.1104 | 0.0040487 | 507.2537 | 1389.1104 | 602.7242 | 0.47106 | 0 | 2.8372 | 0.48413 | 0.94211 | Flagged Warnings: | 1265.6945 | 28.243 | 0.43043 | 1410.4627 | 79.5487 | 0.67172 | [9 empty] | 1.0494 | 1.0498 | 0.050211 | 0.003346 | 1.0327 | 1.0427 | 0.030833 | 0.0018573 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:44:56 PM | 45896 | [11 empty] | 45896 | 0.99796 | 0.99796 | 0.99797
8 | K21-73-FI#2 | -0.025142 | 0 | 0 | 0 | 102.6868 | 0.095791 | 0.000588 | 0.095985 | 12.106 | 1325.004 | 0 | 0 | N | Below lower calibration limit |  |  | -0.025142 | 0.038179 | -0.021365 | 0.037447 | -0.34557 | 0.077284 | SupCrit | 102.8975 | 0.095985 | 1286.572 | 0.073715 | 28.1831 | 1286.572 | 28.1171 | 0.41891 | 2.5831 | 0.32908 | 0.83782 | Flagged Warnings: | 1389.4695 | 0.061476 | 57.9143 | 1389.4695 | 38.671 | 0.31364 | 0 | 2.5695 | 3.0965e-12 | 0.62729 | Flagged Warnings: | [15 empty] | 1.139 | 1.1098 | 0.11645 | 0.029728 | 1.2244 | 1.3333 | 0.14076 | 0.010831 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:02:28 PM | 46948 | [11 empty] | 46948 | 0.99795 | 0.99795 | 0.99796
9 | K21-74-FI#1 | 0.040963 | 0.010509 | 0.0097762 | 0.0038567 | 102.8536 | 0.024672 | 0.00058597 | 0.024716 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.040963 | 0.010509 | 0.04396 | 0.010004 | -0.21399 | 0.019122 | SupCrit | 103.0655 | 0.024716 | 1286.3391 | 0.021826 | 664.8736 | 1286.3391 | 648.3951 | 0.45808 | 15.164 | 6.0908e-08 | 0.91615 | Flagged Warnings: | 1389.4046 | 0.011598 | 1091.1078 | 1389.4046 | 1006.2022 | 0.41121 | 0 | 9.4174 | 0.15733 | 0.82242 | Flagged Warnings: |  |  |  | 1410.6684 | 146.8017 | 0.46154 | [9 empty] | 1.2331 | 1.2478 | 0.21354 | 0.0013779 | 1.1828 | 1.184 | 0.15037 | 0.00075375 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:21:19 PM | 48079 | [11 empty] | 48079 | 0.99794 | 0.99794 | 0.99795
10 | K21-74-FI#2 | 0.051112 | 0.0062998 | 0.0049979 | 0.0038352 | 102.8792 | 0.012613 | 0.00058556 | 0.012626 | 12.015 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.051112 | 0.0062998 | 0.054047 | 0.0055256 | -0.19432 | 0.0098526 | SupCrit | 103.0913 | 0.012626 | 1286.2422 | 0.011516 | 715.0566 | 1286.2422 | 805.1378 | 0.4529 | 11.0093 | 0.44574 | 0.9058 | Flagged Warnings: | 1389.3336 | 0.0051753 | 1145.3109 | 1389.3335 | 1098.0338 | 0.42341 | 0 | 10.3557 | 0.18547 | 0.84682 | Flagged Warnings: |  |  |  | 1410.6518 | 126.1111 | 0.54919 | [9 empty] | 1.1308 | 1.1837 | 0.11845 | 0.0012668 | 1.0966 | 1.0934 | 0.081762 | 0.00073938 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:25:25 PM | 48325 | [11 empty] | 48325 | 0.99794 | 0.99794 | 0.99795
11 | K21-74-FI#3 | 0.029266 | 0.018763 | 0.018355 | 0.0038878 | 102.8241 | 0.046324 | 0.00058442 | 0.046416 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.029266 | 0.018763 | 0.032356 | 0.018353 | -0.23684 | 0.036057 | SupCrit | 103.0363 | 0.046416 | 1286.4587 | 0.042147 | 320.2105 | 1286.4587 | 207.0213 | 0.20579 | 7.7115 | 1 | 0.41159 | Flagged Warnings: | 1389.495 | 0.019442 | 255.4708 | 1389.495 | 223.6275 | 0.40502 | 0 | 7.0102 | 0.046395 | 0.81004 | Flagged Warnings: | [15 empty] | 1.4427 | 1.5321 | 0.18223 | 0.0012854 | 1.2069 | 1.2458 | 0.16759 | 0.0031708 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:31:55 PM | 48715 | [11 empty] | 48715 | 0.99794 | 0.99793 | 0.99795
12 | K21-74-FI#4 | 0.034457 | 0.027333 | 0.027057 | 0.0038732 | 102.8372 | 0.068285 | 0.00058392 | 0.068423 | 11.998 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034457 | 0.027333 | 0.037503 | 0.026951 | -0.22668 | 0.052916 | SupCrit | 103.0496 | 0.068423 | 1286.2084 | 0.062144 | 163.2337 | 1286.2084 | 217.4379 | 0.47048 | 10.2602 | 0.76957 | 0.94097 | Flagged Warnings: | 1389.2581 | 0.028633 | 247.2782 | 1389.258 | 248.3445 | 0.47182 | 0 | 11.113 | 7.7433e-12 | 0.94364 | Flagged Warnings: |  |  |  | 1410.2703 | 89.6109 | 1.2384 | [9 empty] | 1.0652 | 1.0954 | 0.061368 | 0.0057646 | 1.1673 | 1.1576 | 0.15785 | 0.0038161 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:36:54 PM | 49014 | [11 empty] | 49014 | 0.99794 | 0.99793 | 0.99794
13 | K21-74-FI#5 | 0.036544 | 0.0093293 | 0.0084898 | 0.0038677 | 102.8425 | 0.021426 | 0.0005834 | 0.021462 | 12.067 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.036544 | 0.0093293 | 0.039573 | 0.0087641 | -0.2226 | 0.016686 | SupCrit | 103.0551 | 0.021462 | 1286.3304 | 0.020304 | 398.3155 | 1286.3304 | 411.8818 | 0.39211 | 8.8355 | 0.59786 | 0.78423 | Flagged Warnings: | 1389.3856 | 0.0069563 | 601.4533 | 1389.3855 | 547.7755 | 0.42132 | 0 | 7.5495 | 0.047116 | 0.84263 | Flagged Warnings: |  |  |  | 1410.6997 | 77.3609 | 0.56945 | [9 empty] | 1.2823 | 1.3912 | 0.22135 | 0.0019689 | 1.0842 | 1.0812 | 0.070959 | 0.001401 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:42:00 PM | 49320 | [11 empty] | 49320 | 0.99794 | 0.99793 | 0.99794
14 | K21-74-FI#5rep2 | 0.030617 | 0.0078982 | 0.0068773 | 0.0038838 | 102.8275 | 0.017356 | 0.00058285 | 0.017382 | 12.09 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.030617 | 0.0078982 | 0.033695 | 0.007234 | -0.23419 | 0.013622 | SupCrit | 103.0403 | 0.017382 | 1286.3357 | 0.01611 | 349.3202 | 1286.3357 | 368.9472 | 0.39976 | 5.7626 | 0.60249 | 0.79953 | Flagged Warnings: | 1389.3761 | 0.006529 | 519.5684 | 1389.376 | 448.8641 | 0.40581 | 0 | 6.3143 | 1.4102e-06 | 0.81161 | Flagged Warnings: | 1265.8358 | 368.1537 | 0.10251 | 1410.5048 | 50.4257 | 0.31956 | [9 empty] | 1.2412 | 1.2749 | 0.19288 | 0.0022888 | 1.0667 | 1.0618 | 0.054108 | 0.0015621 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:46:47 PM | 49607 | [11 empty] | 49607 | 0.99794 | 0.99793 | 0.99794
15 | K21-74-FI#6 | 0.034947 | 0.0084692 | 0.0075324 | 0.0038719 | 102.8385 | 0.01901 | 0.00058217 | 0.01904 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034947 | 0.0084692 | 0.037989 | 0.0078535 | -0.22572 | 0.014849 | SupCrit | 103.0515 | 0.01904 | 1286.3299 | 0.017938 | 463.6165 | 1286.3299 | 518.0351 | 0.40643 | 9.7111 | 0.69997 | 0.81286 | Flagged Warnings: | 1389.3814 | 0.0063847 | 652.9326 | 1389.3814 | 581.9807 | 0.41815 | 0 | 7.2159 | 0.0039714 | 0.83629 | Flagged Warnings: |  |  |  | 1410.6607 | 66.2756 | 0.54235 | [9 empty] | 1.2646 | 1.3313 | 0.21508 | 0.0017533 | 1.1036 | 1.1032 | 0.086616 | 0.0012808 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:55:39 PM | 50139 | [11 empty] | 50139 | 0.99793 | 0.99793 | 0.99794
16 | K21-75-FI#1_r1 | 0.11248 | 0.0058698 | 0.0044594 | 0.0038168 | 103.0341 | 0.011254 | 0.00058245 | 0.011262 | 12.04 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11248 | 0.0058698 | 0.11549 | 0.005091 | -0.078333 | 0.0084608 | SupCrit | 103.248 | 0.011262 | 1285.7621 | 0.0098452 | 141.4725 | 1285.7621 | 223.3445 | 0.57836 | 1.9145 | 0.68271 | 1.1567 | Flagged Warnings: | 1389.0101 | 0.0054696 | 260.4301 | 1389.0101 | 321.6911 | 0.4668 | 0 | 1.6863 | 0.60638 | 0.93361 | Flagged Warnings: | [15 empty] | 1.1667 | 1.0832 | 0.19279 | 0.0081763 | 1.1413 | 1.1978 | 0.13188 | 0.0035849 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:08:37 PM | 50917 | 1151.054 | 46.6615 | 28.3057 | Spline | [5 empty] | 0.085612 | 0.035671 | 50917 | 0.99793 | 0.99792 | 0.99793
18 | K21-75-FI#2_r1 | 0.1153 | 0.0041529 | 0.0016278 | 0.0038206 | 103.0412 | 0.0041082 | 0.00058268 | 0.0040751 | 11.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1153 | 0.0041529 | 0.11833 | 0.0028982 | -0.073136 | 0.0035588 | SupCrit | 103.2565 | 0.0040751 | 1285.8188 | 0.0035893 | 576.8411 | 1285.8189 | 812.1759 | 0.56557 | 2.8681 | 0.44942 | 1.1311 | Flagged Warnings: | 1389.0755 | 0.0019296 | 1058.3255 | 1389.0754 | 1260.1735 | 0.46762 | 0 | 2.7912 | 0.50871 | 0.93523 | Flagged Warnings: | 1265.4141 | 73.5883 | 0.74808 | 1410.4067 | 141.9908 | 0.61277 | [9 empty] | 1.0425 | 1.0064 | 0.048066 | 0.0019609 | 1.0292 | 1.0457 | 0.027306 | 0.00088369 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:05:25 PM | 54325 | [11 empty] | 54325 | 0.99792 | 0.99791 | 0.99792
17 | K21-75-FI#1_r2 | 0.095878 | 0.0038937 | 0.0008366 | 0.0038027 | 102.9922 | 0.0021114 | 0.00058313 | 0.0020335 | 12.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095878 | 0.0038937 | 0.098781 | 0.0025375 | -0.10921 | 0.0024829 | SupCrit | 103.2076 | 0.0020335 | 1285.9473 | 0.0016846 | 1202.1152 | 1285.9474 | 1580.7956 | 0.49581 | 3.2808 | 0.61234 | 0.99162 | Flagged Warnings: | 1389.155 | 0.001139 | 2032.3467 | 1389.155 | 2293.7752 | 0.44695 | 0 | 2.9748 | 0.48691 | 0.89391 | Flagged Warnings: | 1265.6526 | 186.0698 | 0.70411 | 1410.5152 | 238.4213 | 0.47299 | 1369.6898 | 14.9442 | 0.22341 | [6 empty] | 1.2071 | 1.213 | 0.20538 | 0.00082489 | 1.1081 | 1.1487 | 0.096638 | 0.00043984 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:16:00 PM | 54960 | [11 empty] | 54960 | 0.99791 | 0.99791 | 0.99792
19 | K21-75-FI#2_r2 | 0.10032 | 0.0038915 | 0.00081518 | 0.0038051 | 103.0034 | 0.0020573 | 0.00058364 | 0.0019769 | 12.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10032 | 0.0038915 | 0.10324 | 0.0025293 | -0.10091 | 0.0024518 | SupCrit | 103.2189 | 0.0019769 | 1285.9089 | 0.0015856 | 1159.2366 | 1285.9089 | 1546.9436 | 0.49596 | 3.0914 | 0.64781 | 0.99193 | Flagged Warnings: | 1389.1279 | 0.0011806 | 1928.9796 | 1389.1279 | 2207.0756 | 0.4494 | 0 | 3.3487 | 0.50831 | 0.8988 | Flagged Warnings: | 1265.6334 | 169.8048 | 0.65912 | 1410.4667 | 254.864 | 0.53186 | 1369.8097 | 5.752 | 0.22464 | [6 empty] | 1.0838 | 1.0864 | 0.083156 | 0.00085567 | 1.0611 | 1.0852 | 0.054889 | 0.00046595 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:21:24 PM | 55284 | [11 empty] | 55284 | 0.99791 | 0.99791 | 0.99792
20 | K21-75-FI#3 | 0.09322 | 0.0039504 | 0.0010732 | 0.0038018 | 102.9855 | 0.0027085 | 0.00058403 | 0.0026503 | 12.075 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09322 | 0.0039504 | 0.096113 | 0.0026262 | -0.11419 | 0.0027876 | SupCrit | 103.2011 | 0.0026503 | 1285.9672 | 0.0023636 | 1088.3212 | 1285.9673 | 1409.0831 | 0.4752 | 4.0677 | 0.67851 | 0.95039 | Flagged Warnings: | 1389.1684 | 0.0011991 | 1800.8514 | 1389.1683 | 1983.9945 | 0.44024 | 0 | 3.1049 | 0.46322 | 0.88048 | Flagged Warnings: | 1265.7539 | 177.0407 | 0.80354 | 1410.514 | 224.8938 | 0.50168 | 1370.7728 | 39.4835 | 0.22003 | [6 empty] | 1.2399 | 1.2468 | 0.22797 | 0.00087326 | 1.1294 | 1.1761 | 0.11394 | 0.00048893 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:26:36 PM | 55596 | [11 empty] | 55596 | 0.99791 | 0.99791 | 0.99792
22 | K21-78b-FI#2 | 0.0053526 | 0.060983 | 0.060854 | 0.0039716 | 102.7638 | 0.15358 | 0.0005886 | 0.1539 | 12.076 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0053526 | 0.060983 | 0.0086979 | 0.060195 | -0.28414 | 0.12136 | SupCrit | 102.9794 | 0.1539 | 1286.4873 | 0.15079 | 71.4977 | 1286.4873 | 62.7969 | 0.27957 | 2.7797 | 1 | 0.55915 | Flagged Warnings: | 1389.4666 | 0.030781 | 84.9832 | 1389.4666 | 64.9064 | 0.35875 | 0 | 3.2041 | 9.8501e-08 | 0.7175 | Flagged Warnings: | [15 empty] | 1.2874 | 1.3498 | 0.1607 | 0.0078205 | 1.2455 | 1.311 | 0.17617 | 0.0084428 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:08:54 PM | 58134 | [11 empty] | 58134 | 0.99791 | 0.9979 | 0.99791
23 | K21-78b-FI#3 | 0.010526 | 0.010695 | 0.0099382 | 0.0039512 | 102.7768 | 0.025081 | 0.00058964 | 0.025127 | 12.077 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.010526 | 0.010695 | 0.013809 | 0.010118 | -0.27384 | 0.019848 | SupCrit | 102.9925 | 0.025127 | 1286.4827 | 0.019028 | 106.1845 | 1286.4827 | 98.821 | 0.43714 | 3.0379 | 3.4676e-06 | 0.87429 | Flagged Warnings: | 1389.4752 | 0.01641 | 199.534 | 1389.4752 | 172.9382 | 0.34872 | 0 | 3.0781 | 0.44495 | 0.69744 | Flagged Warnings: | [15 empty] | 1.2316 | 1.2522 | 0.2025 | 0.0082337 | 1.207 | 1.2803 | 0.1444 | 0.0034953 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:14:12 PM | 58452 | [11 empty] | 58452 | 0.99791 | 0.9979 | 0.99791
24 | K21-78b-FI#4 | 0 | 0 | 0 | 0 | 102.7514 | 0.018818 | 0.00059055 | 0.018848 | 12.08 | 1325.004 | 0 | 0 | Y | not in range |  |  | 0.00047045 | 0.0084578 | 0.0038775 | 0.0077513 | -0.29389 | 0.015053 | SupCrit | 102.9671 | 0.018848 | 1286.5101 | 0.015158 | 122.1968 | 1286.5101 | 111.0812 | 0.42579 | 2.7618 | 0.0087148 | 0.85158 | Flagged Warnings: | 1389.4772 | 0.011203 | 169.5127 | 1389.4772 | 146.3518 | 0.40554 | 0 | 3.0087 | 2.416e-09 | 0.81108 | Flagged Warnings: | [15 empty] | 1.3307 | 1.3943 | 0.2816 | 0.0069689 | 1.2395 | 1.2928 | 0.19425 | 0.0047848 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:19:42 PM | 58782 | [11 empty] | 58782 | 0.99791 | 0.9979 | 0.99791
25 | K21-78b-FI#5 | 0.0097131 | 0.0096373 | 0.0087887 | 0.0039543 | 102.7748 | 0.02218 | 0.00059215 | 0.022219 | 12.083 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0097131 | 0.0096373 | 0.013006 | 0.0090184 | -0.27545 | 0.017587 | SupCrit | 102.9906 | 0.022219 | 1286.489 | 0.016738 | 105.104 | 1286.489 | 93.3374 | 0.41713 | 2.6613 | 7.3092e-08 | 0.83427 | Flagged Warnings: | 1389.4796 | 0.014613 | 174.0212 | 1389.4796 | 145.9576 | 0.35448 | 0 | 2.5382 | 0.31099 | 0.70895 | Flagged Warnings: | [15 empty] | 1.2082 | 1.216 | 0.17368 | 0.0079375 | 1.2197 | 1.3028 | 0.15578 | 0.0040739 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:26:53 PM | 59213 | [11 empty] | 59213 | 0.9979 | 0.9979 | 0.99791
21 | K21-77-FI#1 | 0.12673 | 0.0039786 | 0.0010404 | 0.0038401 | 103.0701 | 0.0026257 | 0.00059767 | 0.0025621 | 12.017 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12673 | 0.0039786 | 0.12987 | 0.0026066 | -0.052146 | 0.0026898 | SupCrit | 103.2866 | 0.0025621 | 1285.7622 | 0.0021632 | 878.1311 | 1285.7623 | 1253.6904 | 0.55194 | 2.543 | 0.54919 | 1.1039 | Flagged Warnings: | 1389.0489 | 0.001373 | 1556.069 | 1389.0489 | 1910.5355 | 0.47262 | 0 | 2.9174 | 0.56009 | 0.94524 | Flagged Warnings: | 1265.5645 | 131.7817 | 0.70893 | 1410.3627 | 200.0894 | 0.61619 | [9 empty] | 1.1767 | 1.1392 | 0.19501 | 0.0012571 | 1.073 | 1.0997 | 0.068996 | 0.00060745 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:43:48 PM | 60228 |  |  |  |  | 1092.2551 | 1084.2559 | 69.0764 | Spline | 0.34266 |  |  | 60228 | 0.9979 | 0.9979 | 0.99791