## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values | date_object
0 | K21-51rep1 | 0.13486 | 0.0068775 | 0.0056936 | 0.003858 | 103.0906 | 0.014369 | 0.00055526 | 0.014389 | 12.075 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13486 | 0.0068775 | 0.13811 | 0.0062457 | -0.037315 | 0.010521 | SupCrit | 103.308 | 0.014389 | 1285.5631 | 0.013078 | 177.4853 | 1285.5631 | 269.6464 | 0.57569 | 2.9379 | 0.59963 | 1.1514 | Flagged Warnings: | 1388.8711 | 0.0059986 | 346.9299 | 1388.8711 | 449.7753 | 0.4557 | 0 | 3.1863 | 0.78079 | 0.9114 | Flagged Warnings: | [15 empty] | 1.0846 | 1.0563 | 0.097398 | 0.0064872 | 1.1688 | 1.1654 | 0.15387 | 0.002627 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:53:53 AM | 42833 | 1151.054 | 18.4576 | 16.5713 | Spline | [5 empty] | 0.025656 | 0.010964 | 42833 | 0.9979 | 0.99789 | 0.9979 | 2022-10-26
1 | K21-51rep2 | 0.1411 | 0.0045918 | 0.0024653 | 0.0038739 | 103.1064 | 0.0062217 | 0.00055394 | 0.00621 | 12.095 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1411 | 0.0045918 | 0.14445 | 0.003455 | -0.025994 | 0.0048438 | SupCrit | 103.3243 | 0.00621 | 1285.5581 | 0.0059132 | 333.7965 | 1285.5581 | 502.5561 | 0.56417 | 2.5692 | 0.62744 | 1.1283 | Flagged Warnings: | 1388.8825 | 0.001897 | 598.392 | 1388.8824 | 783.053 | 0.49764 | 0 | 1.9163 | 0.59078 | 0.99528 | Flagged Warnings: |  |  |  | 1410.172 | 76.9566 | 0.58333 | [9 empty] | 1.1266 | 1.1542 | 0.14283 | 0.0033803 | 1.1839 | 1.1845 | 0.183 | 0.0016633 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:00:22 PM | 43222 | 1150.8584 | 53.2936 | 32.5035 | Spline | [5 empty] | 0.041454 | 0.017596 | 43222 | 0.99789 | 0.99789 | 0.9979 | 2022-10-26
2 | K21-51rep3 | 0.13369 | 0.0049506 | 0.0031058 | 0.0038552 | 103.0877 | 0.0078382 | 0.00055286 | 0.0078353 | 12.131 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13369 | 0.0049506 | 0.13693 | 0.0039483 | -0.039439 | 0.0059598 | SupCrit | 103.3059 | 0.0078353 | 1285.6052 | 0.0072406 | 258.6189 | 1285.6052 | 396.2085 | 0.58728 | 2.3284 | 0.57053 | 1.1746 | Flagged Warnings: | 1388.9112 | 0.0029942 | 466.6166 | 1388.9111 | 590.3247 | 0.47017 | 0 | 2.1913 | 0.64798 | 0.94034 | Flagged Warnings: |  |  |  | 1410.2615 | 79.0885 | 0.72163 | [9 empty] | 1.0352 | 1.0442 | 0.041333 | 0.0045416 | 1.2431 | 1.256 | 0.22855 | 0.0020152 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:05:15 PM | 43515 | 1150.8829 | 32.0574 | 28.8757 | Spline | [5 empty] | 0.032495 | 0.013846 | 43515 | 0.99789 | 0.99788 | 0.99789 | 2022-10-26
3 | K21-53-FI#4 | 0.017623 | 0.0077325 | 0.0066621 | 0.0039252 | 102.7947 | 0.016813 | 0.0005448 | 0.016841 | 19.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.017623 | 0.0077325 | 0.020827 | 0.0070229 | -0.25977 | 0.013323 | SupCrit | 103.0178 | 0.016841 | 1286.4203 | 0.012852 | 83.7286 | 1286.4203 | 72.6203 | 0.4074 | 1.8503 | 2.7592e-09 | 0.8148 | Flagged Warnings: | 1389.4381 | 0.010884 | 124.3133 | 1389.4381 | 117.7078 | 0.40513 | 0 | 1.9795 | 0.27643 | 0.81026 | Flagged Warnings: | [15 empty] | 1.01 | 1.0216 | 0.0081753 | 0.0097315 | 1.2132 | 1.2263 | 0.17273 | 0.0065179 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:25:13 PM | 48313 | [11 empty] | 48313 | 0.99783 | 0.99783 | 0.99784 | 2022-10-26
4 | K21-54-FI#2 | 0.10244 | 0.0046402 | 0.0026536 | 0.0038066 | 103.0088 | 0.0066969 | 0.00055322 | 0.0066887 | 11.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10244 | 0.0046402 | 0.10538 | 0.0035838 | -0.096955 | 0.0053011 | SupCrit | 103.2357 | 0.0066887 | 1285.8871 | 0.0058219 | 322.8783 | 1285.8871 | 439.837 | 0.51659 | 2.744 | 0.59769 | 1.0332 | Flagged Warnings: | 1389.1229 | 0.0032931 | 557.3043 | 1389.1228 | 637.091 | 0.46519 | 0 | 2.4265 | 0.41477 | 0.93039 | Flagged Warnings: |  |  |  | 1410.4609 | 69.7752 | 0.43233 | [9 empty] | 1.0086 | 1.0179 | 0.0088559 | 0.0031999 | 1.0556 | 1.0658 | 0.051688 | 0.0016694 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:26:10 PM | 51970 | [11 empty] | 51970 | 0.9978 | 0.9978 | 0.99781 | 2022-10-26
5 | K21-54-FI#4 | 0.068174 | 0.027324 | 0.027057 | 0.0038107 | 102.9223 | 0.068284 | 0.00055859 | 0.068433 | 11.973 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.068174 | 0.027324 | 0.071048 | 0.027116 | -0.16156 | 0.051674 | SupCrit | 103.1502 | 0.068433 | 1286.4402 | 0.040882 | 48.0136 | 1286.4402 | 26.0492 | 0.1727 | 2.376 | 0.99999 | 0.34539 | Flagged Warnings: | 1389.5903 | 0.05488 | 29.6272 | 1389.5903 | 28.5551 | 0.43483 | 0 | 2.428 | 0.1226 | 0.86966 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.3272 | 1.3917 | 0.11301 | 0.0071936 | 1.0615 | 1.0701 | 0.053463 | 0.029353 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:50:38 PM | 53438 | [11 empty] | 53438 | 0.99779 | 0.99779 | 0.9978 | 2022-10-26
6 | K21-55-FI#1 | 0.022745 | 1.996 | 1.996 | 0.003908 | 102.8077 | 5.0373 | 0.00056024 | 5.0484 | 11.962 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.022745 | 1.996 | 0.025897 | 3.4768 | -0.24966 | 3.9326 | SupCrit | 103.0356 | 5.0484 | 1286.4598 | 5.0481 | 66.3209 | 1286.4598 | 29.4602 | 0.20865 | 3.4854 | 1.7977e-09 | 0.4173 | Flagged Warnings: | 1389.4954 | 0.059497 | 36.0336 | 1389.4954 | 31.8796 | 0.41557 | 0 | 3.0705 | 1.9778e-07 | 0.83114 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.1905 | 1.1951 | 0.079486 | 0.0062922 | 1.2696 | 1.3973 | 0.22405 | 0.023066 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:58:43 PM | 53923 | [11 empty] | 53923 | 0.99779 | 0.99778 | 0.99779 | 2022-10-26
7 | K21-56-FI#1 | 0.084951 | 0.01536 | 0.014883 | 0.0038012 | 102.9646 | 0.03756 | 0.00056684 | 0.037639 | 12.089 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.084951 | 0.01536 | 0.087822 | 0.015099 | -0.12973 | 0.02813 | SupCrit | 103.1936 | 0.037639 | 1285.9171 | 0.034555 | 46.1416 | 1285.9171 | 89.881 | 0.62005 | 2.7049 | 1 | 1.2401 | Flagged Warnings: | 1389.1108 | 0.014922 | 78.4045 | 1389.1108 | 94.6085 | 0.46354 | 0 | 1.5075 | 0.56516 | 0.92708 | Flagged Warnings: | [15 empty] | 1.0434 | 1.0428 | 0.053771 | 0.026876 | 1.0296 | 1.0436 | 0.027469 | 0.011824 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:16:51 PM | 55011 | [11 empty] | 55011 | 0.99778 | 0.99778 | 0.99779 | 2022-10-26
8 | K21-57-FI#1 | 0.14177 | 0.0039914 | 0.00095398 | 0.0038757 | 103.1081 | 0.0024076 | 0.00057384 | 0.0023434 | 12.046 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14177 | 0.0039914 | 0.14513 | 0.0025699 | -0.024785 | 0.0025581 | SupCrit | 103.3379 | 0.0023434 | 1285.6136 | 0.0020553 | 844.8634 | 1285.6137 | 1315.0173 | 0.59032 | 2.1595 | 0.59764 | 1.1806 | Flagged Warnings: | 1388.9516 | 0.0011258 | 1560.014 | 1388.9516 | 2012.2181 | 0.48584 | 0 | 2.1039 | 0.61476 | 0.97168 | Flagged Warnings: | 1265.4208 | 132.1432 | 0.74562 | 1410.2986 | 205.7633 | 0.69718 | [9 empty] | 1.0233 | 1.0416 | 0.027457 | 0.0013974 | 1.234 | 1.2574 | 0.22741 | 0.00062286 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:34:00 PM | 56040 |  |  |  |  | 1091.6078 | 106.7397 | 12.4058 | Spline | 0.032081 |  |  | 56040 | 0.99778 | 0.99777 | 0.99778 | 2022-10-26
9 | K21-57-FI#2 | 0.11977 | 0.0044825 | 0.0023331 | 0.0038275 | 103.0525 | 0.0058881 | 0.00057558 | 0.0058729 | 12.024 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11977 | 0.0044825 | 0.12284 | 0.0033539 | -0.0649 | 0.0046937 | SupCrit | 103.2824 | 0.0058729 | 1285.7228 | 0.0054648 | 370.5649 | 1285.7228 | 565.4063 | 0.57033 | 2.544 | 0.63354 | 1.1407 | Flagged Warnings: | 1389.0053 | 0.0021512 | 639.7512 | 1389.0053 | 794.2761 | 0.47673 | 0 | 2.0588 | 0.56644 | 0.95345 | Flagged Warnings: |  |  |  | 1410.46 | 97.1704 | 0.63196 | [9 empty] | 1.1451 | 1.0945 | 0.16547 | 0.0030782 | 1.1581 | 1.2033 | 0.15073 | 0.0014903 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:39:16 PM | 56356 | [11 empty] | 56356 | 0.99777 | 0.99777 | 0.99778 | 2022-10-26
10 | K21-57-FI#3 | 0.141 | 0.0039879 | 0.00094783 | 0.0038736 | 103.1061 | 0.0023921 | 0.00057788 | 0.0023264 | 12.034 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.141 | 0.0039879 | 0.14434 | 0.0025677 | -0.026188 | 0.0025517 | SupCrit | 103.3362 | 0.0023264 | 1285.5973 | 0.0020949 | 891.9964 | 1285.5974 | 1408.6892 | 0.59325 | 2.4531 | 0.62153 | 1.1865 | Flagged Warnings: | 1388.9337 | 0.0010117 | 1645.4464 | 1388.9336 | 2156.9793 | 0.4939 | 0 | 2.2218 | 0.61407 | 0.98779 | Flagged Warnings: | 1265.3883 | 146.1725 | 0.84305 | 1410.3049 | 233.0306 | 0.72129 | 1370.7175 | 39.973 | 0.24669 | [6 empty] | 1.0497 | 1.0668 | 0.058978 | 0.0013302 | 1.2422 | 1.2572 | 0.23926 | 0.00060032 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:44:14 PM | 56654 | 1150.9073 | 47.4665 | 34.1167 | Spline | [5 empty] | 0.013312 | 0.0057189 | 56654 | 0.99777 | 0.99777 | 0.99778 | 2022-10-26
11 | K21-57-FI#4 | 0.10035 | 0.0043898 | 0.0021888 | 0.0038051 | 103.0035 | 0.005524 | 0.00057954 | 0.0055058 | 12.061 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10035 | 0.0043898 | 0.10328 | 0.0032506 | -0.10085 | 0.004512 | SupCrit | 103.2336 | 0.0055058 | 1285.8681 | 0.0049916 | 301.0415 | 1285.8681 | 405.2196 | 0.5243 | 2.218 | 0.52975 | 1.0486 | Flagged Warnings: | 1389.1017 | 0.0023233 | 517.1284 | 1389.1016 | 616.1555 | 0.46469 | 0 | 1.5105 | 0.52656 | 0.92939 | Flagged Warnings: |  |  |  | 1410.4318 | 79.0694 | 0.71049 | [9 empty] | 1.0231 | 1.0089 | 0.024175 | 0.0034833 | 1.0219 | 1.0241 | 0.020352 | 0.0017972 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:49:37 PM | 56977 | [11 empty] | 56977 | 0.99777 | 0.99777 | 0.99778 | 2022-10-26
12 | K21-58-FI#1-12mw | 0.10432 | 0.0078232 | 0.0068338 | 0.0038081 | 103.0135 | 0.017247 | 0.00058975 | 0.017275 | 12.025 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10432 | 0.0078232 | 0.10727 | 0.0072797 | -0.093456 | 0.01285 | SupCrit | 103.2441 | 0.017275 | 1285.8371 | 0.016362 | 134.551 | 1285.8371 | 180.4992 | 0.54174 | 1.574 | 0.43516 | 1.0835 | Flagged Warnings: | 1389.0812 | 0.0055434 | 234.6377 | 1389.0812 | 278.7918 | 0.47598 | 0 | 1.7624 | 0.45654 | 0.95196 | Flagged Warnings: | [15 empty] | 1.1045 | 1.0849 | 0.1132 | 0.0080525 | 1.0179 | 1.0183 | 0.016999 | 0.0040571 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:12:17 PM | 58337 | [11 empty] | 58337 | 0.99777 | 0.99776 | 0.99777 | 2022-10-26
13 | K21-58-FI#1-20mw | 0.094087 | 0.0050144 | 0.0032694 | 0.003802 | 102.9877 | 0.0082509 | 0.0005853 | 0.0082486 | 19.998 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.094087 | 0.0050144 | 0.096983 | 0.0040625 | -0.11256 | 0.0064207 | SupCrit | 103.218 | 0.0082486 | 1285.9382 | 0.007358 | 208.356 | 1285.9382 | 269.5043 | 0.48184 | 2.4148 | 0.64198 | 0.96369 | Flagged Warnings: | 1389.1563 | 0.0037282 | 343.0889 | 1389.1562 | 401.3193 | 0.45786 | 0 | 1.6585 | 0.51717 | 0.91573 | Flagged Warnings: |  |  |  | 1410.4389 | 55.6179 | 0.55343 | [9 empty] | 1.2222 | 1.2423 | 0.21415 | 0.0046252 | 1.1136 | 1.1388 | 0.10406 | 0.0026691 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:03:00 PM | 57780 | [11 empty] | 57780 | 0.99777 | 0.99776 | 0.99777 | 2022-10-26
14 | K21-58-FI#2 | 0.12851 | 0.0054408 | 0.0038507 | 0.0038437 | 103.0746 | 0.009718 | 0.0005881 | 0.0097219 | 12.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12851 | 0.0054408 | 0.13168 | 0.0045693 | -0.048882 | 0.0072847 | SupCrit | 103.3052 | 0.0097219 | 1285.6624 | 0.0082468 | 166.3455 | 1285.6624 | 262.3339 | 0.60836 | 1.8483 | 0.55451 | 1.2167 | Flagged Warnings: | 1388.9676 | 0.0051484 | 304.8698 | 1388.9676 | 389.3619 | 0.48362 | 0 | 1.8235 | 0.60132 | 0.96724 | Flagged Warnings: | [15 empty] | 1.0567 | 1.0243 | 0.068936 | 0.0073144 | 1.2036 | 1.2231 | 0.1969 | 0.0031726 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:08:02 PM | 58082 | 1151.0296 | 45.2793 | 30.4076 | Spline | [5 empty] | 0.069479 | 0.029145 | 58082 | 0.99777 | 0.99776 | 0.99777 | 2022-10-26
15 | K21-58-FI#3 | 0.12402 | 0.0039233 | 0.00082824 | 0.0038349 | 103.0632 | 0.0020903 | 0.0005926 | 0.002009 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12402 | 0.0039233 | 0.12713 | 0.0025281 | -0.057107 | 0.0024346 | SupCrit | 103.294 | 0.002009 | 1285.681 | 0.0018429 | 1059.9588 | 1285.681 | 1622.6582 | 0.57898 | 2.3666 | 0.60466 | 1.158 | Flagged Warnings: | 1388.9751 | 0.00079991 | 1885.8301 | 1388.975 | 2431.7559 | 0.49981 | 0 | 2.2336 | 0.54251 | 0.99962 | Flagged Warnings: | 1265.4122 | 180.355 | 0.76971 | 1410.3468 | 279.1352 | 0.67964 | 1370.7427 | 50.7466 | 0.24892 | [6 empty] | 1.0876 | 1.0426 | 0.10145 | 0.0010925 | 1.1958 | 1.2068 | 0.19573 | 0.00053007 | PseudoVoigtModel | PseudoVoigtModel | No | October 26, 2022 | October | 26 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:17:37 PM | 58657 | 1151.0051 | 354.6731 | 200.7639 | Spline | [5 empty] | 0.087478 | 0.036421 | 58657 | 0.99777 | 0.99776 | 0.99777 | 2022-10-26
16 | FO1_MI1-Oct2822postpin | 0.087439 | 0.0039753 | 0.0011642 | 0.003801 | 102.9709 | 0.0029381 | 0.00056176 | 0.00289 | 11.977 | 1350.012 | 0 | 0 | Y | SupCrit, low density |  |  | 0.087439 | 0.0039753 | 0.090315 | 0.0026661 | -0.12504 | 0.0029232 | SupCrit | 103.1908 | 0.00289 | 1285.8708 | 0.0025086 | 551.4232 | 1285.8708 | 705.1805 | 0.49519 | 1.814 | 0.54506 | 0.99039 | Flagged Warnings: | 1389.0615 | 0.001435 | 944.0352 | 1389.0616 | 1033.2278 | 0.44302 | 0 | 1.8848 | 0.43208 | 0.88604 | Flagged Warnings: | 1265.5801 | 96.3884 | 0.57529 | 1410.3934 | 120.5293 | 0.60019 |  |  |  | 1382.0083 | 36.3142 | 10.4784 |  |  |  | 1.0557 | 1.0716 | 0.055213 | 0.0017961 | 1.1899 | 1.2308 | 0.16828 | 0.00093857 | PseudoVoigtModel | PseudoVoigtModel | Yes | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:48:34 AM | 42514 | [11 empty] | 42514 | 0.99787 | 0.99786 | 0.99788 | 2022-10-28
17 | FO1_MI1-Oct2822prepin | 0.099398 | 0.0043194 | 0.0020452 | 0.0038045 | 103.0011 | 0.0051616 | 0.00059289 | 0.0051381 | 11.971 | 1350.012 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099398 | 0.0043194 | 0.10232 | 0.0031546 | -0.10263 | 0.0042741 | SupCrit | 103.2153 | 0.0051381 | 1285.7705 | 0.0046137 | 310.8871 | 1285.7705 | 395.5588 | 0.48611 | 1.5423 | 0.57899 | 0.97222 | Flagged Warnings: | 1388.9858 | 0.0022612 | 510.2779 | 1388.9858 | 553.7216 | 0.43434 | 0 | 1.2792 | 0.4589 | 0.86867 | Flagged Warnings: |  |  |  | 1410.2962 | 55.0257 | 0.61538 |  |  |  | 1381.9645 | 0.81316 | 10.7862 |  |  |  | 1.2278 | 1.2668 | 0.22143 | 0.0031272 | 1.0588 | 1.0794 | 0.051098 | 0.0017023 | PseudoVoigtModel | PseudoVoigtModel | Yes | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:06:41 AM | 40001 | [11 empty] | 40001 | 0.99792 | 0.99792 | 0.99793 | 2022-10-28
18 | K21-59-FI#1 | 0.033482 | 0.0042346 | 0.0017058 | 0.0038758 | 102.8348 | 0.0043049 | 0.00054772 | 0.0042791 | 12.078 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.033482 | 0.0042346 | 0.036536 | 0.0029508 | -0.22858 | 0.0038807 | SupCrit | 103.0566 | 0.0042791 | 1286.0367 | 0.003835 | 588.3337 | 1286.0367 | 593.7931 | 0.43627 | 3.6203 | 0.24742 | 0.87254 | Flagged Warnings: | 1389.0934 | 0.0018983 | 968.7421 | 1389.0934 | 912.5848 | 0.3951 | 0 | 2.5279 | 0.33232 | 0.7902 | Flagged Warnings: | 1265.6489 | 40.7745 | 0.46527 | 1410.3962 | 106.8379 | 0.43606 | [9 empty] | 1.2174 | 1.2783 | 0.18968 | 0.0014831 | 1 | 1.0032 | 4.4181e-13 | 0.00081569 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:09:55 PM | 43795 | 1151.2497 | 48.5475 | 26.8921 | Spline | [5 empty] | 0.032228 | 0.013734 | 43795 | 0.99785 | 0.99784 | 0.99785 | 2022-10-28
19 | K21-59-FI#2 | 0.015245 | 0.0061401 | 0.0047146 | 0.0039337 | 102.7887 | 0.011898 | 0.00054189 | 0.011912 | 12.068 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015245 | 0.0061401 | 0.018475 | 0.0052559 | -0.26448 | 0.0095489 | SupCrit | 103.0115 | 0.011912 | 1286.1574 | 0.010212 | 228.8298 | 1286.1574 | 206.1475 | 0.40859 | 3.2194 | 0.1068 | 0.81718 | Flagged Warnings: | 1389.1689 | 0.0061328 | 374.5294 | 1389.1688 | 348.0072 | 0.38728 | 0 | 2.9583 | 0.34956 | 0.77457 | Flagged Warnings: |  |  |  | 1410.5075 | 57.0275 | 0.30189 | [9 empty] | 1.0123 | 1.0157 | 0.010089 | 0.0035711 | 1.1169 | 1.1678 | 0.090534 | 0.0020681 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:53 PM | 44393 |  |  |  |  | 1086.8603 | 66.1868 | 13.1075 | Spline | 0.11944 |  |  | 44393 | 0.99784 | 0.99783 | 0.99784 | 2022-10-28
20 | K21-59-FI#3 | 0.028439 | 0.0042033 | 0.0015918 | 0.0038902 | 102.822 | 0.0040173 | 0.00053562 | 0.0039901 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028439 | 0.0042033 | 0.031537 | 0.0028886 | -0.23846 | 0.0037026 | SupCrit | 103.0459 | 0.0039901 | 1286.0747 | 0.0034854 | 569.1391 | 1286.0747 | 576.2065 | 0.4231 | 2.8873 | 0.34214 | 0.84621 | Flagged Warnings: | 1389.1207 | 0.0019423 | 889.919 | 1389.1207 | 850.176 | 0.39907 | 0 | 2.4966 | 0.34344 | 0.79815 | Flagged Warnings: | 1265.7147 | 47.3499 | 0.46879 | 1410.4708 | 110.283 | 0.42498 | [9 empty] | 1.1504 | 1.2156 | 0.12728 | 0.0014868 | 1.0464 | 1.0611 | 0.037045 | 0.00089688 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:32:26 PM | 45146 | [11 empty] | 45146 | 0.99783 | 0.99782 | 0.99783 | 2022-10-28
21 | K21-61-FI#1-rep1 | 0.13326 | 0.013244 | 0.01267 | 0.0038542 | 103.0866 | 0.031976 | 0.00053089 | 0.032042 | 12.046 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13326 | 0.013244 | 0.13649 | 0.013062 | -0.040227 | 0.023136 | SupCrit | 103.3121 | 0.032042 | 1285.4315 | 0.029105 | 66.4128 | 1285.4315 | 81.1394 | 0.57388 | 3.2513 | 2.4571e-09 | 1.1478 | Flagged Warnings: | 1388.7436 | 0.013401 | 130.3744 | 1388.7436 | 171.3 | 0.47459 | 0 | 2.4689 | 0.71668 | 0.94919 | Flagged Warnings: | [15 empty] | 1.128 | 1.1718 | 0.14688 | 0.017282 | 1.244 | 1.2467 | 0.23159 | 0.0072805 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:45:44 PM | 45944 | [11 empty] | 45944 | 0.99782 | 0.99781 | 0.99782 | 2022-10-28
22 | K21-61-FI#1-rep2 | 0.13027 | 0.0040562 | 0.0012843 | 0.0038475 | 103.079 | 0.0032412 | 0.00052873 | 0.0032048 | 12.03 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13027 | 0.0040562 | 0.13345 | 0.0027153 | -0.045684 | 0.0030152 | SupCrit | 103.3049 | 0.0032048 | 1285.436 | 0.0028427 | 605.8112 | 1285.4361 | 888.1546 | 0.56995 | 2.7267 | 0.5347 | 1.1399 | Flagged Warnings: | 1388.741 | 0.0014799 | 1151.2431 | 1388.741 | 1441.1633 | 0.4795 | 0 | 2.5112 | 0.57262 | 0.95901 | Flagged Warnings: | 1265.2731 | 60.5447 | 0.72495 | 1410.0809 | 167.1451 | 0.58823 | [9 empty] | 1.2178 | 1.1995 | 0.24826 | 0.0018816 | 1.2014 | 1.1911 | 0.19311 | 0.00083302 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:50:47 PM | 46247 |  |  |  |  | 1089.234 | 772.2323 | 50.4758 | Spline | 0.33153 |  |  | 46247 | 0.99781 | 0.99781 | 0.99782 | 2022-10-28
23 | K21-61-FI#2 | 0.12801 | 0.0039442 | 0.00088902 | 0.0038427 | 103.0733 | 0.0022436 | 0.00052225 | 0.0021868 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12801 | 0.0039442 | 0.13117 | 0.0025483 | -0.04981 | 0.0024999 | SupCrit | 103.3004 | 0.0021868 | 1285.4698 | 0.001928 | 990.7461 | 1285.4698 | 1441.0053 | 0.552 | 2.8944 | 0.59578 | 1.104 | Flagged Warnings: | 1388.7703 | 0.001032 | 1865.1083 | 1388.7702 | 2296.0822 | 0.48002 | 0 | 3.0393 | 0.52721 | 0.96003 | Flagged Warnings: | 1265.2017 | 111.9498 | 0.78949 | 1410.1177 | 255.6273 | 0.60832 | 1369.7693 | 19.5931 | 0.23966 | [6 empty] | 1.2261 | 1.2175 | 0.24963 | 0.0011143 | 1.1541 | 1.1425 | 0.14794 | 0.00051473 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:08:21 PM | 47301 | [11 empty] | 47301 | 0.9978 | 0.9978 | 0.99781 | 2022-10-28
24 | K21-61-FI#3 | 0.14091 | 0.0039911 | 0.00096252 | 0.0038733 | 103.1059 | 0.0024291 | 0.00051707 | 0.0023787 | 12.052 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14091 | 0.0039911 | 0.14425 | 0.0025734 | -0.026354 | 0.0025698 | SupCrit | 103.3341 | 0.0023787 | 1285.409 | 0.0019739 | 818.181 | 1285.4091 | 1234.184 | 0.55533 | 2.3638 | 0.67106 | 1.1107 | Flagged Warnings: | 1388.7432 | 0.0013275 | 1535.2189 | 1388.7431 | 1950.7789 | 0.49197 | 0 | 2.9301 | 0.54541 | 0.98393 | Flagged Warnings: | 1265.2428 | 111.5724 | 0.75643 | 1410.0774 | 223.4257 | 0.68792 | [9 empty] | 1.1886 | 1.1814 | 0.20949 | 0.0013575 | 1.1906 | 1.1765 | 0.18757 | 0.00064091 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:27:18 PM | 48438 | [11 empty] | 48438 | 0.99779 | 0.99779 | 0.9978 | 2022-10-28
25 | K21-63-FI#1 | 0.14289 | 0.0061223 | 0.0047369 | 0.0038788 | 103.1109 | 0.011955 | 0.00051143 | 0.01197 | 12.043 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14289 | 0.0061223 | 0.14626 | 0.0053702 | -0.022772 | 0.0087642 | SupCrit | 103.341 | 0.01197 | 1285.3113 | 0.010263 | 126.1463 | 1285.3113 | 214.8594 | 0.62874 | 1.8769 | 0.66428 | 1.2575 | Flagged Warnings: | 1388.6523 | 0.0061615 | 236.0507 | 1388.6523 | 322.8394 | 0.53083 | 0 | 1.9097 | 0.53886 | 1.0617 | Flagged Warnings: | [15 empty] | 1.0407 | 1.0744 | 0.051195 | 0.0099685 | 1.1419 | 1.1256 | 0.15067 | 0.0044976 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:18:52 PM | 51532 | [11 empty] | 51532 | 0.99777 | 0.99777 | 0.99778 | 2022-10-28
26 | K21-64-FI#1 | 0.12922 | 0.0039962 | 0.0010881 | 0.0038452 | 103.0764 | 0.0027462 | 0.00051241 | 0.002704 | 12.041 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12922 | 0.0039962 | 0.1324 | 0.0026261 | -0.047587 | 0.0027482 | SupCrit | 103.3069 | 0.002704 | 1285.4016 | 0.0024057 | 894.4253 | 1285.4017 | 1407.4798 | 0.58739 | 3.185 | 0.63707 | 1.1748 | Flagged Warnings: | 1388.7086 | 0.0012345 | 1646.2738 | 1388.7086 | 2156.2758 | 0.50434 | 0 | 2.5392 | 0.55934 | 1.0087 | Flagged Warnings: | 1265.1179 | 116.7717 | 0.89775 | 1410.0299 | 240.4895 | 0.65108 | 1370.3144 | 34.7192 | 0.25197 | [6 empty] | 1.2308 | 1.2461 | 0.2711 | 0.0013135 | 1.2 | 1.1807 | 0.20174 | 0.0006127 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:00 PM | 52620 | [11 empty] | 52620 | 0.99777 | 0.99776 | 0.99777 | 2022-10-28
27 | K21-64-FI#2 | 0.12717 | 0.0041446 | 0.0015571 | 0.003841 | 103.0712 | 0.0039297 | 0.00051288 | 0.0039048 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12717 | 0.0041446 | 0.13032 | 0.002858 | -0.051344 | 0.003423 | SupCrit | 103.3018 | 0.0039048 | 1285.4075 | 0.0034648 | 522.3146 | 1285.4075 | 822.3224 | 0.55999 | 2.4643 | 0.75343 | 1.12 | Flagged Warnings: | 1388.7094 | 0.0018008 | 941.4786 | 1388.7093 | 1236.1436 | 0.50636 | 0 | 2.3668 | 0.55536 | 1.0127 | Flagged Warnings: | 1265.1974 | 93.2932 | 0.88792 | 1410.0351 | 142.0417 | 0.68556 | [9 empty] | 1.3209 | 1.3632 | 0.35937 | 0.0021442 | 1.1926 | 1.1751 | 0.19502 | 0.0010757 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:12 PM | 52872 | 1150.6872 | 353.6482 | 231.7962 | Spline | [5 empty] | 0.1718 | 0.069102 | 52872 | 0.99777 | 0.99776 | 0.99777 | 2022-10-28
28 | K21-64-FI#3 | 0.12679 | 0.003939 | 0.00087669 | 0.0038402 | 103.0702 | 0.0022125 | 0.0005146 | 0.0021567 | 12.051 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12679 | 0.003939 | 0.12994 | 0.0025442 | -0.052031 | 0.002487 | SupCrit | 103.3011 | 0.0021567 | 1285.3809 | 0.0017366 | 1351.5572 | 1285.381 | 2160.427 | 0.58561 | 3.1109 | 0.68293 | 1.1712 | Flagged Warnings: | 1388.6821 | 0.0012788 | 2473.8307 | 1388.682 | 3286.976 | 0.5132 | 0 | 3.8043 | 0.55149 | 1.0264 | Flagged Warnings: | 1265.1404 | 230.634 | 0.7723 | 1410.0237 | 360.1075 | 0.65273 | 1371.8182 | 13.1593 | 0.25646 | [6 empty] | 1.1619 | 1.1728 | 0.18966 | 0.00086657 | 1.1831 | 1.1633 | 0.18788 | 0.0004149 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:14 PM | 53534 | 1150.6628 | 1111.3628 | 718.0259 | Spline | [5 empty] | 0.20402 | 0.08101 | 53534 | 0.99777 | 0.99776 | 0.99777 | 2022-10-28
29 | K21-64-FI#4 | 0.10754 | 0.0039043 | 0.00084782 | 0.0038112 | 103.0216 | 0.0021397 | 0.00051539 | 0.0020813 | 12.06 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10754 | 0.0039043 | 0.1105 | 0.0025384 | -0.087493 | 0.0024799 | SupCrit | 103.2524 | 0.0020813 | 1285.587 | 0.0018914 | 858.2545 | 1285.5871 | 1177.0048 | 0.53105 | 2.1735 | 0.54495 | 1.0621 | Flagged Warnings: | 1388.8395 | 0.00086856 | 1548.1143 | 1388.8395 | 1820.4506 | 0.46048 | 0 | 2.2147 | 0.51608 | 0.92096 | Flagged Warnings: | 1265.3366 | 125.0317 | 0.71672 | 1410.1454 | 203.191 | 0.60796 | [9 empty] | 1.0656 | 1.0857 | 0.069646 | 0.0012375 | 1.0662 | 1.0697 | 0.06101 | 0.00059489 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:57:30 PM | 53850 | [11 empty] | 53850 | 0.99776 | 0.99776 | 0.99777 | 2022-10-28
30 | K21-64-FI#5 | 0.1284 | 0.0039735 | 0.001008 | 0.0038435 | 103.0743 | 0.002544 | 0.00056859 | 0.0024852 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1284 | 0.0039735 | 0.13157 | 0.0025932 | -0.049084 | 0.0026457 | SupCrit | 103.306 | 0.0024852 | 1285.3738 | 0.0021966 | 1000.3757 | 1285.3738 | 1575.1373 | 0.58949 | 3.1759 | 0.62979 | 1.179 | Flagged Warnings: | 1388.6799 | 0.0011626 | 1878.0687 | 1388.6799 | 2486.959 | 0.51284 | 0 | 2.8565 | 0.54466 | 1.0257 | Flagged Warnings: | 1265.1124 | 151.2963 | 0.83205 | 1410.0092 | 275.7144 | 0.67297 | 1370.6059 | 31.8622 | 0.25627 | [6 empty] | 1.1412 | 1.1573 | 0.16652 | 0.0011785 | 1.1797 | 1.1637 | 0.18427 | 0.00054613 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:01 PM | 60661 | [11 empty] | 60661 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28
31 | K21-64-FI#6 | 0.12726 | 0.0040305 | 0.0012208 | 0.0038412 | 103.0714 | 0.0030808 | 0.00057202 | 0.0030341 | 12.071 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12726 | 0.0040305 | 0.13042 | 0.0026854 | -0.051167 | 0.0029314 | SupCrit | 103.3032 | 0.0030341 | 1285.3626 | 0.0026484 | 742.5474 | 1285.3627 | 1180.274 | 0.59289 | 2.7684 | 0.63881 | 1.1858 | Flagged Warnings: | 1388.6659 | 0.0014804 | 1383.7698 | 1388.6658 | 1829.3383 | 0.51457 | 0 | 2.69 | 0.53169 | 1.0291 | Flagged Warnings: | 1265.0391 | 82.8949 | 0.74739 | 1410.0034 | 199.4325 | 0.7052 | [9 empty] | 1.1401 | 1.1652 | 0.16608 | 0.0015969 | 1.1667 | 1.1533 | 0.17152 | 0.00074373 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:55:53 PM | 60953 | 1150.6383 | 625.9673 | 388.5169 | Spline | [5 empty] | 0.20799 | 0.082457 | 60953 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28
32 | K21-64-FI#7 | 0.12913 | 0.003974 | 0.0010042 | 0.003845 | 103.0762 | 0.0025344 | 0.00057545 | 0.0024738 | 12.067 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12913 | 0.003974 | 0.13231 | 0.0025916 | -0.04775 | 0.0026397 | SupCrit | 103.3079 | 0.0024738 | 1285.3415 | 0.0020487 | 1181.5734 | 1285.3415 | 1933.0424 | 0.60632 | 3.2917 | 0.65483 | 1.2126 | Flagged Warnings: | 1388.6495 | 0.0013864 | 2189.8855 | 1388.6494 | 2925.0755 | 0.51139 | 0 | 3.9333 | 0.57386 | 1.0228 | Flagged Warnings: | 1265.1043 | 207.7575 | 0.81419 | 1410.0098 | 342.6717 | 0.6649 | 1369.2366 | 14.9568 | 0.25559 | [6 empty] | 1.1033 | 1.1417 | 0.12522 | 0.0010263 | 1.1546 | 1.1461 | 0.15816 | 0.00046705 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:00:34 PM | 61234 | 1150.6383 | 1097.9354 | 693.8675 | Spline | [5 empty] | 0.226 | 0.088962 | 61234 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28
33 | K21-64-FI#8 | 0.12179 | 0.0043373 | 0.0020338 | 0.0038309 | 103.0576 | 0.0051327 | 0.00057929 | 0.0051114 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12179 | 0.0043373 | 0.12489 | 0.0031491 | -0.061183 | 0.0041912 | SupCrit | 103.2894 | 0.0051114 | 1285.3928 | 0 | 158.961 | 1285.3928 | 251.5428 | 0.61842 | 1.5074 | 0.5212 | 1.2368 | Flagged Warnings: | 1388.6821 | 0.0051114 | 296.4846 | 1388.6821 | 394.7554 | 0.51386 | 0 | 1.9947 | 0.55335 | 1.0277 | Flagged Warnings: | [15 empty] | 1.1148 | 1.1006 | 0.14193 | 0.0077807 | 1.1864 | 1.1738 | 0.19161 | 0.0034663 | PseudoVoigtModel | PseudoVoigtModel | No | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:05:53 PM | 61553 | 1150.6383 | 102.3222 | 71.9385 | Spline | [5 empty] | 0.15832 | 0.064027 | 61553 | 0.99776 | 0.99775 | 0.99776 | 2022-10-28
34 | K21-65-FI#1-10mW | 0.13615 | 0.0039891 | 0.0010025 | 0.0038611 | 103.0938 | 0.0025299 | 0.00073862 | 0.0024247 | 10.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13615 | 0.0039891 | 0.13941 | 0.0025898 | -0.034982 | 0.0026266 | SupCrit | 103.3067 | 0.0024247 | 1285.6371 | 0.0021414 | 1126.6547 | 1285.6371 | 1727.9206 | 0.57975 | 3.7562 | 0.60595 | 1.1595 | Flagged Warnings: | 1388.9439 | 0.0011373 | 2138.7289 | 1388.9438 | 2678.8464 | 0.47746 | 0 | 3.654 | 0.5848 | 0.95493 | Flagged Warnings: | 1265.3629 | 195.574 | 0.79719 | 1410.299 | 299.515 | 0.68328 | [9 empty] | 1.0267 | 1.0125 | 0.030966 | 0.0010291 | 1.2401 | 1.2616 | 0.22932 | 0.00044649 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:06:29 PM | 43589 | [11 empty] | 43589 | 0.99794 | 0.99793 | 0.99795 | 2022-11-01
35 | K21-65-FI#1-10mWup | 0.13817 | 0.0039554 | 0.00083561 | 0.0038662 | 103.099 | 0.0021088 | 0.00072683 | 0.0019837 | 9.995 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13817 | 0.0039554 | 0.14147 | 0.0025277 | -0.031304 | 0.0024238 | SupCrit | 103.3125 | 0.0019837 | 1285.6005 | 0.0017568 | 1270.6532 | 1285.6006 | 1945.6839 | 0.56966 | 3.1059 | 0.64548 | 1.1393 | Flagged Warnings: | 1388.9131 | 0.0009214 | 2380.8692 | 1388.9131 | 2983.7707 | 0.47494 | 0 | 2.9525 | 0.59948 | 0.94988 | Flagged Warnings: | 1265.3693 | 204.8964 | 0.77602 | 1410.2628 | 324.8893 | 0.65049 | 1370.7037 | 49.2044 | 0.23703 | [6 empty] | 1.0394 | 1.0607 | 0.044882 | 0.00089664 | 1.2657 | 1.2761 | 0.25242 | 0.00039896 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:56:09 PM | 46569 | [11 empty] | 46569 | 0.99793 | 0.99793 | 0.99794 | 2022-11-01
36 | K21-65-FI#1-12mW | 0.13669 | 0.0040041 | 0.0010557 | 0.0038624 | 103.0952 | 0.0026644 | 0.00074413 | 0.0025636 | 12.063 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13669 | 0.0040041 | 0.13997 | 0.0026114 | -0.033988 | 0.0026937 | SupCrit | 103.3077 | 0.0025636 | 1285.6494 | 0.0022886 | 1285.078 | 1285.6495 | 1972.3056 | 0.57417 | 4.3497 | 0.63173 | 1.1483 | Flagged Warnings: | 1388.9572 | 0.0011552 | 2459.6306 | 1388.9572 | 3105.0576 | 0.47957 | 0 | 3.8024 | 0.59345 | 0.95914 | Flagged Warnings: | 1265.438 | 210.9784 | 0.81761 | 1410.3215 | 332.0686 | 0.67494 | [9 empty] | 1.0483 | 1.019 | 0.055509 | 0.00089359 | 1.2186 | 1.2473 | 0.20971 | 0.00038995 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:48:47 AM | 42527 | [11 empty] | 42527 | 0.99794 | 0.99794 | 0.99795 | 2022-11-01
37 | K21-65-FI#1-12mWup | 0.13842 | 0.0039401 | 0.00075674 | 0.0038668 | 103.0996 | 0.0019098 | 0.00072556 | 0.0017703 | 11.911 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13842 | 0.0039401 | 0.14172 | 0.0025019 | -0.030856 | 0.0023367 | SupCrit | 103.3132 | 0.0017703 | 1285.599 | 0.0016035 | 1509.303 | 1285.599 | 2327.0816 | 0.58033 | 3.1528 | 0.61669 | 1.1607 | Flagged Warnings: | 1388.9123 | 0.00075004 | 2912.8994 | 1388.9122 | 3637.7777 | 0.47587 | 0 | 3.4705 | 0.58583 | 0.95174 | Flagged Warnings: | 1265.3761 | 265.3916 | 0.87993 | 1410.2714 | 423.8423 | 0.71762 | 1370.7174 | 59.3037 | 0.2376 | [6 empty] | 1.0478 | 1.073 | 0.055435 | 0.000769 | 1.2404 | 1.2487 | 0.22882 | 0.00032673 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:03:30 PM | 47010 | [11 empty] | 47010 | 0.99793 | 0.99793 | 0.99794 | 2022-11-01
38 | K21-65-FI#1-2mW | 0.13068 | 0.0065113 | 0.0052524 | 0.0038484 | 103.08 | 0.013256 | 0.00073204 | 0.013263 | 2.003 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13068 | 0.0065113 | 0.13387 | 0.0058296 | -0.044934 | 0.0097634 | SupCrit | 103.2932 | 0.013263 | 1285.6174 | 0.013116 | 243.128 | 1285.6174 | 373.9765 | 0.5798 | 2.3342 | 0.61279 | 1.1596 | Flagged Warnings: | 1388.9107 | 0.0019699 | 468.2733 | 1388.9107 | 573.5296 | 0.48209 | 0 | 1.2861 | 0.50277 | 0.96417 | Flagged Warnings: |  |  |  | 1410.3555 | 56.1481 | 0.6291 | [9 empty] | 1.0088 | 1.0552 | 0.010262 | 0.0047695 | 1.2207 | 1.2261 | 0.21278 | 0.002059 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:30:52 PM | 45052 | [11 empty] | 45052 | 0.99794 | 0.99793 | 0.99794 | 2022-11-01
39 | K21-65-FI#1-2mWup | 0.14227 | 0.0046549 | 0.0025761 | 0.0038771 | 103.1093 | 0.0065012 | 0.00073115 | 0.0064734 | 2.01 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14227 | 0.0046549 | 0.14563 | 0.0035379 | -0.023884 | 0.0050248 | SupCrit | 103.3226 | 0.0064734 | 1285.5989 | 0.0061149 | 254.9835 | 1285.5989 | 389.9149 | 0.56661 | 2.1342 | 0.65507 | 1.1332 | Flagged Warnings: | 1388.9216 | 0.0021244 | 471.6669 | 1388.9215 | 600.9557 | 0.48928 | 0 | 1.4412 | 0.56613 | 0.97857 | Flagged Warnings: |  |  |  | 1410.335 | 58.033 | 0.55475 | [9 empty] | 1.0427 | 1.0521 | 0.04837 | 0.0044443 | 1.2345 | 1.2395 | 0.22946 | 0.0020747 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:35:32 PM | 45332 | [11 empty] | 45332 | 0.99794 | 0.99793 | 0.99794 | 2022-11-01
40 | K21-65-FI#1-4mW | 0.13669 | 0.0041499 | 0.0015176 | 0.0038624 | 103.0952 | 0.0038301 | 0.00073393 | 0.0037669 | 4.012 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13669 | 0.0041499 | 0.13997 | 0.002836 | -0.033985 | 0.0033426 | SupCrit | 103.3084 | 0.0037669 | 1285.6087 | 0.0031259 | 472.9441 | 1285.6087 | 738.1208 | 0.59393 | 1.7547 | 0.58925 | 1.1879 | Flagged Warnings: | 1388.9171 | 0.002102 | 892.8568 | 1388.9171 | 1115.5011 | 0.48271 | 0 | 1.8048 | 0.55061 | 0.96542 | Flagged Warnings: | 1265.4372 | 92.7663 | 0.89348 | 1410.2985 | 114.7246 | 0.69836 | [9 empty] | 1.0231 | 1.0311 | 0.027386 | 0.0025116 | 1.2361 | 1.242 | 0.22795 | 0.0010813 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:23:38 PM | 44618 | [11 empty] | 44618 | 0.99794 | 0.99793 | 0.99794 | 2022-11-01
41 | K21-65-FI#1-4mWup | 0.13697 | 0.0040829 | 0.0013214 | 0.0038631 | 103.0959 | 0.0033348 | 0.00073011 | 0.0032607 | 3.975 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13697 | 0.0040829 | 0.14025 | 0.002733 | -0.033493 | 0.0030551 | SupCrit | 103.3093 | 0.0032607 | 1285.6093 | 0.0029113 | 495.7289 | 1285.6094 | 758.3343 | 0.57554 | 1.7552 | 0.61775 | 1.1511 | Flagged Warnings: | 1388.9187 | 0.0014684 | 929.932 | 1388.9187 | 1176.5786 | 0.47593 | 0 | 1.855 | 0.61804 | 0.95186 | Flagged Warnings: | 1265.3501 | 90.6887 | 0.90545 | 1410.3004 | 124.242 | 0.71163 | [9 empty] | 1.0269 | 1.0491 | 0.031017 | 0.002322 | 1.2448 | 1.2601 | 0.23297 | 0.0010236 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:39:45 PM | 45585 | [11 empty] | 45585 | 0.99793 | 0.99793 | 0.99794 | 2022-11-01
42 | K21-65-FI#1-6mW | 0.13734 | 0.0040377 | 0.0011715 | 0.003864 | 103.0969 | 0.0029565 | 0.00073513 | 0.0028696 | 6.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13734 | 0.0040377 | 0.14063 | 0.0026616 | -0.032816 | 0.0028459 | SupCrit | 103.3099 | 0.0028696 | 1285.6118 | 0.0025344 | 713.7821 | 1285.6118 | 1093.203 | 0.56911 | 2.2552 | 0.6484 | 1.1382 | Flagged Warnings: | 1388.9218 | 0.0013459 | 1340.7869 | 1388.9218 | 1692.4272 | 0.47303 | 0 | 2.2344 | 0.6274 | 0.94605 | Flagged Warnings: | 1265.3369 | 119.2366 | 0.82759 | 1410.2879 | 182.2982 | 0.67932 | [9 empty] | 1.0241 | 1.0474 | 0.027427 | 0.0015946 | 1.258 | 1.2838 | 0.24403 | 0.0007056 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:19:05 PM | 44345 | [11 empty] | 44345 | 0.99794 | 0.99793 | 0.99794 | 2022-11-01
43 | K21-65-FI#1-6mWup | 0.13395 | 0.0040103 | 0.0011024 | 0.0038558 | 103.0883 | 0.0027821 | 0.00072909 | 0.0026904 | 5.971 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13395 | 0.0040103 | 0.13719 | 0.0026315 | -0.038978 | 0.0027592 | SupCrit | 103.3017 | 0.0026904 | 1285.61 | 0.0024084 | 750.0358 | 1285.61 | 1134.5675 | 0.56732 | 2.3249 | 0.62559 | 1.1346 | Flagged Warnings: | 1388.9117 | 0.0011993 | 1406.801 | 1388.9117 | 1754.069 | 0.47023 | 0 | 2.3695 | 0.61163 | 0.94047 | Flagged Warnings: | 1265.3123 | 129.4415 | 0.82888 | 1410.2838 | 199.9221 | 0.66288 | [9 empty] | 1.0212 | 1.0699 | 0.024068 | 0.0015128 | 1.2456 | 1.2615 | 0.23099 | 0.00066851 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:44:17 PM | 45857 | [11 empty] | 45857 | 0.99793 | 0.99793 | 0.99794 | 2022-11-01
44 | K21-65-FI#1-8mW | 0.13832 | 0.0039859 | 0.00096811 | 0.0038666 | 103.0993 | 0.0024432 | 0.00073648 | 0.0023344 | 8.065 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13832 | 0.0039859 | 0.14163 | 0.0025759 | -0.03103 | 0.0025805 | SupCrit | 103.3123 | 0.0023344 | 1285.6149 | 0.002129 | 927.1982 | 1285.615 | 1409.936 | 0.57826 | 3.1494 | 0.59102 | 1.1565 | Flagged Warnings: | 1388.9274 | 0.00095744 | 1756.7184 | 1388.9273 | 2180.6943 | 0.47354 | 0 | 2.4901 | 0.58296 | 0.94707 | Flagged Warnings: | 1265.413 | 155.9152 | 0.75471 | 1410.3086 | 218.0449 | 0.66345 | [9 empty] | 1.0178 | 1.0448 | 0.02053 | 0.0012473 | 1.2367 | 1.252 | 0.22422 | 0.00053911 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:14:10 PM | 44050 | [11 empty] | 44050 | 0.99794 | 0.99793 | 0.99795 | 2022-11-01
45 | K21-65-FI#1-8mWup | 0.13672 | 0.0039638 | 0.00089021 | 0.0038625 | 103.0953 | 0.0022466 | 0.00072817 | 0.0021298 | 7.962 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13672 | 0.0039638 | 0.14 | 0.0025471 | -0.033935 | 0.0024889 | SupCrit | 103.3087 | 0.0021298 | 1285.6053 | 0.0019594 | 990.8424 | 1285.6053 | 1521.2156 | 0.58752 | 2.3031 | 0.57512 | 1.175 | Flagged Warnings: | 1388.9141 | 0.00083454 | 1867.8503 | 1388.9141 | 2351.8893 | 0.47976 | 0 | 2.3033 | 0.58601 | 0.95951 | Flagged Warnings: | 1265.3381 | 165.868 | 0.82463 | 1410.2781 | 265.3692 | 0.7105 | 1370.3699 | 30.5202 | 0.23957 | [6 empty] | 1.0381 | 1.0702 | 0.044796 | 0.0011859 | 1.2318 | 1.2387 | 0.22245 | 0.0005137 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:49:02 PM | 46142 | [11 empty] | 46142 | 0.99793 | 0.99793 | 0.99794 | 2022-11-01
46 | K21-66-FI#3-bump | 0.056227 | 0.010183 | 0.0094365 | 0.0038263 | 102.8922 | 0.023815 | 0.00072143 | 0.023853 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.056227 | 0.010183 | 0.059139 | 0.0097004 | -0.18445 | 0.018268 | SupCrit | 103.1055 | 0.023853 | 1286.1384 | 0.023157 | 553.21 | 1286.1384 | 799.318 | 0.46013 | 18.9514 | 0.99999 | 0.92025 | Flagged Warnings: | 1389.244 | 0.0057233 | 859.4675 | 1389.2439 | 822.7239 | 0.40724 | 0 | 5.3706 | 0.29263 | 0.81448 | Flagged Warnings: | 1266.0963 | 227.5062 | 1.3843 | 1410.5359 | 111.3009 | 0.40774 | [9 empty] | 1.0403 | 1.0618 | 0.03708 | 0.0016635 | 1.2551 | 1.3194 | 0.20781 | 0.00094765 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:21:49 PM | 48109 | [11 empty] | 48109 | 0.99793 | 0.99792 | 0.99794 | 2022-11-01
47 | K21-66-FI#4 | 0.07836 | 0.0081853 | 0.0072481 | 0.0038032 | 102.948 | 0.018292 | 0.00072119 | 0.018316 | 12.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.07836 | 0.0081853 | 0.081225 | 0.0076367 | -0.14219 | 0.013869 | SupCrit | 103.1615 | 0.018316 | 1285.9748 | 0.017852 | 794.8004 | 1285.9749 | 1087.6844 | 0.43576 | 17.2789 | 0.99997 | 0.87152 | Flagged Warnings: | 1389.1364 | 0.0040949 | 1155.1563 | 1389.1364 | 1227.8248 | 0.43527 | 0 | 5.3591 | 0.39776 | 0.87053 | Flagged Warnings: | 1265.8377 | 263.2254 | 1.3131 | 1410.397 | 263.3049 | 0.21189 | [9 empty] | 1.2604 | 1.2857 | 0.22696 | 0.0010965 | 1.0754 | 1.1051 | 0.065635 | 0.00075361 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:27:10 PM | 48430 | 1151.2403 | 298.3732 | 165.9713 | Spline | [5 empty] | 0.12886 | 0.05274 | 48430 | 0.99793 | 0.99792 | 0.99794 | 2022-11-01
48 | K21-68-FI#1 | 0.05327 | 0.007676 | 0.0066514 | 0.0038313 | 102.8847 | 0.016786 | 0.00071853 | 0.016806 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.05327 | 0.007676 | 0.056194 | 0.0070446 | -0.19015 | 0.012978 | SupCrit | 103.0983 | 0.016806 | 1286.1151 | 0.014727 | 241.0902 | 1286.1151 | 271.4637 | 0.44314 | 4.7218 | 0.50299 | 0.88629 | Flagged Warnings: | 1389.2134 | 0.0080961 | 412.126 | 1389.2133 | 407.8215 | 0.42245 | 0 | 4.5089 | 0.2829 | 0.84489 | Flagged Warnings: |  |  |  | 1410.4037 | 52.8981 | 0.49964 | [9 empty] | 1.0902 | 1.1324 | 0.07994 | 0.0036762 | 1.2041 | 1.2595 | 0.17243 | 0.0020501 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:54:38 PM | 50078 | [11 empty] | 50078 | 0.99793 | 0.99792 | 0.99794 | 2022-11-01
49 | K21-68-FI#2 | 0.065263 | 0.011105 | 0.010429 | 0.0038139 | 102.915 | 0.026321 | 0.00071844 | 0.026366 | 12.049 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.065263 | 0.011105 | 0.068144 | 0.010678 | -0.16712 | 0.020041 | SupCrit | 103.1287 | 0.026366 | 1286.1297 | 0.022363 | 151.7673 | 1286.1297 | 169.0731 | 0.46955 | 4.4188 | 0.31855 | 0.9391 | Flagged Warnings: | 1389.2584 | 0.013965 | 276.6441 | 1389.2584 | 266.0788 | 0.38859 | 0 | 4.513 | 0.43393 | 0.77718 | Flagged Warnings: |  |  |  | 1410.5495 | 266.2858 | 0.092337 | [9 empty] | 1.0677 | 1.0978 | 0.063548 | 0.0061878 | 1.2531 | 1.3077 | 0.19667 | 0.0028093 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:02:04 PM | 50524 | [11 empty] | 50524 | 0.99793 | 0.99792 | 0.99793 | 2022-11-01
50 | K21-69-FI#1 | 0.11842 | 0.0056038 | 0.0040951 | 0.0038253 | 103.0491 | 0.010335 | 0.0007194 | 0.010331 | 11.989 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11842 | 0.0056038 | 0.12148 | 0.0047742 | -0.067379 | 0.0077731 | SupCrit | 103.2634 | 0.010331 | 1285.7192 | 0.0095745 | 1677.1779 | 1285.7193 | 2718.218 | 0.56506 | 24.0567 | 0.80079 | 1.1301 | Flagged Warnings: | 1388.9827 | 0.0038811 | 2975.9049 | 1388.9827 | 3512.3777 | 0.4575 | 0 | 16.3692 | 0.54234 | 0.915 | Flagged Warnings: | 1265.8491 | 633.9058 | 1.6948 | 1410.324 | 388.9154 | 0.50319 | [9 empty] | 1.1346 | 1.0848 | 0.15207 | 0.00067382 | 1.1917 | 1.245 | 0.17543 | 0.00030747 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:30:14 PM | 52214 | [11 empty] | 52214 | 0.99793 | 0.99792 | 0.99793 | 2022-11-01
51 | K21-69-FI#2 | 0.13999 | 0.013242 | 0.012664 | 0.0038709 | 103.1036 | 0.03196 | 0.00072113 | 0.032019 | 12 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13999 | 0.013242 | 0.14332 | 0.013079 | -0.028004 | 0.023008 | SupCrit | 103.3182 | 0.032019 | 1285.7021 | 0 | 213.4555 | 1285.7021 | 438.5487 | 0.65531 | 18.8613 | 1 | 1.3106 | Flagged Warnings: | 1389.0203 | 0.032019 | 357.0189 | 1389.0203 | 366.1114 | 0.45529 | 0 | 18.9819 | 0.16998 | 0.91058 | Flagged Warnings: | 1266.4915 | 255.3528 | 2.0011 | [12 empty] | 1.1098 | 1.0876 | 0.14394 | 0.00614 | 1.1599 | 1.2552 | 0.14556 | 0.0025505 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:57 PM | 53577 | [11 empty] | 53577 | 0.99792 | 0.99792 | 0.99793 | 2022-11-01
52 | K21-69-FI#3 | 0.099927 | 0.004825 | 0.0029671 | 0.0038049 | 103.0024 | 0.0074881 | 0.00072109 | 0.0074689 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.099927 | 0.004825 | 0.10285 | 0.0038235 | -0.10165 | 0.0058593 | SupCrit | 103.2169 | 0.0074689 | 1285.8951 | 0.0058405 | 933.6874 | 1285.8951 | 1252.4886 | 0.45617 | 9.9467 | 0.85679 | 0.91235 | Flagged Warnings: | 1389.1121 | 0.0046554 | 1479.4582 | 1389.1121 | 1700.1681 | 0.46208 | 0 | 10.185 | 0.44687 | 0.92416 | Flagged Warnings: | 1265.8081 | 179.4958 | 1.3576 | 1410.4811 | 248.4394 | 0.72818 | [9 empty] | 1.1118 | 1.1324 | 0.10198 | 0.00097715 | 1.0368 | 1.0489 | 0.033976 | 0.00062466 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:00:02 PM | 54002 | [11 empty] | 54002 | 0.99792 | 0.99791 | 0.99793 | 2022-11-01
53 | K21-69-FI#5 | 0.11917 | 0.0054657 | 0.0039029 | 0.0038265 | 103.051 | 0.0098497 | 0.0007234 | 0.0098436 | 12.05 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11917 | 0.0054657 | 0.12224 | 0.0046077 | -0.065998 | 0.0074267 | SupCrit | 103.2659 | 0.0098436 | 1285.7538 | 0.0086305 | 465.9205 | 1285.7539 | 686.6246 | 0.54746 | 4.6788 | 0.64929 | 1.0949 | Flagged Warnings: | 1389.0198 | 0.0047341 | 864.9285 | 1389.0197 | 1021.8786 | 0.4505 | 0 | 5.8128 | 0.58402 | 0.90099 | Flagged Warnings: | 1265.5417 | 92.6315 | 1.3267 | 1410.4559 | 110.2207 | 0.78157 | [9 empty] | 1.1577 | 1.103 | 0.1727 | 0.00235 | 1.126 | 1.1748 | 0.11348 | 0.0010417 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:16:23 PM | 54983 | [11 empty] | 54983 | 0.99792 | 0.99791 | 0.99793 | 2022-11-01
54 | K21-69-FI#6 | 0.10885 | 0.009599 | 0.0088094 | 0.0038125 | 103.025 | 0.022232 | 0.00072774 | 0.022267 | 12.093 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10885 | 0.009599 | 0.11182 | 0.0091894 | -0.085063 | 0.016437 | SupCrit | 103.2403 | 0.022267 | 1285.8267 | 0.019 | 367.8959 | 1285.8267 | 603.531 | 0.54693 | 9.0246 | 0.90126 | 1.0939 | Flagged Warnings: | 1389.067 | 0.011611 | 619.4763 | 1389.067 | 679.5558 | 0.44214 | 0 | 10.8101 | 0.44043 | 0.88428 | Flagged Warnings: | 1265.9699 | 109.7406 | 1.6375 | 1410.4284 | 86.3993 | 0.43539 | [9 empty] | 1.2006 | 1.1824 | 0.21942 | 0.0029733 | 1.0463 | 1.0686 | 0.040971 | 0.0014275 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:43:02 PM | 56582 |  |  |  |  | 1083.1917 | 1712.3743 | 100.217 | Spline | 1.3346 |  |  | 56582 | 0.99791 | 0.99791 | 0.99792 | 2022-11-01
55 | K21-70-FI#1 | 0.098727 | 0.0043504 | 0.0021107 | 0.0038041 | 102.9994 | 0.0053267 | 0.00074231 | 0.0052858 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.098727 | 0.0043504 | 0.10164 | 0.0031978 | -0.10388 | 0.0043854 | SupCrit | 103.2164 | 0.0052858 | 1285.9055 | 0.0046218 | 801.3094 | 1285.9055 | 1118.4071 | 0.49428 | 7.4667 | 0.76418 | 0.98856 | Flagged Warnings: | 1389.122 | 0.0025649 | 1300.5572 | 1389.1219 | 1495.6154 | 0.45483 | 0 | 4.5717 | 0.49026 | 0.90965 | Flagged Warnings: | 1265.6681 | 243.8466 | 1.473 | 1410.4394 | 182.3771 | 0.48553 | [9 empty] | 1.1065 | 1.1178 | 0.10529 | 0.0012337 | 1.0526 | 1.0672 | 0.047876 | 0.00069943 | PseudoVoigtModel | PseudoVoigtModel | No | November 1, 2022 | November | 1 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:39:25 PM | 59965 | [11 empty] | 59965 | 0.9979 | 0.99789 | 0.9979 | 2022-11-01
56 | K21-71-FI#1-12mwx1 | 0.1451 | 0.0040034 | 0.00096609 | 0.0038851 | 103.1164 | 0.0024381 | 0.0006078 | 0.0023659 | 12.071 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1451 | 0.0040034 | 0.14851 | 0.0025741 | -0.018774 | 0.0025679 | SupCrit | 103.3239 | 0.0023659 | 1285.6094 | 0.0021154 | 1466.1103 | 1285.6095 | 2342.3776 | 0.59902 | 4.3287 | 0.62632 | 1.198 | Flagged Warnings: | 1388.9334 | 0.0010595 | 2787.2707 | 1388.9334 | 3593.0999 | 0.48914 | 0 | 3.9909 | 0.59639 | 0.97828 | Flagged Warnings: | 1265.4376 | 236.5546 | 0.82864 | 1410.3118 | 365.5286 | 0.6675 | [9 empty] | 1.0258 | 1.064 | 0.030895 | 0.00081715 | 1.2326 | 1.2454 | 0.22759 | 0.00035098 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:50:29 AM | 42629 | 1151.054 | 179.2673 | 118.0035 | Spline | [5 empty] | 0.030203 | 0.012882 | 42629 | 0.99799 | 0.99799 | 0.998 | 2022-11-02
57 | K21-71-FI#1-12mwx2 | 0.13274 | 0.0040135 | 0.0011235 | 0.003853 | 103.0852 | 0.0028355 | 0.0006023 | 0.0027764 | 11.948 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13274 | 0.0040135 | 0.13596 | 0.0026408 | -0.041179 | 0.0027893 | SupCrit | 103.2938 | 0.0027764 | 1285.6831 | 0.0023918 | 1037.5058 | 1285.6832 | 1577.8838 | 0.57949 | 3.2758 | 0.58597 | 1.159 | Flagged Warnings: | 1388.9771 | 0.0014098 | 1919.4556 | 1388.977 | 2421.8513 | 0.47944 | 0 | 4.13 | 0.5928 | 0.95888 | Flagged Warnings: | 1265.3982 | 162.0345 | 0.76354 | 1410.3359 | 276.464 | 0.6773 | [9 empty] | 1.0939 | 1.0447 | 0.10887 | 0.0011171 | 1.1993 | 1.2404 | 0.19108 | 0.00049956 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:08:57 PM | 43737 | 1151.1274 | 107.0143 | 82.2438 | Spline | [5 empty] | 0.026755 | 0.011428 | 43737 | 0.99798 | 0.99797 | 0.99799 | 2022-11-02
58 | K21-71-FI#1-12mwx3 | 0.13242 | 0.0041282 | 0.001484 | 0.0038523 | 103.0844 | 0.0037452 | 0.00060126 | 0.0037041 | 11.963 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13242 | 0.0041282 | 0.13563 | 0.0028177 | -0.041762 | 0.0033015 | SupCrit | 103.2933 | 0.0037041 | 1285.6839 | 0.0033284 | 773.6439 | 1285.6839 | 1178.0527 | 0.58712 | 3.3683 | 0.55597 | 1.1742 | Flagged Warnings: | 1388.9772 | 0.0016255 | 1445.0184 | 1388.9772 | 1847.7698 | 0.4878 | 0 | 3.2265 | 0.58293 | 0.97561 | Flagged Warnings: | 1265.4856 | 130.698 | 0.65894 | 1410.2906 | 212.3714 | 0.63627 | [9 empty] | 1.0961 | 1.0507 | 0.11284 | 0.0015178 | 1.2043 | 1.2366 | 0.19932 | 0.00067515 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:12:48 PM | 43968 | 1151.103 | 70.6033 | 51.4238 | Spline | [5 empty] | 0.023334 | 0.0099812 | 43968 | 0.99798 | 0.99797 | 0.99798 | 2022-11-02
59 | K21-71-FI#1-6mwx1 | 0.14277 | 0.0040367 | 0.0011194 | 0.0038784 | 103.1106 | 0.0028249 | 0.0006064 | 0.0027646 | 6 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14277 | 0.0040367 | 0.14614 | 0.0026378 | -0.022981 | 0.0027669 | SupCrit | 103.3183 | 0.0027646 | 1285.6184 | 0.0024012 | 710.8654 | 1285.6184 | 1114.2991 | 0.59255 | 2.1318 | 0.60583 | 1.1851 | Flagged Warnings: | 1388.9368 | 0.0013703 | 1321.6105 | 1388.9367 | 1719.7223 | 0.48784 | 0 | 2.4723 | 0.62635 | 0.97568 | Flagged Warnings: | 1265.3524 | 97.5704 | 0.75368 | 1410.3088 | 187.6225 | 0.70516 | [9 empty] | 1.0086 | 1.0184 | 0.010187 | 0.0016671 | 1.2413 | 1.2599 | 0.23539 | 0.00073825 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:55:02 AM | 42902 | 1151.1519 | 72.4385 | 58.7347 | Spline | [5 empty] | 0.02556 | 0.010923 | 42902 | 0.99799 | 0.99798 | 0.998 | 2022-11-02
60 | K21-71-FI#1-6mwx2 | 0.14272 | 0.0040787 | 0.0012626 | 0.0038783 | 103.1105 | 0.0031865 | 0.0006052 | 0.0031348 | 6.001 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14272 | 0.0040787 | 0.14609 | 0.0027038 | -0.023066 | 0.0029615 | SupCrit | 103.3185 | 0.0031348 | 1285.6273 | 0.0027633 | 722.0263 | 1285.6274 | 1122.1328 | 0.58847 | 2.5916 | 0.6017 | 1.1769 | Flagged Warnings: | 1388.9459 | 0.0014803 | 1334.0182 | 1388.9458 | 1703.1284 | 0.48625 | 0 | 2.6974 | 0.58697 | 0.97251 | Flagged Warnings: | 1265.4051 | 108.5317 | 0.88574 | 1410.2702 | 186.0305 | 0.65188 | [9 empty] | 1 | 1.0418 | 0 | 0.00163 | 1.2254 | 1.2487 | 0.21916 | 0.00072901 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:59:08 AM | 43148 | 1151.103 | 71.7298 | 56.2245 | Spline | [5 empty] | 0.025389 | 0.010851 | 43148 | 0.99799 | 0.99798 | 0.99799 | 2022-11-02
61 | K21-71-FI#1-6mwx3 | 0.13827 | 0.0040954 | 0.0013502 | 0.0038664 | 103.0992 | 0.0034075 | 0.00060388 | 0.0033604 | 6.009 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13827 | 0.0040954 | 0.14157 | 0.0027474 | -0.031122 | 0.0030938 | SupCrit | 103.3075 | 0.0033604 | 1285.6378 | 0.0029899 | 646.2264 | 1285.6379 | 1008.6321 | 0.58804 | 2.5129 | 0.61424 | 1.1761 | Flagged Warnings: | 1388.9454 | 0.0015339 | 1210.39 | 1388.9454 | 1536.4855 | 0.48235 | 0 | 2.4773 | 0.59287 | 0.9647 | Flagged Warnings: | 1265.4619 | 107.2041 | 0.82304 | 1410.3533 | 166.3695 | 0.65548 | [9 empty] | 1.0233 | 1.029 | 0.027431 | 0.0018199 | 1.2384 | 1.2622 | 0.23002 | 0.00079701 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:03:32 PM | 43412 | 1151.0051 | 69.3549 | 47.5757 | Spline | [5 empty] | 0.02725 | 0.011637 | 43412 | 0.99798 | 0.99798 | 0.99799 | 2022-11-02
62 | K21-72-FI#1 | 0.015708 | 0.016489 | 0.016013 | 0.003932 | 102.7899 | 0.040413 | 0.00059305 | 0.040492 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015708 | 0.016489 | 0.018932 | 0.016024 | -0.26356 | 0.031767 | SupCrit | 102.9997 | 0.040492 | 1286.4902 | 0.036418 | 85.7951 | 1286.4902 | 74.514 | 0.35167 | 3.1185 | 0.42802 | 0.70334 | Flagged Warnings: | 1389.4898 | 0.017701 | 114.5585 | 1389.4898 | 112.6124 | 0.42483 | 0 | 2.6819 | 0.24801 | 0.84965 | Flagged Warnings: | [15 empty] | 1.34 | 1.4013 | 0.23914 | 0.0081979 | 1.1952 | 1.2099 | 0.16587 | 0.0074168 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:39:45 PM | 45585 | [11 empty] | 45585 | 0.99796 | 0.99796 | 0.99797 | 2022-11-02
63 | K21-72-FI#2 | 0.097431 | 0.0048181 | 0.0029576 | 0.0038034 | 102.9961 | 0.0074642 | 0.00059314 | 0.0074558 | 12.054 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.097431 | 0.0048181 | 0.10034 | 0.0038153 | -0.10631 | 0.0058527 | SupCrit | 103.2066 | 0.0074558 | 1285.9037 | 0.0062607 | 303.6617 | 1285.9038 | 413.9407 | 0.50802 | 3.1057 | 0.64095 | 1.016 | Flagged Warnings: | 1389.1104 | 0.0040487 | 507.2537 | 1389.1104 | 602.7242 | 0.47106 | 0 | 2.8372 | 0.48413 | 0.94211 | Flagged Warnings: | 1265.6945 | 28.243 | 0.43043 | 1410.4627 | 79.5487 | 0.67172 | [9 empty] | 1.0494 | 1.0498 | 0.050211 | 0.003346 | 1.0327 | 1.0427 | 0.030833 | 0.0018573 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:44:56 PM | 45896 | [11 empty] | 45896 | 0.99796 | 0.99796 | 0.99797 | 2022-11-02
64 | K21-74-FI#1 | 0.040963 | 0.010509 | 0.0097762 | 0.0038567 | 102.8536 | 0.024672 | 0.00058597 | 0.024716 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.040963 | 0.010509 | 0.04396 | 0.010004 | -0.21399 | 0.019122 | SupCrit | 103.0655 | 0.024716 | 1286.3391 | 0.021826 | 664.8736 | 1286.3391 | 648.3951 | 0.45808 | 15.164 | 6.0908e-08 | 0.91615 | Flagged Warnings: | 1389.4046 | 0.011598 | 1091.1078 | 1389.4046 | 1006.2022 | 0.41121 | 0 | 9.4174 | 0.15733 | 0.82242 | Flagged Warnings: |  |  |  | 1410.6684 | 146.8017 | 0.46154 | [9 empty] | 1.2331 | 1.2478 | 0.21354 | 0.0013779 | 1.1828 | 1.184 | 0.15037 | 0.00075375 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:21:19 PM | 48079 | [11 empty] | 48079 | 0.99794 | 0.99794 | 0.99795 | 2022-11-02
65 | K21-74-FI#2 | 0.051112 | 0.0062998 | 0.0049979 | 0.0038352 | 102.8792 | 0.012613 | 0.00058556 | 0.012626 | 12.015 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.051112 | 0.0062998 | 0.054047 | 0.0055256 | -0.19432 | 0.0098526 | SupCrit | 103.0913 | 0.012626 | 1286.2422 | 0.011516 | 715.0566 | 1286.2422 | 805.1378 | 0.4529 | 11.0093 | 0.44574 | 0.9058 | Flagged Warnings: | 1389.3336 | 0.0051753 | 1145.3109 | 1389.3335 | 1098.0338 | 0.42341 | 0 | 10.3557 | 0.18547 | 0.84682 | Flagged Warnings: |  |  |  | 1410.6518 | 126.1111 | 0.54919 | [9 empty] | 1.1308 | 1.1837 | 0.11845 | 0.0012668 | 1.0966 | 1.0934 | 0.081762 | 0.00073938 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:25:25 PM | 48325 | [11 empty] | 48325 | 0.99794 | 0.99794 | 0.99795 | 2022-11-02
66 | K21-74-FI#3 | 0.029266 | 0.018763 | 0.018355 | 0.0038878 | 102.8241 | 0.046324 | 0.00058442 | 0.046416 | 12.022 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.029266 | 0.018763 | 0.032356 | 0.018353 | -0.23684 | 0.036057 | SupCrit | 103.0363 | 0.046416 | 1286.4587 | 0.042147 | 320.2105 | 1286.4587 | 207.0213 | 0.20579 | 7.7115 | 1 | 0.41159 | Flagged Warnings: | 1389.495 | 0.019442 | 255.4708 | 1389.495 | 223.6275 | 0.40502 | 0 | 7.0102 | 0.046395 | 0.81004 | Flagged Warnings: | [15 empty] | 1.4427 | 1.5321 | 0.18223 | 0.0012854 | 1.2069 | 1.2458 | 0.16759 | 0.0031708 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:31:55 PM | 48715 | [11 empty] | 48715 | 0.99794 | 0.99793 | 0.99795 | 2022-11-02
67 | K21-74-FI#4 | 0.034457 | 0.027333 | 0.027057 | 0.0038732 | 102.8372 | 0.068285 | 0.00058392 | 0.068423 | 11.998 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034457 | 0.027333 | 0.037503 | 0.026951 | -0.22668 | 0.052916 | SupCrit | 103.0496 | 0.068423 | 1286.2084 | 0.062144 | 163.2337 | 1286.2084 | 217.4379 | 0.47048 | 10.2602 | 0.76957 | 0.94097 | Flagged Warnings: | 1389.2581 | 0.028633 | 247.2782 | 1389.258 | 248.3445 | 0.47182 | 0 | 11.113 | 7.7433e-12 | 0.94364 | Flagged Warnings: |  |  |  | 1410.2703 | 89.6109 | 1.2384 | [9 empty] | 1.0652 | 1.0954 | 0.061368 | 0.0057646 | 1.1673 | 1.1576 | 0.15785 | 0.0038161 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:36:54 PM | 49014 | [11 empty] | 49014 | 0.99794 | 0.99793 | 0.99794 | 2022-11-02
68 | K21-74-FI#5 | 0.036544 | 0.0093293 | 0.0084898 | 0.0038677 | 102.8425 | 0.021426 | 0.0005834 | 0.021462 | 12.067 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.036544 | 0.0093293 | 0.039573 | 0.0087641 | -0.2226 | 0.016686 | SupCrit | 103.0551 | 0.021462 | 1286.3304 | 0.020304 | 398.3155 | 1286.3304 | 411.8818 | 0.39211 | 8.8355 | 0.59786 | 0.78423 | Flagged Warnings: | 1389.3856 | 0.0069563 | 601.4533 | 1389.3855 | 547.7755 | 0.42132 | 0 | 7.5495 | 0.047116 | 0.84263 | Flagged Warnings: |  |  |  | 1410.6997 | 77.3609 | 0.56945 | [9 empty] | 1.2823 | 1.3912 | 0.22135 | 0.0019689 | 1.0842 | 1.0812 | 0.070959 | 0.001401 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:42:00 PM | 49320 | [11 empty] | 49320 | 0.99794 | 0.99793 | 0.99794 | 2022-11-02
69 | K21-74-FI#5rep2 | 0.030617 | 0.0078982 | 0.0068773 | 0.0038838 | 102.8275 | 0.017356 | 0.00058285 | 0.017382 | 12.09 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.030617 | 0.0078982 | 0.033695 | 0.007234 | -0.23419 | 0.013622 | SupCrit | 103.0403 | 0.017382 | 1286.3357 | 0.01611 | 349.3202 | 1286.3357 | 368.9472 | 0.39976 | 5.7626 | 0.60249 | 0.79953 | Flagged Warnings: | 1389.3761 | 0.006529 | 519.5684 | 1389.376 | 448.8641 | 0.40581 | 0 | 6.3143 | 1.4102e-06 | 0.81161 | Flagged Warnings: | 1265.8358 | 368.1537 | 0.10251 | 1410.5048 | 50.4257 | 0.31956 | [9 empty] | 1.2412 | 1.2749 | 0.19288 | 0.0022888 | 1.0667 | 1.0618 | 0.054108 | 0.0015621 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:46:47 PM | 49607 | [11 empty] | 49607 | 0.99794 | 0.99793 | 0.99794 | 2022-11-02
70 | K21-74-FI#6 | 0.034947 | 0.0084692 | 0.0075324 | 0.0038719 | 102.8385 | 0.01901 | 0.00058217 | 0.01904 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034947 | 0.0084692 | 0.037989 | 0.0078535 | -0.22572 | 0.014849 | SupCrit | 103.0515 | 0.01904 | 1286.3299 | 0.017938 | 463.6165 | 1286.3299 | 518.0351 | 0.40643 | 9.7111 | 0.69997 | 0.81286 | Flagged Warnings: | 1389.3814 | 0.0063847 | 652.9326 | 1389.3814 | 581.9807 | 0.41815 | 0 | 7.2159 | 0.0039714 | 0.83629 | Flagged Warnings: |  |  |  | 1410.6607 | 66.2756 | 0.54235 | [9 empty] | 1.2646 | 1.3313 | 0.21508 | 0.0017533 | 1.1036 | 1.1032 | 0.086616 | 0.0012808 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:55:39 PM | 50139 | [11 empty] | 50139 | 0.99793 | 0.99793 | 0.99794 | 2022-11-02
71 | K21-75-FI#1_r1 | 0.11248 | 0.0058698 | 0.0044594 | 0.0038168 | 103.0341 | 0.011254 | 0.00058245 | 0.011262 | 12.04 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11248 | 0.0058698 | 0.11549 | 0.005091 | -0.078333 | 0.0084608 | SupCrit | 103.248 | 0.011262 | 1285.7621 | 0.0098452 | 141.4725 | 1285.7621 | 223.3445 | 0.57836 | 1.9145 | 0.68271 | 1.1567 | Flagged Warnings: | 1389.0101 | 0.0054696 | 260.4301 | 1389.0101 | 321.6911 | 0.4668 | 0 | 1.6863 | 0.60638 | 0.93361 | Flagged Warnings: | [15 empty] | 1.1667 | 1.0832 | 0.19279 | 0.0081763 | 1.1413 | 1.1978 | 0.13188 | 0.0035849 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:08:37 PM | 50917 | 1151.054 | 46.6615 | 28.3057 | Spline | [5 empty] | 0.085612 | 0.035671 | 50917 | 0.99793 | 0.99792 | 0.99793 | 2022-11-02
72 | K21-75-FI#1_r2 | 0.095878 | 0.0038937 | 0.0008366 | 0.0038027 | 102.9922 | 0.0021114 | 0.00058313 | 0.0020335 | 12.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.095878 | 0.0038937 | 0.098781 | 0.0025375 | -0.10921 | 0.0024829 | SupCrit | 103.2076 | 0.0020335 | 1285.9473 | 0.0016846 | 1202.1152 | 1285.9474 | 1580.7956 | 0.49581 | 3.2808 | 0.61234 | 0.99162 | Flagged Warnings: | 1389.155 | 0.001139 | 2032.3467 | 1389.155 | 2293.7752 | 0.44695 | 0 | 2.9748 | 0.48691 | 0.89391 | Flagged Warnings: | 1265.6526 | 186.0698 | 0.70411 | 1410.5152 | 238.4213 | 0.47299 | 1369.6898 | 14.9442 | 0.22341 | [6 empty] | 1.2071 | 1.213 | 0.20538 | 0.00082489 | 1.1081 | 1.1487 | 0.096638 | 0.00043984 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:16:00 PM | 54960 | [11 empty] | 54960 | 0.99791 | 0.99791 | 0.99792 | 2022-11-02
73 | K21-75-FI#2_r1 | 0.1153 | 0.0041529 | 0.0016278 | 0.0038206 | 103.0412 | 0.0041082 | 0.00058268 | 0.0040751 | 11.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1153 | 0.0041529 | 0.11833 | 0.0028982 | -0.073136 | 0.0035588 | SupCrit | 103.2565 | 0.0040751 | 1285.8188 | 0.0035893 | 576.8411 | 1285.8189 | 812.1759 | 0.56557 | 2.8681 | 0.44942 | 1.1311 | Flagged Warnings: | 1389.0755 | 0.0019296 | 1058.3255 | 1389.0754 | 1260.1735 | 0.46762 | 0 | 2.7912 | 0.50871 | 0.93523 | Flagged Warnings: | 1265.4141 | 73.5883 | 0.74808 | 1410.4067 | 141.9908 | 0.61277 | [9 empty] | 1.0425 | 1.0064 | 0.048066 | 0.0019609 | 1.0292 | 1.0457 | 0.027306 | 0.00088369 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:05:25 PM | 54325 | [11 empty] | 54325 | 0.99792 | 0.99791 | 0.99792 | 2022-11-02
74 | K21-75-FI#2_r2 | 0.10032 | 0.0038915 | 0.00081518 | 0.0038051 | 103.0034 | 0.0020573 | 0.00058364 | 0.0019769 | 12.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10032 | 0.0038915 | 0.10324 | 0.0025293 | -0.10091 | 0.0024518 | SupCrit | 103.2189 | 0.0019769 | 1285.9089 | 0.0015856 | 1159.2366 | 1285.9089 | 1546.9436 | 0.49596 | 3.0914 | 0.64781 | 0.99193 | Flagged Warnings: | 1389.1279 | 0.0011806 | 1928.9796 | 1389.1279 | 2207.0756 | 0.4494 | 0 | 3.3487 | 0.50831 | 0.8988 | Flagged Warnings: | 1265.6334 | 169.8048 | 0.65912 | 1410.4667 | 254.864 | 0.53186 | 1369.8097 | 5.752 | 0.22464 | [6 empty] | 1.0838 | 1.0864 | 0.083156 | 0.00085567 | 1.0611 | 1.0852 | 0.054889 | 0.00046595 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:21:24 PM | 55284 | [11 empty] | 55284 | 0.99791 | 0.99791 | 0.99792 | 2022-11-02
75 | K21-75-FI#3 | 0.09322 | 0.0039504 | 0.0010732 | 0.0038018 | 102.9855 | 0.0027085 | 0.00058403 | 0.0026503 | 12.075 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09322 | 0.0039504 | 0.096113 | 0.0026262 | -0.11419 | 0.0027876 | SupCrit | 103.2011 | 0.0026503 | 1285.9672 | 0.0023636 | 1088.3212 | 1285.9673 | 1409.0831 | 0.4752 | 4.0677 | 0.67851 | 0.95039 | Flagged Warnings: | 1389.1684 | 0.0011991 | 1800.8514 | 1389.1683 | 1983.9945 | 0.44024 | 0 | 3.1049 | 0.46322 | 0.88048 | Flagged Warnings: | 1265.7539 | 177.0407 | 0.80354 | 1410.514 | 224.8938 | 0.50168 | 1370.7728 | 39.4835 | 0.22003 | [6 empty] | 1.2399 | 1.2468 | 0.22797 | 0.00087326 | 1.1294 | 1.1761 | 0.11394 | 0.00048893 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:26:36 PM | 55596 | [11 empty] | 55596 | 0.99791 | 0.99791 | 0.99792 | 2022-11-02
76 | K21-77-FI#1 | 0.12673 | 0.0039786 | 0.0010404 | 0.0038401 | 103.0701 | 0.0026257 | 0.00059767 | 0.0025621 | 12.017 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12673 | 0.0039786 | 0.12987 | 0.0026066 | -0.052146 | 0.0026898 | SupCrit | 103.2866 | 0.0025621 | 1285.7622 | 0.0021632 | 878.1311 | 1285.7623 | 1253.6904 | 0.55194 | 2.543 | 0.54919 | 1.1039 | Flagged Warnings: | 1389.0489 | 0.001373 | 1556.069 | 1389.0489 | 1910.5355 | 0.47262 | 0 | 2.9174 | 0.56009 | 0.94524 | Flagged Warnings: | 1265.5645 | 131.7817 | 0.70893 | 1410.3627 | 200.0894 | 0.61619 | [9 empty] | 1.1767 | 1.1392 | 0.19501 | 0.0012571 | 1.073 | 1.0997 | 0.068996 | 0.00060745 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:43:48 PM | 60228 |  |  |  |  | 1092.2551 | 1084.2559 | 69.0764 | Spline | 0.34266 |  |  | 60228 | 0.9979 | 0.9979 | 0.99791 | 2022-11-02
77 | K21-78b-FI#2 | 0.0053526 | 0.060983 | 0.060854 | 0.0039716 | 102.7638 | 0.15358 | 0.0005886 | 0.1539 | 12.076 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0053526 | 0.060983 | 0.0086979 | 0.060195 | -0.28414 | 0.12136 | SupCrit | 102.9794 | 0.1539 | 1286.4873 | 0.15079 | 71.4977 | 1286.4873 | 62.7969 | 0.27957 | 2.7797 | 1 | 0.55915 | Flagged Warnings: | 1389.4666 | 0.030781 | 84.9832 | 1389.4666 | 64.9064 | 0.35875 | 0 | 3.2041 | 9.8501e-08 | 0.7175 | Flagged Warnings: | [15 empty] | 1.2874 | 1.3498 | 0.1607 | 0.0078205 | 1.2455 | 1.311 | 0.17617 | 0.0084428 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:08:54 PM | 58134 | [11 empty] | 58134 | 0.99791 | 0.9979 | 0.99791 | 2022-11-02
78 | K21-78b-FI#3 | 0.010526 | 0.010695 | 0.0099382 | 0.0039512 | 102.7768 | 0.025081 | 0.00058964 | 0.025127 | 12.077 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.010526 | 0.010695 | 0.013809 | 0.010118 | -0.27384 | 0.019848 | SupCrit | 102.9925 | 0.025127 | 1286.4827 | 0.019028 | 106.1845 | 1286.4827 | 98.821 | 0.43714 | 3.0379 | 3.4676e-06 | 0.87429 | Flagged Warnings: | 1389.4752 | 0.01641 | 199.534 | 1389.4752 | 172.9382 | 0.34872 | 0 | 3.0781 | 0.44495 | 0.69744 | Flagged Warnings: | [15 empty] | 1.2316 | 1.2522 | 0.2025 | 0.0082337 | 1.207 | 1.2803 | 0.1444 | 0.0034953 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:14:12 PM | 58452 | [11 empty] | 58452 | 0.99791 | 0.9979 | 0.99791 | 2022-11-02
79 | K21-78b-FI#5 | 0.0097131 | 0.0096373 | 0.0087887 | 0.0039543 | 102.7748 | 0.02218 | 0.00059215 | 0.022219 | 12.083 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0097131 | 0.0096373 | 0.013006 | 0.0090184 | -0.27545 | 0.017587 | SupCrit | 102.9906 | 0.022219 | 1286.489 | 0.016738 | 105.104 | 1286.489 | 93.3374 | 0.41713 | 2.6613 | 7.3092e-08 | 0.83427 | Flagged Warnings: | 1389.4796 | 0.014613 | 174.0212 | 1389.4796 | 145.9576 | 0.35448 | 0 | 2.5382 | 0.31099 | 0.70895 | Flagged Warnings: | [15 empty] | 1.2082 | 1.216 | 0.17368 | 0.0079375 | 1.2197 | 1.3028 | 0.15578 | 0.0040739 | PseudoVoigtModel | PseudoVoigtModel | No | November 2, 2022 | November | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:26:53 PM | 59213 | [11 empty] | 59213 | 0.9979 | 0.9979 | 0.99791 | 2022-11-02